# Transition to new manufacturer evidence for IVD medical devices

Guidance for manufacturers and sponsors of IVD medical devices

Version 1.0, June 2023

Copyright

© Commonwealth of Australia 2023
This work is copyright. You may reproduce the whole or part of this work in unaltered form for your own personal use or, if you are part of an organisation, for internal use within your organisation, but only if you or your organisation do not use the reproduction for any commercial purpose and retain this copyright notice and all disclaimer notices as part of that reproduction. Apart from rights to use as permitted by the Copyright Act 1968 or allowed by this copyright notice, all other rights are reserved and you are not allowed to reproduce the whole or any part of this work in any way (electronic or otherwise) without first being given specific written permission from the Commonwealth to do so. Requests and inquiries concerning reproduction and rights are to be sent to the TGA Copyright Officer, Therapeutic Goods Administration, PO Box 100, Woden ACT 2606 or emailed to <tga.copyright@tga.gov.au>.

Contents

Purpose	4

Background	4

Changes to manufacturer evidence requirements	5

Transition from EU IVDD to EU IVDR	5

Transition from ISO 13485 with an EU Declaration of Conformity	5

Transition from ISO 13485 certification	6

Summary of TGA cut-off dates	6

Implications of the changes	7

What sponsors must do to transition to new evidence	7

1.	Updating manufacturer evidence	8

2.	Lapsing or expiring manufacturer evidence	10

3.	Change in classification due to change in intended purpose	11

4.	Change to ARTG entry information	12

5.	Non-compliance with the Essential Principles	14

6.	Change in device safety and performance	15

7.	Change to intended purpose of a device without change in classification	15

8.	Supplying a new device under a current ARTG entry	16

Appendix A: IVDs with conditions of inclusion to notify the TGA	19

## Purpose

This guidance is to help sponsors and manufacturers transition to the new manufacturer evidence requirements for in vitro diagnostic (IVD) medical devices.

Manufacturer evidence are documents, usually certificates or records of regulatory approval by a comparable overseas regulator, that are submitted to the Therapeutic Goods Administration (TGA) to support medical device entries in the Australian Register of Therapeutic Goods (ARTG).

Sponsors will need new manufacturer evidence for their IVD medical devices because of:

the new European Union IVD Regulation 2017/746 (EU IVDR) that replaces the IVD Directive 98/79/EC (IVDD)

and

the end of the transition period for the TGA to accept ISO 13485 certificates as manufacturer evidence, unless supported by the manufacturer’s EU Declaration of Conformity made under the IVDD, before 26 May 2022.

Sponsors of existing IVD ARTG entries that need to transition to new manufacturer evidence will need to act to ensure ongoing regulatory compliance. The extent of those actions will depend on a range of factors such as whether the devices covered under the new certification, or the intended purpose of those devices, change. This guidance covers a range of scenarios and examples to help identify the correct pathways and the sponsor actions required. Sponsors may need to submit a variation application, and in rare cases, recall action may also need to be considered.

## Background

The TGA accepts a range of manufacturer evidence to support inclusion of IVD medical devices in the ARTG, including EU certification and approvals from other comparable overseas regulators. Information on the range of manufacturer evidence that can be used to support an ARTG inclusion can be found in TGA legislation and guidance.

A breakdown of the types of manufacturer evidence submitted to the TGA is illustrated in the graph below:

The changes described in this guidance will impact about 70% of IVD ARTG entries, particularly those supported by ISO 13485 certificates and IVDD certification. Over time, we expect those forms of certification to be replaced mostly by EU IVDR certification and Medical Device Single Audit Program (MDSAP) certification.

This guidance describes transitions in the types of certificates that the TGA can accept as manufacturer evidence and does not indicate a change in the status of the international quality management system standard for medical device regulatory purposes: ISO 13485.  The TGA continues to recognise ISO 13485, as a standard, as before. However, as detailed in this guidance, the TGA no longer accepts ISO 13485 certificates issued under the International Accreditation Forum framework.

## Changes to manufacturer evidence requirements

### Transition from EU IVDD to EU IVDR

The EU IVD Medical Devices Directive (EU IVDD) is being replaced by the new EU IVD Regulation (EU IVDR). This means sponsors of IVD medical devices included in the ARTG based on IVDD certification will need to transition those entries to EU IVDR certification or another acceptable certification (for example, MDSAP – Medical Device Single Audit Program certification) to continue to supply those IVDs in Australia. The EU IVDR was published in May 2017 and there is an extended transition period in the EU, until:

26 May 2022 for self-declared class A non-sterile devices

26 May 2025 for class D devices

26 May 2026 for class C devices

26 May 2027 for class B and class A sterile devices.

The EU IVDR introduces a range of changes for IVD medical device manufacturers such as:

More stringent requirements to demonstrate IVD medical device safety for patients and users including requirements for performance and clinical evidence

Additional requirements for the manufacturer’s quality management system

Changes to labelling and instructions for use requirements

Potential changes to the scope of indications or intended purpose which could change the classification of the IVD medical device.

We will continue to accept valid EU IVDD certificates to support new IVD applications for inclusion in line with these transition periods. A summary of relevant cut-off dates is included in the table below (Table 1). A valid certificate refers to a certificate that is within expiry and covers the scope of the IVD devices included in the application.

If the sponsor is not able to obtain the conformity assessment evidence within the transition timelines, please refer to expiring or lapsing manufacturer evidence section of this guidance for actions required.

|  | Sponsors and manufacturers do not need to transition to EU IVDR certification, if their ARTG entries and IVD medical devices are currently supported by other valid certification (e.g. MDSAP) accepted by the TGA for that class of device. |
| --- | --- |

### Transition from ISO 13485 with an EU Declaration of Conformity

Except for certain higher risk devices, most IVD medical devices were self-declared under the EU IVDD and did not require certification for supply within Europe. However, to supply these IVD medical devices in Australia, manufacturers needed to obtain certification, such as ISO 13485 certification from an EU notified body or a third-party accredited conformity assessment body. We required the sponsor to provide evidence of this certification and the manufacturer’s EU Declaration of Conformity made under the IVDD for devices supplied in Australia.

ISO 13485 certificates result from quality management system assessments and are not associated with a regulatory review of the manufacturer’s IVD medical devices. For this reason, the TGA is phasing out acceptance of ISO 13485 certificates on its own in favour of other forms of evidence. In line with the implementation dates of the EU IVDR in Europe, the TGA will stop accepting ISO 13485 certificates supported by an EU IVDD Declaration of Conformity from:

26 May 2026 for class 3 IVDs

26 May 2027 for class 2 IVDs.

These transition periods only apply where the manufacturer’s EU Declaration of Conformity was made under the IVDD before 26 May 2022, and covers the devices included in the application to the TGA.

### Transition from ISO 13485 certification

We will continue to accept ISO 13485 certificates associated with an EU IVDD Declaration of Conformity, since those devices will have EU regulatory scrutiny, during the IVDR transition.

However, in all other cases, ISO 13485 certificates will not be accepted to support new applications for class 2 and 3 IVD medical devices from 26 May 2023.

Please note, existing ARTG entries supported by a valid ISO 13485 certificate before 26 May 2023 can continue using that certificate as evidence until it expires. We strongly encourage sponsors to obtain another form of valid manufacturer evidence to support those ARTG entries before the associated ISO certificate expires.

|  | MDSAP certificates that cover ISO 13485 requirements are accepted. ISO 13485 certificates issued by a body accredited by a signatory to the Multilateral Recognition Arrangement of the International Accreditation Forum, are no longer accepted for new IVD inclusion applications. ISO 13485 certificates issued by a Notified Body designated under the EU IVDD and supported by the manufacturer’s EU Declaration of Conformity made under the IVDD before 26 May 2022 are accepted. |
| --- | --- |

### Summary of TGA cut-off dates

The TGA cut-off dates for accepting different types of manufacturer evidence to support IVD medical device applications are summarised below.

Table 1: TGA cut-off dates for manufacturer evidence

| Manufacturer evidence (QMS certification and evidence of product review) | TGA cut-off dates |
| --- | --- |
| ISO 13485 certificate | Not accepted after 26 May 2023 |
| EU IVDD certificate | Class 4 IVD until 26 May 2025 Class 3 IVD until 26 May 2026 Class 2 IVD until 26 May 2027 |
| ISO 13485 certificate with EU Declaration of Conformity (made before 26 May 2022) | Class 3 IVD until 26 May 2026 Class 2 IVD until 26 May 2027 |
| TGA conformity assessment certificate | Ongoing acceptance |
| EU IVDR certificate | Ongoing acceptance |
| MDSAP certificate (for Class 2 and 3 IVDs) | Ongoing acceptance |
| US FDA PMA (class II and III IVD) or Singapore HSA approval (class B and C IVD) | Ongoing acceptance |
| MDSAP certificate with product review evidence, such as: - Health Canada medical device licence (class II and III IVD) - US FDA PMA or 510(k) (class II or III IVD) - Singapore HSA approval (class B and C IVD) | Ongoing acceptance |
| Class 1 IVD medical devices do not require manufacturer evidence | At any time, the TGA may request documents to demonstrate a class 1 IVD complies with the requirements. |

## Implications of the changes

The transition from one form of manufacturer evidence to another may result in the sponsor needing to notify the TGA of additional changes or apply to the TGA for regulatory approvals. For example, the manufacturer’s new certification may cover a different scope of activities or kinds of device or limit the intended purpose of the IVD covered by the certificate. The new certification could also be associated with a change that triggers automatic conditions of inclusion that require certain changes to be notified to the TGA.

### What sponsors must do to transition to new evidence

The following sections outline the possible actions sponsors must consider when transitioning IVD ARTG entries to new manufacturer evidence. Examples are included below each section.

Updating manufacturer evidence

Lapsing or expiring manufacturer evidence

Change in classification due to change in intended purpose

Change to ARTG entry information

Non-compliance with the Essential Principles

Change in device safety and performance

Change to intended purpose of a device without change in classification

Supplying a new device under a current ARTG entry

|  | At all times, an IVD medical device sponsor must: maintain ARTG entries that cover the IVD medical devices they supply maintain manufacturer evidence that supports their ARTG entries. The scope of any new manufacturer evidence must therefore cover the IVD medical devices included under the relevant ARTG entry. |
| --- | --- |

#### Updating manufacturer evidence

| Updating manufacturer evidence | Sponsor action |
| --- | --- |
| Update the manufacturer evidence associated with your ARTG entries to your new certification. Note: Keep your Declaration of Conformity updated to reflect your current manufacturer evidence. | You can update your manufacturer evidence on file with the TGA, to your new certification, using one of the following pathways: - A variation to manufacturer evidence. Use this pathway if you wish to update all your ARTG entries linked to a particular certificate at the same time. - A variation to manufacturer evidence followed by a new manufacturer evidence application. Use this pathway if you have multiple certificates to support the devices under one ARTG entry. - A new manufacturer evidence application, followed by a Device Change Request (DCR). Use this pathway if you only wish to update some, and not all ARTG entries linked to a manufacturer evidence identifier. This allows selected ARTG entries only to be linked to the new manufacturer evidence. For further information see: Manufacturer evidence for medical devices and IVD medical devices. |

Case study 1 – Updating manufacturer evidence BlueDx is the sponsor of two COVID-19 IVD devices under one ARTG entry. The ARTG entry is currently supported by ISO 13485 certification. The sponsor wishes to update to new MDSAP certification. The MDSAP certificate covers the same two devices covered by the ISO 13485 certificate. BlueDx will need to submit a variation to manufacturer evidence

##### Additional examples and scenarios:

###### Example 1: Multiple manufacturer evidence certificates for one ARTG entry

A sponsor has an existing ISO 13485 certificate that covers all 12 devices listed under a single ARTG entry. The sponsor is transitioning to new MDSAP certification (covers 10 devices) and new IVDR certification (covers 2 devices), where neither certificate fully covers the range of existing devices.

The sponsor submits a variation to manufacturer evidence application for the MDSAP certificate (to replace the existing ISO 13485 certificate), as it covers most devices under the ARTG entry. This will link the ARTG entry to the MDSAP certificate. The sponsor also submits a new manufacturer evidence application for the IVDR certificate to support the inclusion of the remaining 2 devices. Once the TGA accepts this certificate as new manufacturer evidence, the sponsor can keep the IVDR certificate on file as evidence of conformity assessment.

IVDR

(2 devices)

MDSAP

(10 devices)

New manufacturer evidence application (once accepted by TGA, IVDR certificate can be kept on file with the sponsor)

Variation to manufacturer evidence – ARTG entry will be linked to the MDSAP certificate

ARTG entry

ISO 13485 certificate

(12 devices)

###### Example 2: DCR to update only some of your ARTG entries associated with the same evidence

A sponsor has 5 ARTG entries associated with an ISO 13485 certificate all linked to the same manufacturer evidence identifier. Two of the 5 ARTG entries are covered by a new MDSAP certificate and can be updated. A new manufacturer evidence application for the MDSAP certificate can be submitted, followed by a DCR to link these 2 ARTG entries from the ISO 13485 certificate to the new MDSAP certificate. The 3 remaining ARTG entries will continue to be linked to the ISO 13485 certificate and will need to be updated once the ISO 13485 certificate expires.

DCR to link ARTG entry 1 and 2 to the new MDSAP certificate

Submit new manufacturer evidence application to accept MDSAP certificate

ARTG entry 1

ISO 13485 certificate

ARTG entry 2

ISO 13485 certificate

Existing ISO 13485 certificate continues to be associated with ARTG entry 3, 4 and 5

ARTG entry 3

ISO 13485 certificate

ARTG entry 4

ISO 13485 certificate

ARTG entry 5

ISO 13485 certificate

###### Example 3: Changing the manufacturer evidence for a class 4 IVD

New applications and existing ARTG entries for class 4 IVDs can be supported by the following manufacturer evidence and associated design examination certification:

TGA conformity assessment

EU IVDD

EU IVDR

A sponsor of a class 4 IVD ARTG entry currently supported by TGA conformity assessment and design examination, would like to transition all devices to EU IVDR certification. The sponsor can submit a variation to manufacturer evidence to update the evidence and must notify the TGA that they will not be seeking recertification of the TGA conformity assessment certificate.

#### Lapsing or expiring manufacturer evidence

| Change | Sponsor action |
| --- | --- |
| Lapsing refers to any loss or gap in certification (i.e., a period where the sponsor no longer holds valid manufacturer evidence to support their ARTG entry); or if there is a loss in certification for some of the devices covered under an existing ARTG entry. At all times, a sponsor must have available sufficient information to substantiate conformity assessment procedures have been applied to the kind of medical device in the ARTG. | IVD medical devices included in the ARTG that were manufactured under valid conformity assessment evidence can be supplied after the evidence has expired. Sponsors should notify the TGA within 60 days of becoming aware of the lapsing, revocation, suspension or cancellation of conformity assessment evidence (manufacturer evidence) using the notification form for Lapses in Medical Device Conformity Assessment Certification. The TGA may review the information provided to determine whether the entries can remain included in the ARTG. Any decision made is case-by case. There are criminal and civil penalty sanctions if a sponsor fails to notify the TGA within 60 days of becoming aware that manufacturer evidence (other than a TGA conformity assessment certificate) has been restricted, suspended, revoked or is no longer in effect. Further information can be found in TGA conformity assessment guidance. |

Case study 2 – Loss or gap in certification for an ARTG entry AllDx is the sponsor of a class 3 IVD ARTG entry supported by ISO 13485 certification and the manufacturer has applied for IVDR certification. The notified body has not issued the new IVDR certificate before the ISO 13485 certificate expires. This means there will be a gap in valid certification to support the device supplied under the ARTG entry. AllDx will need to submit a notification form for lapses in medical device conformity assessment certification, within 60 days. The TGA will then advise AllDx on the appropriate next steps.

##### Additional examples and scenarios:

###### Example 4: No loss in certification for an ARTG entry

If there is no loss or gap in valid certification, and no change in the scope of the devices covered (that is, the new certification overlaps with or comes into effect immediately after the old certification expires) you do not need to notify the TGA via a notification form for lapses in medical device conformity assessment certification. Instead, you may wish to update your ARTG entry by completing a variation to manufacturer evidence application, provided the intended purpose and use of the device is the same, and there are no changes to the device safety or performance.

For example, a sponsor is transitioning from ISO 13485 to MDSAP certification to support their ARTG entry. The new MDSAP certificate is issued before the ISO 13485 certificate expires and the scope covers all the same devices. The sponsor does not need to advise the TGA that the ISO 13485 certificate is expiring as the ARTG entry will be covered by the MDSAP certification. The sponsor may instead wish to update the entry with the new certification via a variation to manufacturer evidence application.

###### Example 5: Loss in certification for a device

A reduction in the scope of new certification that will be used to support an existing ARTG entry may require a notification form for Lapses in medical device conformity assessment certification to be submitted to the TGA if some of the devices are no longer covered by valid QMS conformity assessment certification (manufacturer evidence).

For example, a sponsor is transitioning from ISO 13485 to EU IVDR certification to support the 10 devices under their existing ARTG entry. The EU IVDR certificate comes into effect immediately following the expiry of the ISO 13485 certificate. The scope of the EU IVDR certification now only covers 6 of the devices currently supplied under the ARTG entry. This means there is a gap in certification for the 4 devices not covered by the scope of the EU IVDR certificate. A notification form for lapses in medical device conformity assessment is required to be submitted and the TGA will advise on the appropriate action.

#### Change in classification due to change in intended purpose

| Change | Sponsor action |
| --- | --- |
| Potential changes to the scope of indications or intended purpose which could change the classification for the IVD medical device under the Australian regulatory framework. | You will need to lodge a new application for inclusion in the ARTG for your affected IVD medical device (unless you have an existing alternative ARTG entry). The type of manufacturer evidence used to support a new application for inclusion and the intended purpose of the device, will determine if an IVD application is selected for mandatory audit. Note: Regardless of the type of certification some applications may be selected for non-mandatory audit at the TGA’s discretion. |

###### Example 6: Change in IVD class from class 2 to class 3 IVD companion diagnostic

In the process of transitioning from ISO 13485 to EU IVDR certification, a manufacturer determines one of their existing immunohistochemistry IVDs will now be intended to be used as a companion diagnostic. The EU notified body issues a certificate covering the device for this purpose. As the device is currently included in the ARTG as a class 2 IVD, the sponsor will need to submit a new IVD application for a class 3 IVD companion diagnostic (before the end of the companion diagnostic transition period in May 2026) to continue supplying the device. As the device is supported by EU IVDR certification, it will not be selected for mandatory audit, but may be selected for non-mandatory audit. Further actions to notify users and update labelling for old stock may also be needed.

#### Change to ARTG entry information

| Change | Sponsor action |
| --- | --- |
| Changes to any of the following: Information in the ARTG is incomplete or incorrect ARTG intended purpose to reflect the devices included under the entry Change to GMDN code by the manufacturer to a more relevant, active, or preferred code (see Note 1) Linking an ARTG entry to a new manufacturer evidence identifier (e.g., if EU IVDR certification was submitted as new manufacturer evidence and given a new identifier) Manufacturer details (name or address) (see Note 2) Note 1: GMDN code refers to collective terms (class 1-3 IVDs) and preferred terms (class 4 IVDs). Change in GMDN code cannot change the ‘kind of device’, otherwise a new IVD application is required. Note 2: If the manufacturer’s legal entity changes, or products are transferred to a new manufacturer, a new application for ARTG inclusion is required. | You can update your ARTG entries by submitting a Device Change Request (DCR) application for your affected ARTG entries. The same process applies regardless of the type of manufacturer evidence used to support the entry, except TGA conformity assessment (see below). If the same change is being applied across multiple ARTG entries, you can update up to 10 ARTG entries in one DCR application. An additional DCR application would be needed if more than 10 ARTG entries required the same change. Note: Fee concessions apply for DCRs where the same certification is being changed from EU IVDD or ISO 13485 certification to EU IVDR or MDSAP certification. For these applications the same change must apply across all (up to 10) ARTG entries and the variation fee is reduced. The fee reduction is applied automatically in the DCR form if the sponsor meets the above criteria. See TGA legislation (Schedule 9, Part 2) for further information. TGA Conformity Assessment If an ARTG entry is supported by a TGA conformity assessment certificate and there are substantial changes to the design of the device that impact the device quality, safety and performance, an application to change the TGA conformity assessment certificate will be required. Further information on Device Change Request and variation applications can be found in Varying entries in the ARTG. |

Case study 3 – Changing the intended purpose of an ARTG entry BestDx is the sponsor of a Class 3 IVD ARTG entry that covers both self-tests and point of care tests supported by ISO 13485 certification. The sponsor has transitioned to IVDR certification that covers point of care tests only. The sponsor has no other certification or evidence to support the supply of self-tests under the ARTG entry. BestDx will need to submit a Device Change Request to update the ARTG entry to reflect that only point of care tests are approved.

##### Additional examples and scenarios

###### Example 7: Changing GMDN code

A sponsor identifies a more preferred GMDN code for their existing ARTG entry that does not change the kind of device (a change in ‘kind of device’ would require a new ARTG inclusion application). A Device Change Request can be submitted to change the GMDN code stated on their ARTG entry.

###### Example 8: Changing the information included in the ARTG for a class 4 IVD supported by EU IVDR versus TGA conformity assessment

Regardless of the type of certification, a sponsor must notify the TGA of any changes to the class 4 IVD device resulting in a change to the information included on the ARTG (for example, a change in the device that subsequently results in a change to the ARTG intended purpose). If the ARTG entry is supported by:

EU IVDR certification: Only changes to the device or manufacturer that will result in a change to the information displayed on the ARTG entry must be notified to the TGA via a Device Change Request.

if an additional condition of inclusion has been imposed on an ARTG entry, the sponsor must comply with this condition and provide relevant information to the TGA for assessment.

Sponsors must keep all relevant records related to device changes and make them available to the TGA upon request.

TGA Conformity Assessment: A change to TGA conformity assessment certificate application is required for substantial changes to the design of the device that impact the device quality, safety and performance.

#### Non-compliance with the Essential Principles

| Change | Sponsor action |
| --- | --- |
| The transition to EU IVDR or other manufacturer evidence may require sponsors to request consent to import, supply or export IVD medical devices in their control which do not meet an Essential Principle for a limited period. Examples may include (but are not limited to): addition of new warnings about potential issues that could impact performance changes in how the device can be used or changes to the intended purpose of the device (e.g., intended user or sample type) changes to specificity and sensitivity (IVD performance). Note: Consent to supply applies to stock currently within the sponsor’s control. | If you determine that your IVD medical devices, which are manufactured under a valid manufacturer evidence certificate, no longer comply with the Essential Principles for safety and performance, an application for consent must be submitted before importing, exporting, or supplying the devices. A risk mitigation plan outlining how the non-compliance will be addressed and notified to the end user is required. To complete a consent application, the sponsor needs to complete the online application form available on the TGA Business Services (TBS) portal. Further information on submitting a consent application and associated fees is available in TGA guidance. Where consent to supply is granted for non-compliance with the Essential Principles, ongoing regulatory responsibilities of the sponsor remain including, but not limited to, undertaking recall actions, and the reporting of adverse events. The TGA conducts post-market reviews to ensure that devices in the ARTG continue to meet legislative obligations. There are criminal and civil penalty sanctions if a sponsor imports, exports, or supplies non-compliant IVD medical devices without consent. Note: Some fee concessions apply for applications for consent made solely in relation to non-compliance with Essential Principle 13 due to transitioning certification from the EU IVDD or ISO 13485 to EU IVDR or MDSAP. |

###### Example 9: Consent to Supply for use of a sample type no longer supported by certification

A sponsor is transitioning from ISO 13485 certification to MDSAP certification, to support inclusion of their Sexually Transmitted Infection (STI) test in the ARTG. The MDSAP certificate has been issued with a reduced scope that no longer covers use of the test with urine samples and is now valid for use with swab only.

If the sponsor wishes to continue supplying the old stock manufactured while the ISO 13485 certification was valid (while also supplying the new stock manufactured under the new MDSAP certification) consent to supply will be required if the manufacturer does not hold the clinical and analytical evidence to support use of the ISO 13485 stock with both urine and swab samples; and the IFU has not been updated to reflect the change. The device is non-compliant with Essential Principle 13, 14 and 15.

#### Change in device safety and performance

| Change | Sponsor action |
| --- | --- |
| A change in safety and performance of a device that has been supplied to market. Note: recall and non-recall actions apply when stock has been supplied or ‘rolled-out’ to market (i.e., with the distributor or end user). | Device safety and performance issues that arise through the normal use of your devices which have been supplied to the market must be notified to the TGA. The Recalls Section in the TGA will discuss with you, the appropriate action. These actions may include recall or non-recall actions. Recall actions are typically undertaken in accordance with the Uniform Recall Procedure for Therapeutic Goods (URPTG) and occur regardless of the type of manufacturer evidence supporting the devices under an ARTG entry. See the TGA website for further information on recall and non-recall actions. |

#### Change to intended purpose of a device without change in classification

| Change | Sponsor action |
| --- | --- |
| Change to the intended purpose of a device under a current ARTG entry. For example, to broaden or reduce the indications for use; intended user or target patient population. If the device classification and ARTG entry details are unchanged, you only need to notify the TGA in limited cases. | EU IVDR certification You do not need to notify the TGA about changes to the intended purpose that do not change the classification or details on the ARTG entry if that entry is supported by IVDR certification. TGA conformity assessment If an ARTG entry is supported by a TGA conformity assessment certificate and there are substantial changes to the design of the device that impact the device quality, safety and performance, an application to change the TGA conformity assessment certificate will be required. Other certification (e.g., EU IVDD, MDSAP or ISO 13485) For certain devices (see Appendix A) with non-TGA and non-IVDR certification, automatic conditions of inclusion require changes to the intended purpose of a device to be notified to the TGA via a Device Change Request (DCR). Additional Actions Regardless of the type of manufacturer evidence used to support the ARTG entry, a change to the intended purpose of a device (e.g., reduced indications for use) may require recall action to notify the market and end users of the change. If there will be a delay in updating the labelling and instructions for use to reflect the change, you may need to submit an application for Consent to supply medical devices that are non-compliant with the Essential Principles. |

###### Example 10: Changes to the intended purpose of a device

A sponsor is updating the intended purpose of a point of care device currently included in the ARTG to add a new self-test for a class 3 IVD device. If the ARTG entry is supported by:

EU IVDR certification:

a Device Change Request is only required if the information in the ARTG certificate needs updating (for example, changing the ARTG intended purpose).

sponsors must keep all relevant records related to changes to the intended purpose of a device and make them available to the TGA upon request.

if an additional condition of inclusion has been imposed on an ARTG entry, the sponsor must comply with this condition and provide relevant information to the TGA for assessment.

Other certification such as EU IVDD, MDSAP or ISO 13485 certification:

a variation is needed to add a new device of the same kind and change the intended purpose as notification to the TGA is required under automatic conditions of inclusion (see Appendix A). Data specific to self-test may be reviewed at this time.

#### Supplying a new device under a current ARTG entry

| Change | Sponsor action |
| --- | --- |
| Adding a new device of the same kind under a current ARTG entry. Change in product name or intended purpose, due to addition of a new device of the same kind under a current ARTG entry requires notification in limited cases. | Class 4 IVDs and companion diagnostics For IVDs with a unique product identifier requirement (e.g., class 4 IVDs and companion diagnostics) a new application for inclusion is required for any new device. EU IVDR certification An application is not required to supply an additional device of the same kind under an ARTG entry that is supported by IVDR certification. Other certification (e.g., EU IVDD, MDSAP or ISO 13485) For certain devices (see Appendix A) with non-TGA and non-IVDR certification, automatic conditions of inclusion require new devices of the same kind to be notified to the TGA via an IVD variation application. Further information on variation applications can be found in Varying entries in the ARTG. |

Case study 4 – Changing the intended purpose of an ARTG entry BlueDx is the sponsor of an ARTG entry of a class 3 nucleic acid test to detect Chlamydia. The ARTG entry is supported by EU IVDR certification with no additional conditions of inclusion imposed. The sponsor would like to supply another Chlamydia antibody test that is the same kind of device and is covered by the scope of the devices listed under the EU IVDR certificate. BlueDx does not need to notify the TGA or submit a variation application to supply the additional device under the ARTG entry.

###### Example 11: MDSAP or ISO 13485 certification and adding a new device of the same kind (in Appendix A)

A notification to the TGA (variation application) is required to supply an additional device of the same kind for certain devices (see Appendix A), if the ARTG entry is supported by other certification such as MDSAP or ISO 13485 certification.

For example, a sponsor has an existing ARTG entry for a class 3 IVD nucleic acid test to detect Chlamydia, supported by MDSAP or ISO 13485 certification. To supply an additional Chlamydia antibody test (with different product name) that is considered the same kind of device under the ARTG entry, a notification to the TGA is required as part of the condition of inclusion.

###### Example 12: Adding a new class 3 IVD device of the same kind (not in Appendix A)

If an ARTG entry is supported by EU IVDD, MDSAP or ISO 13485 certification, an IVD variation is not required to supply the class 3 IVD device of the same kind, if the additional device:

is not specified in Appendix A, and

supported by acceptable evidence of product review (for example, Health Canada Class III licence or US FDA PMA).

Examples of class 3 IVDs (not specified in Appendix A) that would not require an IVD Variation application to supply under an existing ARTG entry (if supported by EU IVDD, Health Canada Class III licence or US FDA PMA as evidence of product review) include tests for (but not limited to):

Trisomy 21

Phenylketonuria

Human Leucocyte Antigen

Prostate Specific Antigen

###### Example 13: When a sponsor with EU IVDR certification may need to notify the supply of an additional device

If an ARTG entry is supported by EU IVDR certification, notification to the TGA is not usually required to supply an additional device of the same kind, unless additional conditions of inclusion have been imposed or ARTG details need to be changed.

For example, a sponsor submits an IVD Application for inclusion for a point of care test that is supported by EU IVDR certification. At the time of approval, an additional condition of inclusion is imposed on the ARTG entry requiring the sponsor to notify the TGA if a self-test (which is the same kind of device) is to be supplied under this ARTG entry. The sponsor must submit an IVD variation application if they intend to supply a self-test under the entry.

###### Example 14: Adding a new class 4 immunohematology reagent (IHR) under an existing ARTG entry (as the same kind of device)

A sponsor would like to supply two new class 4 IHR devices under an existing ARTG entry. As class 4 IHR devices do not have a unique product identifier requirement, the additional devices of the kind, will need notification to the TGA as it changes the details included in the ARTG, a Device Change Request would be required to update the ARTG certificate.

Note: All other class 4 IVDs (except IHR) would require a new class 4 application for inclusion to be submitted to the TGA.

### Appendix A: IVDs with conditions of inclusion to notify the TGA

Some IVDs have automatic conditions of inclusion that require the sponsor to notify the TGA about changes to the intended purpose or about new devices of the same kind to be supplied under that ARTG entry. This does not apply to IVDs supported by EU IVDR or TGA conformity assessment certification. This applies to a limited subset of IVDs (see Table 2) with non-TGA conformity assessment and non-EU IVDR certification.

Legislative references: Regulation 5.12 is an automatic condition of inclusion, which specifies that the supply of a new device of the kind under an existing ARTG entry, that results in change of product name or change to the intended purpose requiring notification to the TGA. This condition of inclusion only applies to devices specified under Regulation 5.3(1)(j)( see Table 2) This does not apply for devices supported by EU IVDR certification or TGA conformity assessment certificate.

Table 2: IVDs where conditions of inclusion to notify the TGA apply

| Regulation 5.3(1)(j) | IVDs with conditions of inclusion to notify the TGA | Example |
| --- | --- | --- |
| (i) | Quality Control material for a class 4 IVD | Controls for ABO blood typing |
| (ii and iii) | Self-tests and point of care tests | COVID-19 Rapid Antigen tests |
| (iv) | class 3 IVDs for sexually transmitted infections | Chlamydia and Gonorrhoea tests |
| (v) | IVDs for managing or monitoring the treatment of infections diagnosed using a class 4 IVD medical device | Viral load tests for Human Immunodeficiency Virus and Hepatitis C Virus |
| (vi and vii) | IVDs intended to be supplied for use in Pharmaceutical Benefits Scheme or use in a national screening program | Faecal Occult Blood Screening Program tests |
| (viii) | A device where the Secretary is not satisfied whether appropriate evidence of conformity assessment is held to demonstrate evidence of product review | Class 3 IVDs (e.g., prenatal screening and CD cell cancer biomarker IVDs) supported by ISO 13485 certification without additional evidence of product review (e.g., Health Canada Class III licence). |
| ,(viii)(a) | class 4 IVDs | ABO blood typing tests |
| (x) | IVD companion diagnostics | IVDs that provide information essential for the safe and effective use of a corresponding medicine or biological |

Even when these conditions of inclusion do not apply, if the supply of an additional device of the same kind or a change to the intended purpose of an existing device results in changes to the information in the ARTG, a DCR is needed to update the ARTG certificate.

There may also be other instances where additional conditions are imposed on an ARTG entry requiring a sponsor to notify of any additional devices to be supplied.

|  | The ARTG certificate only displays additional devices that are notified to the TGA in a variation application. |
| --- | --- |

Version history

| Version | Description of change | Author | Effective date |
| --- | --- | --- | --- |
| V1.0 | Final guidance | Medical Devices Authorisation Branch | June 2023 |

Therapeutic Goods Administration

PO Box 100 Woden ACT 2606 Australia Email: info@tga.gov.au Phone: 1800 020 653 Fax: 02 6203 1605 https://www.tga.gov.au

Reference/Publication #