# TGA Online Market Action Submission Form

Examples of quality submissions

Version 3.0, March 2025

Copyright

© Commonwealth of Australia 2025
This work is copyright. You may reproduce the whole or part of this work in unaltered form for your own personal use or, if you are part of an organisation, for internal use within your organisation, but only if you or your organisation do not use the reproduction for any commercial purpose and retain this copyright notice and all disclaimer notices as part of that reproduction. Apart from rights to use as permitted by the Copyright Act 1968 or allowed by this copyright notice, all other rights are reserved and you are not allowed to reproduce the whole or any part of this work in any way (electronic or otherwise) without first being given specific written permission from the Commonwealth to do so. Requests and inquiries concerning reproduction and rights are to be sent to the TGA Copyright Officer, Therapeutic Goods Administration, PO Box 100, Woden ACT 2606 or emailed to <tga.copyright@tga.gov.au>.

Contents

Purpose of this document	4

Preparing the online form	4

## Purpose of this document

This document provides guidance for completing the TGA Market Action Online Submission Form (sometimes called the TBS (TGA Business Services) form.

Further information on preparing and submitting your notification to us is in Step 2 of the Procedure for recalls, product alerts and product corrections (PRAC).

## Preparing the online form

| Required Field | Suggested Sponsor Submission | TGA Requirements |
| --- | --- | --- |
| Proposed Problem Description: | Sterility testing for batch X identified Staphylococcus aureus contamination. To date, no adverse events have been reported. There is an error in the Instruction for Use (IFU) and product labelling. The ‘Limitations’ section of the IFU and warning labels incorrectly state the Safe Working Load to be 1600kg. The correct Safe Working Load is 160kg. There is a risk the device could be used beyond its safe weight capacity, leading to a patient fall. There have been 2 customer complaints, with no injuries or adverse events reported. | Only include information that is relevant to the problem. [IF APPLICABLE] Include a statement regarding the impact this may have on regular use of the product. [IF APPLICABLE] Provide a concluding statement regarding the number of adverse events reported within Australia and/or worldwide. This is a short summary which will appear on the public database (DRAC). Keep any complicated scientific terminology to a MINIMUM. Remove all trademark symbols (™) and (®). Do not include the words ‘voluntary’ or ‘voluntarily’. Use of Australian spelling is required as per the PRAC. It is NOT acceptable to enter ‘See attached documents’ instead of the required information. |
| Proposed Hazard Description: | The contamination could lead to patient infection, fever, or further medical treatment. The likelihood of serious injury has been assessed as remote. Using the product beyond its safe weight capacity, could result in collapse/breakage of the device and a patient fall or injury. | Provide a short statement regarding the potential short-term or long-term hazards that use of this product may have on the user or the immediate environment. This information should align with the Health Hazard Evaluation (HHE) or risk assessment documentation. |
| Proposed Action Description: | Immediately identify all affected lot numbers and quarantine on site to prevent further use. The sponsor will arrange for the collection of all affected products and provide a full refund. A new IFU and warning labels will be provided to customers. The IFU update is expected by the end of July 2026. In the meantime, customers may use the product, but the weight capacity must not exceed 160kg. | Include actions to be taken immediately by users, including returning/discarding quarantining products. Include any required workarounds or temporary fixes. If this will not fit in the field, include a summary. [IF APPLICABLE] Include any future actions to be taken by the sponsor, as well as an approximate timeframe for the correction (i.e. ‘… by Q3 20XX’). This is a short summary which will appear on the public database (DRAC). keep any complicated terminology to a MINIMUM. AVOID phrasing in the 2nd person i.e. “You should return product to…” |
| Product Description: | BestTest Horse Blood Agar Kits. An in vitro diagnostic medical device (IVD) Lot Numbers: AU123, AU124, AU125 Product Code: PC0001 Batch Numbers 33AU, 34AU Expiry Date(s): 01/01/2026, 01/03/2026, and 01/04/2026 Guerilla Ultra Light Infusion Sets. Size M/L Product Codes: P3V, P4V Multiple Batch Numbers Elendil, 200mg/mL multipurpose liquid bottle, raspberry flavour Product Code: P52s Lot Number: LOTR91301 Expiry Date: 31/05/2024 Supplied via the Special Access Scheme (SAS) | The name of the affected product(s) must be the first sentence. Include all relevant product identifiers (i.e. Batch Numbers, Lot Numbers, Catalogue Numbers, Kit Numbers, Product Codes, etc.) Include any relevant manufacture dates, expiry dates, etc. If the product is not on the ARTG, include whether the product is exempt, excluded, supplied under the Special Access Scheme (SAS), etc. If the affected device is an IVD, include the following statement as part of the product description title: ‘An in vitro diagnostic medical device (IVD)’. Remove all symbols (such as (™) and (®)). For lists of Lot/Batch/Product numbers greater than 15, enter “Multiple lot numbers” and provide the full list under the Supporting Information tab. |
| Sponsor Contact Information: | 1800 000 000 – Guerilla Special Care Customer Service 0412 000 000 – Mr Bob Marley, Best Buddi Products | This contact number will appear on the publicly accessible DRAC database. This should correspond with the number provided in the customer letter. It needs to be an Australian contact. Depending upon the recall, it can be either an individual person or a customer service number. |
| Product Code (or Catalogue/Part Number): | Product Code: PC0001 | Product identifying number. |
| Product Identifiers (i.e. Batch, Serial, Lot Numbers): | Lot Numbers: AU123, AU124, AU125. Batch Numbers 33AU, 34AU | Product identifying numbers. |
| Manufacture Date: | DD/MM/YYYY |  |
| Expiry Date: | DD/MM/YYYY |  |
| Release Date: | DD/MM/YYYY | Date affected products released by Manufacturer. |
| Batch Size: | 123456 Units | Number of goods imported/sold within Australian Market. |
| Product Distribution Details: | 12 hospitals in NSW, QLD and VIC 83 facilities nationally excluding ACT and NT | Number of affected customers and what states the products were distributed. If more than five states/territories are impacted, use “…nationally excluding X and Y”, or “Nationally” if every state and territory is affected. Notify the TGA if these details are not available at the time of submission, or if you anticipate difficulty contacting all end users. |
| Current or Previous Overseas Actions: | MHRA-REF: 00001111 (www. MHRA-REF:00001111.com) FDA-REF: 11110000 (www.FDA-REF.com) | Include a reference number for any overseas actions taken. [IF APPLICABLE] Include a link to the overseas action. |

|  | Following submission of your form, the TGA will assess the matter and may make changes prior to sending the agreement letter. For more information about the TGA’s review of your proposed recall or non-recall action, see Step 3 of the Procedure for recalls, product alerts and product corrections (PRAC) |
| --- | --- |

Version history

| Version | Description of change | Author | Effective date |
| --- | --- | --- | --- |
| V1.0 | Original publication | Recalls Section | November 2019 |
| V2.0 | Additional examples and updated guidance on TGA Requirements | Recalls Section | March 2024 |
| V3.0 | Amended terminology and field headings to align with the release of the PRAC | Recalls Section | March 2025 |