# Machine to Machine HL7 SPL User Guide

Australian Unique Device Identification Database (AusUDID)

Version 1.3, October 2025

Copyright

© Commonwealth of Australia 2025
This work is copyright. You may reproduce the whole or part of this work in unaltered form for your own personal use or, if you are part of an organisation, for internal use within your organisation, but only if you or your organisation do not use the reproduction for any commercial purpose and retain this copyright notice and all disclaimer notices as part of that reproduction. Apart from rights to use as permitted by the Copyright Act 1968 or allowed by this copyright notice, all other rights are reserved and you are not allowed to reproduce the whole or any part of this work in any way (electronic or otherwise) without first being given specific written permission from the Commonwealth to do so. Requests and inquiries concerning reproduction and rights are to be sent to the TGA Copyright Officer, Therapeutic Goods Administration, PO Box 100, Woden ACT 2606 or emailed to <tga.copyright@tga.gov.au>.

Contents

Introduction	5

Australian Unique Device Identification (UDI) system	5

Managing data in the Australian UDI Database (AusUDID)	5

Purpose of this document	6

Machine to Machine HL7 SPL document suite	7

Getting started	7

AusUDID data rules	8

Testing of HL7 SPL submission	8

Access controls	8

XML Request Header	8

Roles and responsibilities	9

HL7 SPL submitters	9

Manufacturer submitters	9

Sponsor submitters	10

Third Party Data Provider submitters	10

Agent submitters	10

Terms of Use	10

Sponsors and manufacturers	11

Third Party Data Providers	11

Key activities	11

Requesting a Client ID and Secret	12

Generating a Subscription Key	12

Revoking access to a Subscription Key	16

Generating an Access Token	17

Expired Access Token	18

Submitting a UDI record through the API	18

Verifying UDI record submission	20

Sample Postman Collection	20

Validating your HL7 SPL data submission	21

Stage 1 – Simple message validation	22

Stage 2 – Advanced message validation	22

Stage 3 – Data volume validation	22

Stage 4 – Complex data scenarios	22

Completing testing	23

## Introduction

For the purpose of this document:

Data Supplier refers to sponsors, manufacturers or agents

UDI record refers to a UDI-DI and related data published as a record to the AusUDID

We refers to the Therapeutic Goods Administration

You refers to you as a data supplier or Third Party Data Provider.

### Australian Unique Device Identification (UDI) system

The Australian Government is strengthening patient safety by introducing the Australian Unique Device Identification (UDI) system.

The UDI system supports the identification of medical devices and other medical device reforms. It is designed to improve the effectiveness of the regulatory framework, including management of post-market safety-related activities such as recalls.

The inability to effectively and efficiently track and trace medical devices that have been supplied to or implanted into patients has constrained timely clinical and regulatory action in a number of medical device safety crises. This includes hip implants, urogynaecological mesh and breast implants.

By introducing the UDI system, Australia joins a globally harmonised approach that enables more accurate identification of medical devices.

### Managing data in the Australian UDI Database (AusUDID)

We established the AusUDID as the repository for UDI-DIs and related data in Australia. The AusUDID stores the UDI Device Identifier (UDI-DI) and related data for most medical devices and in vitro diagnostic (IVD) devices supplied in Australia.

Sponsors and manufacturers can use one of 4 methods to supply data to the AusUDID.

Figure 1: Submission methods in the Australian UDI Database

### Purpose of this document

This user guide is part of a suite of documents that support the sponsors and manufacturers (or their Third Party Data Providers) who will supply data to the AusUDID via HL7 SPL.

We have created this suite of documents to help you:

comply with UDI requirements

understand the IT requirements of the AusUDID

submit and verify UDI records in the AusUDID.

#### Machine to Machine HL7 SPL document suite

We have explained the suite of documents in the table below:

| Document | Australian UDI Data Dictionary | User Guide | Implementation Specification | Code List | Sample HL7 XML Message |
| --- | --- | --- | --- | --- | --- |
| Purpose | Reference listing of all Australian UDI data elements including: data element names descriptions validation rules Grace Period rules permitted values other useful metadata. | Overview of: UDI concepts AusUDID submission channels, roles and environments Data management rules M2M workflow API Management Portal Provisioning security credentials Testing scenarios – conformance. | Detailed instructions of: Versioning Creating UDI records Maintaining data Schema and data attribute specifications. | Reference listing of codes and elements. | Series of sample HL7 XML messages for data submission and notifications (success and failure), including message annotations explaining the data attributes and intended purpose. |
| Audience | Sponsors Manufacturers Agents Third Party Data Providers Regulatory teams Software development and support teams. | Sponsors Manufacturers Third Party Data Providers Agents Software development and support teams. | Software development and support teams. | Software development and support teams. | Software development and support teams. |
| Assumed Knowledge | UDI concepts Australian regulations. | TBS Portal including access provisioning and/or understanding of Oauth 2.0 authentication framework. | HL7 SPL messaging protocols and system integration architecture patterns using XML schemas. | HL7 SPL messaging protocols and system integration architecture patterns using XML schemas. | HL7 SPL messaging protocols and system integration architecture patterns using XML schemas. |

## Getting started

To successfully submit UDI records via the HL7 SPL API, you should be familiar with the following prerequisites.

### AusUDID data rules

UDI records submitted to the AusUDID using the HL7 SPL API are required to comply with data rules and permitted values. You can find the details on each Australian UDI data element, permitted values and other useful metadata in the Australian UDI Data Dictionary.

### Testing of HL7 SPL submission

If you choose HL7 SPL to submit UDI records to the AusUDID, you must first complete testing in AusUDID Pre-Production environment.

Testing in the Pre-Production environment helps to identify data issues early and prevent submission of inaccurate or low quality data to the AusUDID Production environment.

Testing requirements are further described in Validating your HL7 SPL data submission.

### Access controls

Submission of UDI records through the HL7 SPL API requires you to have the following elements in place:

IP Whitelisting: The network IP range that you intend to submit from must be whitelisted

Access Token: The Access Token authorises the application to send requests to the AusUDID API

Client ID and Secret: The Client ID and Secret combination identifies the Data Supplier organisation submitting the UDI record to the API

Subscription Key: The Subscription Key identifies the Data Supplier organisation that the UDI record is submitted on behalf of. It is associated with the Data Supplier’s TGA Business Services (TBS) account and is generated by a user within the TBS account.

|  | The TBS user generating the Subscription Key must be assigned the TBS role of ‘Submitter’. |
| --- | --- |

### XML Request Header

UDI records that you submit through the HL7 SPL channel must have 2 key values in the Request Header:

| 1. Access Token | Must be provided in the ‘Authorization’ field |
| --- | --- |
| 2. Subscription Key | Must be provided in the ‘Ocp-Apim-Subscription-Key’ field. |

Figure 2 illustrates the message flows between the Data Supplier and the AusUDID. It provides context to the remaining sections of this document.

Figure 2: Illustration of the message flows between Data Supplier and the AusUDID.

## Roles and responsibilities

### HL7 SPL submitters

UDI records can be submitted to the AusUDID using HL7 SPL by 4 types of submitters. These are:

manufacturer submitters

sponsor submitters

Third Party Data Provider submitters

agent submitters.

#### Manufacturer submitters

The manufacturer of a medical device is the person who is responsible for the following actions before the device is supplied under the person’s name, whether or not it is the person, or another person acting on the person’s behalf, who carries out those operations:

design of the device

production of the device

packaging of the device

labelling of the device.

If the above does not apply to a medical device, the manufacturer of the device is the person who, with a view to supplying the device under the person's name, does one or more of the following using ready-made products:

assembles the device

packages the device

processes the device

fully refurbishes the device

labels the device

assigns to the device its purpose by means of information supplied, by the person, on or in any one or more of the following:

  - the labelling on the device

  - the instructions for using the device

  - any advertising material relating to the device.

*However, a person is not the manufacturer of a medical device if:

the person assembles or adapts the device for an individual patient; and

the device has already been supplied by another person; and

the assembly or adaptation does not change the purpose intended for the device by means of information supplied by that other person, on or in any one or more of the following:

  - the labelling on the device

  - the instructions for using the device

  - any advertising material relating to the device.

#### Sponsor submitters

A sponsor is a person or company who does one or more of the following:

exports therapeutic goods from Australia

imports therapeutic goods into Australia

manufactures therapeutic goods for supply in Australia or elsewhere.

#### Third Party Data Provider submitters

A Third Party Data Provider is a person or company that curates and submits data on behalf of a sponsor or manufacturer.

#### Agent submitters

An agent is a person duly authorised in writing to act on behalf of the sponsor or manufacturer of the goods.

### Terms of Use

Data Suppliers and Third Party Data Providers submitting UDI records to the AusUDID through the HL7 SPL channel must accept the Terms of Use before using HL7 SPL functionality in either the AusUDID Pre-Production or Production environments.

To do this you must:

request a copy of the Terms of Use by contacting the UDI Support Team at UDI@health.gov.au mailto:UDI@health.gov.au

acknowledge the Terms of Use by return email.

### Sponsors and manufacturers

As a Data Supplier submitting UDI records to the AusUDID through the HL7 SPL channel directly from using your own IT system, you must:

request your network IP range is whitelisted

request a Client ID and Secret

generate a Subscription Key.

As a Data Supplier submitting UDI records to the AusUDID through a Third Party Data Provider, you must:

generate a Subscription Key

give the Subscription Key to your Third Party Data Provider.

|  | If you give the Subscription Key to a Third Party Data Provider, this allows them to submit UDI records to the AusUDID on your behalf. It does not grant them access to your TBS account. If you wish to remove the Third Party Data Provider’s ability to submit UDI records on your behalf, you can regenerate the Subscription Key. This will invalidate the existing Subscription Key previously provided to the Third Party Data Provider. Sponsors and manufacturers are always responsible for the data supplied to the TGA, even if data is submitted via a Third Party Data Provider. |
| --- | --- |

### Third Party Data Providers

As a Third Party Data Provider submitting UDI records to the AusUDID through the HL7 SPL channel, you must:

request your network IP range is whitelisted

request a Client ID and Secret

work with each organisation you are submitting UDI records on behalf of to obtain their Subscription Key. If supplying UDI records on behalf of multiple data suppliers, you will need to manage Subscription Keys for each.

If the Data Supplier regenerates the Subscription Key and does not provide you the new Subscription Key, you will be unable to submit UDI records to the AusUDID through the HL7 SPL channel on their behalf.

## Key activities

### Request for whitelisting of your network IP range

To request for whitelisting of your network IP range, you must contact the UDI Support Team at UDI@health.gov.au.

When you request for whitelisting of your network IP range, you must provide:

your public network (either a specific IP address or an IP address range) you intend to submit from

your organisation name

contact details of your organisation’s administrator:

name

position

email

phone number.

The UDI Support Team will whitelist your network IP range and will let you know when this has been completed. If you submit from an IP that is not whitelisted, your submission will be rejected (with a “403 Forbidden” error message).

### Requesting a Client ID and Secret

To obtain a Client ID and Secret, you must contact the UDI Support Team at UDI@health.gov.au.

When you request the Client ID and Secret, you must provide:

your organisation name

contact details of your organisation’s administrator:

  - name

  - position

  - email

  - phone number.

The UDI Support Team will create and provide your organisation’s Client ID and Secret. You use the Client ID and Secret to generate the Access Token for your HL7 SPL message. The UDI Support Team does not generate the Access Token.

### Generating a Subscription Key

You can generate Subscription Keys in the UDI APIM Portal. You must have different keys for each of the AusUDID environments:

AusUDID Pre-Production

AusUDID Production.

URLs to each AusUDID environment:

| AusUDID Pre-Production environment: | https://hpsp-pp-apim.developer.azure-api.net |
| --- | --- |
| AusUDID Production environment: | https://hpsp-prod-apim.developer.azure-api.net |

As a sponsor or manufacturer, you can share your Subscription Key with multiple Third Party Data Providers. However, we recommend that you create a new API Subscription for every Third Party Data Provider. This allows you to revoke the access of one Third Party Data Provider without affecting other users of that Subscription Key.

|  | Third Party Data Providers cannot generate Subscription Keys. As a Third Party Data Provider, you must work with the sponsor or manufacturer and request that they generate a Subscription Key and provide this to you. |
| --- | --- |

See below the instructions for using the APIM Portal to generate a Subscription Key in both the AusUDID Pre-Production and Production environments.

| Instruction | Pre-Production |
| --- | --- |
| Navigate to the relevant APIM Portal using the links provided above. |  |
| Select ‘Login with TGA’ and login with your TBS credentials. |  |
| Once logged into the APIM Portal, click on the ‘Products’ tab in the navigation bar at the top right of the screen. |  |
| In the ‘Products’ page, click on the ‘UDID PreProd’ link. |  |
| You will be redirected to a page to name your subscription to the AusUDID HL7 SPL API. Enter a descriptive name that relates to the use of the key (for example Key for Acme Inc Third Party Data Provider). Click on ‘Subscribe’. |  |
| You will be presented with the details of your newly created subscription: - The ‘Primary Key’ is the Subscription Key - The ‘Secondary Key’ also functions as a Subscription Key. This alternative key allows you to provide different keys to different systems or users, if you wish to do so. |  |

| Instruction | Production |
| --- | --- |
| Navigate to the relevant APIM Portal using the links provided above. |  |
| Select ‘Login with TGA’ and login with your TBS credentials. |  |
| Once logged into the APIM Portal, click on the ‘Products’ tab in the navigation bar at the top right of the screen. |  |
| In the ‘Products’ page, click on the ‘UDID Prod’ link. |  |
| You will be redirected to a page to name your subscription to the AusUDID HL7 SPL API. Enter a descriptive name that relates to the use of the key (for example Key for Acme Inc Third Party Data Provider). Click on ‘Subscribe’. |  |
| You will be presented with the details of your newly created subscription: - The ‘Primary Key’ is the Subscription Key. - The ‘Secondary Key’ also functions as a Subscription Key. This alternative key allows you to provide different keys to different systems or users, if you wish to do so. |  |

|  | If you want to view the history of previously generated subscription keys, do so by following these steps: - Select ‘Profile’ in the navigation bar - Scroll to ‘Subscriptions’ - Select ‘Show’. |
| --- | --- |

#### Revoking access to a Subscription Key

If you wish to revoke access via a Subscription Key (including if used by a Third Party Data Provider), you can do so by either:

cancelling the subscription, or

regenerating the Subscription Key.

### Generating an Access Token

You can generate an Access Token by completing an OAuth 2.0 Client Credentials flow. To do this, you must have the Client ID and Secret.

Third Party Data Providers only need a single Client ID and Secret.

The Access Token can be used in conjunction with multiple Subscription Keys as the Subscription Key itself identifies the organisation which they are acting on behalf of.

Once you have the Client ID and Secret, you must send a POST request to the URL below to generate the Access Token.

URL to send a POST request for both AusUDID environments:

| AusUDID Pre-Production and Production environment: | https://login.microsoftonline.com/4a3cd791-0600-4b56-9f17-befb124fbe03/oauth2/v2.0/token |
| --- | --- |

Example POST request using curl:

curl -s --request POST \

--url 'https://login.microsoftonline.com/4a3cd791-0600-4b56-9f17-befb124fbe03/oauth2/v2.0/token' \

--header 'content-type: application/x-www-form-urlencoded' \

--data grant_type=client_credentials \

--data client_id=YOUR_CLIENT_ID \

--data client_secret=YOUR_CLIENT_SECRET \

--data scope=YOUR_CLIENT_ID/.default

If the POST request is successful, you will receive a response that contains the JWL Bearer Token.

Note that the token expiry time in seconds is included in the response message. 3599 seconds is 1 hour.

{

"token_type":"Bearer",

"expires_in":3599,

"ext_expires_in":3599,

"access_token":"THE_ACCESS_TOKEN"

}

If the Client ID is incorrect, you will receive an error message like the one shown below:

{

"error":"unauthorized_client",

"error_description":"AADSTS700016: Application with identifier‘YOUR-INCORRECT-  CLIENT-ID‘ was not found in the directory 'Department of Health'… ",

"error_codes":[700016],

"timestamp":"2023-11-09 02:57:06Z",

"trace_id":"…",

"correlation_id":"…",

"error_uri":"https://login.microsoftonline.com/error?code=700016"

}

If the Secret is incorrect, you will receive an error message like the one shown below:

{

"error":"invalid_client",

"error_description":"AADSTS7000215: Invalid client secret provided. Ensure the secret being sent in the request is the client secret value, not the client secret ID, for a secret added to app 'CLIENT-ID'…",

"error_codes":[7000215],

"timestamp":"2023-11-09 02:56:30Z",

"trace_id":"…",

"correlation_id":"…",

"error_uri":"https://login.microsoftonline.com/error?code=7000215"

}

|  | You add the generated Access Token to the Authorization Header of your HL7 SPL message, in the following format: Authorization Bearer YOUR_ACCESS_TOKEN |
| --- | --- |

#### Expired Access Token

If you receive a ‘Unauthorized. Access token is missing or invalid’ error message, this is because your Access Token has expired.

You must generate a new Access Token.

### Submitting a UDI record through the API

Once you have the Access Token and Subscription Key, you can submit UDI records through the API using a HL7 SPL message.

You can use the HL7 SPL message to:

create the initial UDI record

update the UDI record

correct the UDI record.

|  | The HL7 SPL channel does not support submission of draft UDI records. It does support submission of ‘unpublished’ UDI records when the record has a future publish date. |
| --- | --- |

|  | Each message request equates to a single UDI record. |
| --- | --- |

The Access Token can be reused for multiple messages until it expires. You do not need to generate Access Tokens for each individual UDI record or message.

You must include the Access Token in the Authorization header field and the Subscription Key in the Ocp-Apim-Subscription-Key header field.

The body of the request will be the HL7 SPL XML message.

Example post request using curl:

curl -v --location "https://hpsp-pp-apim.azure-api.net/pp/udid/api/v1/hl7" \

--header "Content-Type: application/xml" \

--header "Authorization: Bearer YOUR_ACCESS_TOKEN" \

--header "Ocp-Apim-Subscription-Key: YOUR_SUBSCRIPTION_KEY" \

--data-binary "@hl7_message.xml"

|  | - The above curl command assumes that you have a file called hl7_message.xml in the directory you are running the command from. The contents of this XML file will be sent as the request body. |
| --- | --- |

The AusUDID response below is what you will receive when the submission is successful.

In this example, the Primary DI is TEST123456.

<AusUDIDSPLResponse xmlns:xsi="http://www.w3.org/2001/XMLSchema-instance" xmlns:xsd="http://www.w3.org/2001/XMLSchema">

<Success>true</Success>

<ProcessedAt>11/1/2023 3:50:00 AM</ProcessedAt>

<PrimaryDI>TEST123456</PrimaryDI>

<Errors />

</AusUDIDSPLResponse>

The response below shows a failed submission.

In this example, the error is because of the ‘Brand Name’ field is longer than 80 characters.

<?xml version="1.0" encoding="utf-16"?>

<AusUDIDSPLResponse>

<Success>false</Success>

<Errors>

<SPLError>

<Property>BrandName</Property>

<Message>Brand name must be between 1 and 80 characters</Message>

</SPLError>

</Errors>

</AusUDIDSPLResponse>

|  | Failed submissions are not retained in the AusUDID or kept as drafts. |
| --- | --- |

If the UDI record’s publish date in the HL7 document is today or in the past, the UDI record will be published immediately. If the UDI record publish date is in the future, it will be created as an ‘unpublished UDI record’ which will automatically publish when the scheduled date is reached. Once the UDI record is published, the UDI record’s ‘Grace Period’ will commence.

|  | The Grace Period is a set time frame that begins once you have published your initial version of the UDI record. During this time frame, you can make any needed changes to any data element. The purpose of the Grace Period is to allow you fix errors in the UDI record due to data entry errors or technical issues. The length of the Grace Period is subject to change as we introduce UDI and the AusUDID. You can find the current length of the Grace Period on the UDI Hub, or when updating or correcting a UDI record. |
| --- | --- |

UDI records that are in the Grace Period are visible to public users. Only UDI records that are submitted without an ARTG are not shown to public users.

Once the UDI record is out of the Grace Period, it will be subject to the UDI Trigger Data Elements rules. This means that changes to those data fields defined as UDI Trigger Data Elements will require a new UDI record, per the rules defined in the Australian UDI Data Dictionary. If you need to correct the UDI record due to an error, you can do so by sending a HL7 request using the correction message type code, or by prefiling a correction request through the AusUDID online portal which will treat the next update you submit via the HL7 channel as a correction.

### Verifying UDI record submission

Once you have successfully published a UDI record, you can view your UDI record online in the AusUDID portal. To do so, you must log into the AusUDID with your web browser.

Once logged in, select ‘My UDI Records’ to see the UDI records created by your organisation.

### Sample Postman Collection

We have included a sample Postman Collection as part of the HL7 SPL suite of documents.

After importing the collection into Postman, you must select the collection name and then select the ‘Variables’ tab.

You must enter your Client ID and Secret into both the ‘Initial Values’ and ‘Current Values’ columns. The ‘TenantID’ value will be 4a3cd791-0600-4b56-9f17-befb124fbe03

You must ensure you select ‘Save’ to save your changes.

Figure 2: Image of Postman Collection - Highlighting the 'Variables' tab, values columns and 'Save' button.

Once you have saved your changes, you must select the ‘Authorization’ tab. You must scroll down and select the ‘Get New Access Token’ button. You must select ‘Proceed’ and ‘Use Token’. This Access Token will now be automatically included on all requests in the Authorization Header. A new Access Token will need to be requested when the current Access Token expires.

Figure 3: Image of new Access Token configuration screen

You must then select the ‘Submit UDI Record’ button and then select the ‘Headers’ tab. You must change the ‘Ocp-Apim-Subscription-Key’ value to the Subscription Key that you generated in the APIM. You can now select the ‘Body’ tab and fill out the request payload with the UDI HL7 SPL XML message.

Figure 4: Image of Postman Collection - Highlighted 'Submit UDI Record' button, 'Headers' button and value column.

## Validating your HL7 SPL data submission

Before you can connect software to the AusUDID, you will need to ensure your software has successfully transmitted the HL7 SPL message.

This testing will occur in the AusUDID Pre-Production environment.

You must advise us that the Pre-Production testing of your HL7 SPL messages have occurred before submitting data through the AusUDID Production API.

This testing is to confirm:

Correct transmission of the HL7 SPL message

Compatibility with the AusUDID messaging services and platform

Integrity of the UDI record(s)

Acceptable system performance and load management

Correct detection and management of errors.

After you have completed thorough internal testing you are required to complete all stages of testing outlined below.

### Stage 1 – Simple message validation

Stage 1 assesses your ability to successfully send transactions and manage any submission issues using a simple set of UDI records.

You must run a set of HL7 SPL transactions that:

Verifies both successful and unsuccessful transactions and creation of UDI records

Represents the breadth of devices that the Data Supplier organisation supplies in Australia

Includes varying device characteristics, for example, UDI records with and without Direct Marking DIs, Package DIs, or varying clinical characteristics.

Your initial dataset should be limited to 30 UDI records and should only be new UDI records.

During Stage 1, we recommend you create UDI records with today’s publish date.

### Stage 2 – Advanced message validation

Stage 2 increases the complexity and scale of testing. This stage focuses on more complex UDI records and includes Corrections to UDI records.

You must only commence Stage 2 once you have completed Stage 1 successfully.

Your dataset for Stage 2 should be limited to 100 UDI records and should include both new and corrected UDI records.

### Stage 3 – Data volume validation

Stage 3 increases the scale of testing. This stage focuses on large volumes of UDI records.

You must only commence Stage 3 once you have completed Stages 1 and 2.

You are not limited to a set number of UDI records for Stage 3.

### Stage 4 – Complex data scenarios

Stage 4 includes specific testing scenarios.

| Test scenario | Test description | Record changes or updates | Success criteria |
| --- | --- | --- | --- |
| Scenario 1 | Submit a new UDI record with today’s publish date | None. | UDI record is submitted to AusUDID as a published UDI record. |
| Scenario 1a | Update the newly submitted UDI record during the Grace Period. | We suggest you update the following data element(s): Brand Name For Single Use MRI Safety Information. | UDI record is updated correctly. |
| Scenario 2 | Submit a new UDI record with a future publish date. | None. | UDI record is submitted to AusUDID as an unpublished UDI record. |
| Scenario 2a | Update the newly submitted UDI record. | Change the UDI record publish date to today’s date. | UDI record is updated correctly. UDI record displays as published. |
| Scenario 3 | Submit a new UDI record with today’s publish date. UDI record must include a package hierarchy. | None. | UDI record is submitted to AusUDID as a published UDI record. UDI record displays package hierarchy correctly. |
| Scenario 3a | Update the newly submitted UDI record after the Grace Period. | We suggest you update the following data element(s): Sponsor commercial distribution end date Storage and handling information Clinically relevant size information. | UDI record is updated correctly. |

### Completing testing

Upon completion of testing please send the following information to: UDI@health.gov.au

For each test scenario:

- Primary DI Number

- For Scenarios 1a, 2a and 3a, AusUDID Data Elements changed, value before change and value after change.

Version history

| Version | Description of change | Author | Effective date |
| --- | --- | --- | --- |
| V1.0 | Original publication | Devices Reforms Taskforce |  |
| V1.1 | Revisions for multiple sponsor and other editorial changes | Devices Reforms Taskforce | March 2025 |
| V1.2 | Updates to test scenarios. Minor wording and formatting updates. | Devices Reforms Taskforce | May 2025 |
| V1.3 | Added section about IP whitelisting Minor wording and formatting updates. | Devices Reforms Taskforce | October 2025 |