Machine to Machine HL7 SPL Implementation Specification

Australian Unique Device Identification Database (AusUDID)

Version 1.4, February 2026

Copyright

© Commonwealth of Australia 2025
This work is copyright. You may reproduce the whole or part of this work in unaltered form for your own personal use or, if you are part of an organisation, for internal use within your organisation, but only if you or your organisation do not use the reproduction for any commercial purpose and retain this copyright notice and all disclaimer notices as part of that reproduction. Apart from rights to use as permitted by the Copyright Act 1968 or allowed by this copyright notice, all other rights are reserved and you are not allowed to reproduce the whole or any part of this work in any way (electronic or otherwise) without first being given specific written permission from the Commonwealth to do so. Requests and inquiries concerning reproduction and rights are to be sent to the TGA Copyright Officer, Therapeutic Goods Administration, PO Box 100, Woden ACT 2606 or emailed to <tga.copyright@tga.gov.au>.

Contents

1	Introduction	4

1.1	Purpose of this document	4

1.2	Symbols and concepts used in this document	5

2	Unique Device Identification (UDI)	8

2.1	Unique Device Identifiers	8

2.2	Australian UDI Database (AusUDID)	8

2.3	The AusUDID API Portal	9

3	AusUDID HL7 SPL submission	10

3.1	Pre-requisites	10

3.2	Versioning HL7 SPL submissions	10

3.3	Updating UDI records	11

3.4	Correcting UDI records	11

4	Essential components of the HL7 SPL submission	13

4.1	Controlled vocabulary	13

4.2	OIDs and UUIDs	13

4.3	Data types	14

4.4	AusUDID HL7 SPL XML schema	15

4.5	AusUDID HL7 SPL XML message	15

4.6	HL7 element - displayName	17

5	AusUDID HL7 SPL submission	18

5.1	SPL document	18

5.2	Submitter	23

5.3	Device information	29

5.4	Device Status – Product Classification	45

5.5	Device Information – Alternate or Additional Identifiers	48

5.6	Device Characteristics	58

6	Common DI Validation	103

7	XML Message Sample	104

# Introduction

For the purpose of this document:

- UDI record refers to a UDI-DI and related data published as a record to the AusUDID

- We refers to the Therapeutic Goods Administration.

## Purpose of this document

We have created this Implementation Specification to assist you in implementing the HL7 SPL data submission and messaging standard for the Australian UDI Database (AusUDID).

This user guide is part of a suite of documents that support the sponsors and manufacturers (or their Third Party Data Providers) who will supply data to the AusUDID via HL7 SPL.

We have created this suite of documents to help you:

- comply with UDI requirements

- understand the IT requirements of the AusUDID

- submit and verify UDI records in the AusUDID.

We have explained the suite of documents in the table below:

| Document | Australian UDI Data Dictionary | User Guide | Implementation Specification | Code List | Sample HL7 XML Message |
| --- | --- | --- | --- | --- | --- |
| Purpose | Reference listing of all Australian UDI data elements including: data element names descriptions validation rules Grace Period rules permitted values other useful metadata. | Overview of: UDI concepts AusUDID submission channels, roles and environments Data management rules M2M workflow API Management Portal Provisioning security credentials Testing scenarios – conformance. | Detailed instructions of: Versioning Creating UDI records Maintaining data Schema and data attribute specifications. | Reference listing of codes and elements. | Series of sample HL7 XML messages for data submission and notifications (success and failure), including message annotations explaining the data attributes and intended purpose. |
| Audience | Sponsors Manufacturers Agents Third Party Data Providers Regulatory teams Software development and support teams. | Sponsors Manufacturers Third Party Data Providers Agents Software development and support teams. | Software development and support teams. | Software development and support teams. | Software development and support teams. |
| Assumed Knowledge | UDI concepts Australian regulations. | TBS Portal including access provisioning and/or understanding of Oauth 2.0 authentication framework. | HL7 SPL messaging protocols and system integration architecture patterns using XML schemas. | HL7 SPL messaging protocols and system integration architecture patterns using XML schemas. | HL7 SPL messaging protocols and system integration architecture patterns using XML schemas. |

## Symbols and concepts used in this document

### Callout boxes

|  | - Items that need your attention are shown by a callout box. Callout boxes have an exclamation mark showing their importance. |
| --- | --- |

### XML components

When we refer to XML components, for example elements or attributes, versus the concept – this is shown with the following symbolisation:

XML elements and attributes:

In text: bold, italicised text in Camel case, for example ContextOfUse

Within XML: shown as noted in XML snippets

Concept without attribution to the model or message:

Plain text with the first letter capitalised as it is a defined concept, for example Unit of Use.

### XML snippets

We have used colour coding in the XML snippets to illustrate their meaning. The table below explains this.

Legend for XML snippets

| Text colour | Description sample |
| --- | --- |
| Teal | Schema components <?xml version “1.0” encoding=”UTF-8”?> |
| Blue | XML notations < ….= “”> |
| Brown | XML element id code |
| Red | XML attribute root extension |
| Blue | Value of the element or attribute 2.16.840.1.113883 |

|  | - XML editors may display these XML components differently. You can use the legend above to understand XML presented in this document. |
| --- | --- |

### Required schema attributes

The AusUDID HL7 SPL message contains attributes that are not fixed values to provide for future extensibility of the schema. When you submit an AusUDID HL7 SPL submission, you need to send these attributes with the value as specified in this document. We have specifically stated all schema attributes for each element, when required.

For example:

The manufacturedProduct@classCode value must be equal to ‘MANU’ to pass schema validation. Any other value in this field may cause the schema validation to fail.

In the example above, the value for the classCode attribute should be ‘MANU’. In the future, this may be fixed in the schema, but for increased extensibility of the schema, it has not been constrained any further.

### XML elements table

We have provided a table for each element in the XML message.

When elements have multiple element parts of attributes, they are provided in one table.

Where there are no attributes or values for an element, the cell is greyed out to indicate that no value is required in the XML message.

#### Sample XML element table

Table Name: <element>

| Element | Attribute | Cardinality | Value(s) Allowed Examples | Description Instructions |
| --- | --- | --- | --- | --- |
|  | XPATH: |  |  |  |
| Business Rules |  |  |  |  |

Table Name: Each table is named for the elements it is representing in the XML – i.e. <element> or <element 2>.

Element: Identifies the XML element.

Attribute: Identifies the XML attribute.

Cardinality: Provides information on how many times the element/attribute can be repeated in the XML message.

Value(s) Allowed/Examples: Identifies the values allowed using simple data types and any associated examples. References to controlled vocabulary will also be provided.

Description/Instructions: Provides a description of the element or attribute.

XPATH: Identifies the location of the data element or attribute in the XML.

Business Rules: Identifies any business rules that are in place for AusUDID.

# Unique Device Identification (UDI)

The Australian Government is strengthening patient safety by introducing the Australian UDI system for medical devices.

The UDI system supports the identification of medical devices and other medical device reforms. It is designed to improve the effectiveness of the regulatory framework, including management of post-market safety-related activities such as recalls.

By introducing a UDI system, Australia joins a globally harmonised approach that enables more accurate identification of medical devices.

## Unique Device Identifiers

For detailed information about Australia’s UDI system and unique device identifiers, refer to the UDI Hub.

## Australian UDI Database (AusUDID)

We have established the AusUDID as the repository for UDI-DIs and related data in Australia. The AusUDID stores the UDI-DI and related information for most medical devices and in vitro diagnostic (IVD) devices supplied in Australia. UDIs can help to improve tracking and traceability of medical devices supplied in Australia.

There are 2 environments for the AusUDID:

AusUDID Production

AusUDID Pre-Production.

There are 4 data submission methods supported by the AusUDID:

AusUDID Online Portal

Bulk Upload via Microsoft Excel Template

Machine to Machine via HL7 SPL

Machine to Machine via GS1’s National Product Catalogue.

### AusUDID Pre-Production

The AusUDID Pre-Production environment is a test and training environment for medical device sponsors and manufacturers. As the information in the AusUDID Pre-Production environment is testing and training data, patients, consumers, healthcare and the general public do not use the data stored in this database.

It operates alongside the AusUDID Production environment, serving as an environment for sponsors and manufacturers to:

familiarise themselves with the AusUDID

test their respective data submission methods prior to submitting live data to the AusUDID.

Data submitted to the AusUDID Pre-Production environment is not transferred to the AusUDID Production environment.

### AusUDID Production

The AusUDID Production environment is the live database for medical device sponsors and manufacturers to submit live, accurate data to meet UDI requirements.

## The AusUDID API Portal

The AusUDID API Portal:

Enables the TGA to process submissions automatically

Functions as a single point of entry for the receipt and processing of all electronic submissions in a secure environment that complies with messaging standards.

Access to the TGA API Portal is described in the document Machine to Machine HL7 SPL User Guide.

If you are authorised, the HL7 message will be sent to the AusUDID API for processing and will generate either a success message or error message.

If you are not authorised to use the HL7 SPL channel, for example if you are not registered or your Client ID and Secret is incorrect, you will receive a HL7 SPL gateway error.

If you do not receive an acknowledgement, you must contact the UDI Support Team at UDI@health.gov.au including the message identifier and the UDI-DI of the respective UDI record.

# AusUDID HL7 SPL submission

AusUDID uses HL7 SPL Draft Standard for Trial Use (DSTU) Release 5 along with standard vocabularies.

## Pre-requisites

If you choose HL7 SPL to submit UDI records to AusUDID Production, you must first complete testing in AusUDID Pre-Production.

Testing in Pre-Production helps to identify data issues early and prevent submission of inaccurate or low quality data to the AusUDID Production environment.

We have provided testing requirements in the document Machine to Machine HL7 SPL Channel User Guide.

## Versioning HL7 SPL submissions

An AusUDID HL7 SPL submission contains only one UDI record to optimise the processing of submissions.

The initial UDI record submission establishes a UDI record in the AusUDID.

After initial submission, any updates must include the entire UDI record – i.e. the AusUDID message does not contain partial UDI records or individual changes to a prior submission. Each time the submission is received, all business rules will be executed on the contents of the HL7 SPL submission.

A sponsor will only provide their own sponsor data in the message. i.e. if a UDI record already has Sponsor A’s ARTG data associated with it, Sponsor B will not include Sponsor A’s ARTG ID or related data in the message.

The AusUDID HL7 SPL submission contains document information for the message that allows the AusUDID system to link the initial submission to any subsequent updates. All submissions must include a setId and versionNumber in accordance with the following rules:

The setId indicates the group of submissions that are related

Updates to a UDI record typically use the same setId value provided in the initial submission

An organisation may reset the setId (send a new setId). The versionNumber must be restarted at 1

If the setId is changed, the old setId will be made inactive. Attempting to reuse it will result in the submission being rejected

For subsequent transmissions, the versionNumber must be incremented by 1. This ensures that the setId and versionNumber are unique and that submissions are processed in the correct order and prevents older versions from overwriting newer versions

Organisations must maintain setId and versionNumber to submit updates to the UDI record

Once the UDI record has been published, the UDI record Publish Date cannot be changed. For UDI record edits after the UDI record is published, you must still provide a current UDI record Publish Date as this is a required field. However, the original submitted Publish Date will not be changed in the UDI record. See 5.1.3, UDI record Publish Date for more information.

## Updating UDI records

|  | UDI records that you create through the HL7 SPL submission method should not be updated by any other submission option when the UDI record is in the Grace Period, or UDI record status is ‘Unpublished’ as this may cause unexpected synchronisation issues during future updates. |
| --- | --- |

If you wish to update a UDI record that you originally created in the online portal using HL7 SPL, you need to assign a new setId and a new version number. This is because the UDI record will not have either of these values associated with it. We recommend testing this in the AusUDID Pre-Production environment before applying updates in AusUDID Production environment.

The system will update the entire UDI record with the new version if all business rules are passed (i.e. any changes must comply with all business rules before, during or after the Grace Period). The Grace Period is a set time frame that begins once you have published your initial version of the UDI record. During this time, you can make changes to any data element. The purpose of the Grace Period is to allow you fix errors in the UDI record due to data entry errors or technical issues.

The length of the Grace Period is subject to change as we introduce UDI and the AusUDID. You can find the current length of the Grace Period on the UDI Hub, or when updating or correcting a UDI record.

Grace Period does not apply – i.e. an unpublished UDI record with future UDI record Publish Date – the system will update the existing UDI record if the submitted changes meet all business rules. There are no restrictions on changing values for any data elements.

During the Grace Period – i.e. a published UDI record with current UDI record Publish Date and during the Grace Period – the system will update the existing UDI record if the submitted changes meet all business rules.

After the Grace Period – i.e. a published UDI record that was published and the Grace Period has passed the system will update the existing UDI record if the submitted changes meet all business rules. Changes related to UDI Trigger data elements will be rejected unless a correction request is made via the AusUDID Online portal.

Refer to Correcting UDI records for more information on correction requests.

## Correcting UDI records

When a UDI record is first submitted and published, the UDI record starts the ‘Grace Period’. During the Grace Period, all UDI record data elements (except the UDI record Publish Date, Device Manufacturer and Primary DI) may be edited. The Grace Period gives organisations a short period to review and correct their data whilst bypassing the UDI Trigger and other rules. After the Grace Period passes, UDI record edits are restricted, specifically, edits to the UDI Trigger data elements are not allowed.

When a device is associated with Multiple Sponsors, a correction must be used to change any of the common device data elements. A sponsor can change their own sponsor data without the use of a correction.

Refer to the Australian UDI Data Dictionary for more information on which data elements are UDI Triggers, and details of which data elements may be edited during or after the Grace Period.

Data correction, including corrections to the UDI Trigger data elements, is necessary to ensure quality device identification information is available to healthcare and the public. AusUDID supports corrections to a UDI record with the reason for the correction captured in update logs.

|  | Do not use the ‘Request a Correction’ function to submit edits to UDI records if the changes require the assignment of a new UDI-DI. When a new UDI-DI is assigned, you must submit a new UDI record in the AusUDID. |
| --- | --- |

Corrections can be submitted via the M2M HL7 SPL using the specific AU1002 correction code.

Alternatively, you can pre-file a correction request via the AusUDID Online Portal and then use the standard C101716 submission create/vary code which will be converted to a correction.

The pre-filed correction request is a one-time use, and further corrections will require a new request to be filed.

Any Published UDI record that has passed Grace Period (i.e. after-grace-period) can have a correction request.

A single UDI record or multiple UDI records may be selected at any given time for a correction request.

Corrections can be made within 5 calendar days (starting the day the correction request is made).

All data elements except the UDI record Publish Date, Device Manufacturer and Primary DI can be edited as part of a correction.

When the device is associated with Multiple Sponsors, a correction is required to change any common data elements.

Corrections can be submitted through the AusUDID Online Portal, M2M via National Product Catalogue, or M2M HL7 SPL.

Updates submitted using M2M HL7 SPL must follow the versioning rules. UDI records created or previously modified using M2M HL7 SPL should not be updated through the AusUDID Online portal as this may cause unexpected errors or issues during future updates.

The correction request will be removed upon successful processing of the submitted correction (or after completion of the 5-calendar day period, whichever is earlier).

All prior published versions of a given UDI record will remain accessible through the AusUDID Online Portal as device record history to public users.

# Essential components of the HL7 SPL submission

Essential components of the AusUDID HL7 SPL specification includes:

Controlled Vocabulary

Object Identifiers (OIDs) and Universally Unique Identifiers (UUIDS)

Data Types

AusUDID HL7 SPL XML Schema

AusUDID HL7 SPL XML Message.

|  | The schema does not include the business rules that need to be dynamic in the process. The business rules outlined in the subsequent sections should be handled by any system generating the XML message. |
| --- | --- |

## Controlled vocabulary

AusUDID makes extensive use of controlled vocabularies. The information in the following sub-sections will outline the controlled vocabulary used to implement HL7 SPL for AusUDID. There are several different authoritative sources for the controlled vocabulary, which include TGA, Unified Code of Units of Measure (UCUM) and the Global Medical Device Nomenclature (GMDN). All controlled vocabulary is provided in a separate XML file.

|  | The controlled vocabulary required by the HL7 SPL standard enables system to system communications and is not always the ideal way to display concepts in a system graphical interface (GUI). Be cautious not to apply the technical codes in the GUI, instead use the business friendly terms. |
| --- | --- |

## OIDs and UUIDs

There are 2 types of unique identifiers:

Object Identifiers (OIDs)

Universally Unique Identifiers (UUIDs).

### Object identifiers

An OID is a sequence of numbers that uniquely identify an object and represent a hierarchically assigned namespace. OIDs are formally defined using the International Telecommunications Union ASN.1 standard. OIDS are represented as follows:

Example – An OID is a string of digits separated by periods: 2.16.840.1.113883

The list of named branches is as follows: {joint-iso-itu-t(2) country(16) us(840) organization(1) hl7(113883)}.

In the AusUDID HL7 SPL submission, OIDs will be used to provide the codeSystem value for each element that requires a code. Each required element with a code will indicate when an OID should be provided. For example, the XML Snippet below illustrates the code element with a code (C101716 is the code value for a AusUDID Submission) and codeSystem (2.16.840.1.113883.3.26.1.1 is the OID for the NCI Thesaurus code system):

<code code="C101716" codeSystem="2.16.840.1.113883.3.26.1.1"/>

For specific OIDs used in the AusUDID implementation, refer to the AusUDID Code List document which is part of the AusUDID HL7 SPL Implementation package of files.

### Universally Unique Identifiers

A UUID is a hexadecimal number in the form of 8-4-4-4-12, including 32 characters and 4 hyphens. UUIDs are formally defined by ISO/IEC 11578:1996 and ITU-T Rec X.667 | ISO/IEC 9834-8:2005. UUIDs are represented as follows:

String of characters separated by hyphens: 36589652-7894-6589-3256-321852697531

In the AusUDID HL7 SPL Submission, UUIDs will be used for any instance identifier root attribute value. Each required element with an identifier (e.g. id or code) will indicate when a UUID should be provided. For example, the XML Snippet below illustrates the id@root attribute for the SPL Submission that includes a globally unique value (760ae98c-eada-4678-90f4-fe97232292ce) for an identifier – e.g. document identifier:

<id root="760ae98c-eada-4678-90f4-fe97232292ce"/>

## Data types

To provide all information required in the HL7 SPL message, the data types are represented as additional elements and attributes in the XML. The data type for the elements and attributes are as follows:

Alpha: allowing only alpha characters to be used in a string.

Alphanumeric: allowing alpha, numeric and special characters to be used in a string. XML should follow W3C standards for alphanumeric values.

Special Characters: When adding special characters to AusUDID HL7 SPL XML submissions, you need to use decimal or hex forms of the ISO Latin codes. More information can be found here: http://www.w3schools.com/charsets/ref_html_utf8.asp. We recommend you fully test the special characters you plan to submit before submitting it in the Production environment. For a list of special characters that are tested and will be accepted as part of AusUDID UDI record submissions, please refer to the AusUDID Code List document which is part of the AusUDID HL7 SPL Implementation package of files. The comments column highlights exceptions.

Numeric: only allows numeric characters (e.g. 0 through 9) to be used in a string for integers and real numbers.

Boolean: allows a true or false value.

nullFlavors: used when required values need to be left blank. Null flavors are based on HL7 Messaging standard.

## AusUDID HL7 SPL XML schema

The HL7 SPL XML Schema will be provided as a flattened schema file with all the necessary schema files for AusUDID implementation.

## AusUDID HL7 SPL XML message

The following AusUDID HL7 SPL message components are based on HL7 Version 3 SPL DSTU Release 5. The information for each element is provided in discrete sections. The following table provides a breakdown of the SPL XML structure with the relevant elements presented in this document.

XML Structure

The XML starts with administrative information about the XML file, including the XML version and encoding found in the XML. The Document element contains information about the AusUDID UDI Record and relates to the author.assignedEntity, which provides information about the submitting organisation.

<?xml version="1.0" encoding="UTF-8"?> <document xmlns="urn:hl7-org:v3" xmlns:xsi="http://www.w3.org/2001/XMLSchema-instance" xsi:schemaLocation="urn:hl7-org:v3 ../SPL.xsd"> <id root="80c7aca6-9307-4722-aa63-c40ef1fd6f36"/> <code code="C101716" codeSystem="2.16.840.1.113883.3.26.1.1"/> <effectiveTime xsi:type="TS" value="20120531"/> <setId root="57863671-1527-4e51-b26b-3065a868d949"/> <versionNumber value="1"/> <author> <assignedEntity> <representedOrganization> <assignedEntity1> <code code=""/> <representedOrganization> </representedOrganization> </assignedEntity1> </representedOrganization> </assignedEntity> </author>

StructuredBody contains the product information for a UDI record. ManufacturedProduct element contains the key information about the medical device. AsIdentifiedEntity elements contain information about the device’s model/version number, approval to supply, supporting documents and any other identifying value that may not be globally unique. (Note: this element can be repeated as many times as necessary.) AsSpecializedKind elements contain information about the classification of the medical device and the GMDN code. (Note: this element can be repeated as many times as necessary.) asEquivalentEntity elements contain information about the medical device that are considered alternative identifiers to the Primary DI. This includes Secondary DI, Direct Marked DI and unit-of-use DI values. (Note: this XML element can be repeated as many times as necessary, but the cardinality of each data element requires conformance – e.g. you can only provide one direct marking or unit-of-use device identifier.) asContent elements contain information about the base packaging, device count and any packaging configurations (and their DI). (Note: the containerPackagedProduct element can be repeated as many times as necessary.) subjectOf elements contain one of the following types of data: production information characteristics and device characteristics such as Sterilisation methods and Clinical Sizes.

<component> <structuredBody> <component> <section> <subject> <manufacturedProduct> <manufacturedProduct> <code></code> <name></name> <desc></desc> <asIdentifiedEntity> <id></id> <code></code> <assigningOrganization> <id></id> </assigningOrganization> <subjectOf> <document> <id></id> <code></code> <effectiveTime> <low /> <high /> </effectiveTime> </document> </subjectOf> </asIdentifiedEntity> <asSpecializedKind> <generalizedMaterialKind> <code></code> </generalizedMaterialKind> </asSpecializedKind> <asEquivalentEntity> <code></code> <definingMaterialKind> <code></code> </definingMaterialKind> </asEquivalentEntity> <asContent> <quantity> <numerator></numerator> <denominator></denominator> </quantity> <containerPackagedProduct> <code></code> <name></name> <capacityQuantity></capacityQuantity> <asManufacturedProduct> <subjectOf> <marketingAct> <effectiveTime></effectiveTime> </marketingAct> </subjectOf> </asManufacturedProduct> </containerPackagedProduct> </asContent> </manufacturedProduct> <subjectOf> <characteristic> <code></code> <value xsi:type="CD"></value> </characteristic> </subjectOf> </manufacturedProduct> </subject> </section> </component> </structuredBody> </component> </document>

## HL7 element - displayName

DisplayName is optional in all cases where it is shown. It is provided only to allow the message to be more easily understood if it is being viewed by a person.

It does not need to be included in the M2M HL7 submission.

# AusUDID HL7 SPL submission

The following section outlines the implementation specific rules for creating an AusUDID HL7 SPL submission that will be compliant with the AusUDID HL7 SPL schema and AusUDID business rules. The content is organised by the order of the elements as they appear in the XML file, see AusUDID HL7 SPL XML message.

## SPL document

The document element includes specific information about the AusUDID HL7 SPL submission, to include required schema attributes (e.g. xmlns, xmlns:xsi and xsi:schemaLocation), a unique identifier of the SPL submission (id@root), a document type code to indicate that the HL SPL submission is a AusUDID submission, the publish date of the UDI record, and a versioning set identifier and version number to maintain the AusUDID submission over time. Additional details on the following XML elements are provided below – document.id, document.code, document.code.translation, document.effectiveTime, setId and versionNumber.

The following is an example of the XML section related to the AusUDID Submission information:

### AusUDID submission Identifier (document.id)

| Element | Attribute | Cardinality |  |  | Value(s) Allowed Examples | Description Instructions |
| --- | --- | --- | --- | --- | --- | --- |
| id |  | 1..1 |  |  |  | This is the container element for the AusUDID submission identifier. |
|  | Root | 1..1 |  |  | UUID | This is a globally unique identifier for the AusUDID submission. |
|  |  |  | XPATH: /document/id/@root |  |  |  |
| Business Rules | - The id@root should always be globally unique. Do not reuse document identifiers even if resending a submission after a submission failure. |  |  |  |  |  |

### Types of submission (document.code)

The document.code indicates the type of HL7 SPL submission. AusUDID allows 2 values, C101716 to indicate the UDI record is being created or varied, and AU1002 to indicate the UDI record is being corrected.

#### Submission – create or vary (document.code)

| Element | Attribute | Cardinality | Value(s) Allowed Examples | Description Instructions |
| --- | --- | --- | --- | --- |
| Code |  | 1..1 |  | This is the container element for the type of AusUDID submission. |
|  | Code | 1..1 | Alphanumeric C101716 | This is the code for the type of document being sent via the XML Message. |
|  | XPATH: /document/code/@code |  |  |  |
|  | codeSystem | 1..1 | OID 2.16.840.1.113883.3. 26.1.1 | This is the unique identifier for the codeSystem associated with the code attribute. |
|  | XPATH: /document/code[@code=”C101716”]/@codeSystem |  |  |  |
| Business Rules | - There must be one and only one code attribute for “C101716” or “AU1002” - The code attribute must have the value of “C101716” for Vary message - If the value is different, or missing, or both codes exist, or are given more than once, the AusUDID submission will be rejected as a submission with an invalid document code - No other processing or validation will be completed if there is an invalid document code. |  |  |  |

#### Submission – correction

| Element | Attribute | Cardinality | Value(s) Allowed Examples | Description Instructions |
| --- | --- | --- | --- | --- |
| Code |  | 1..1 |  | This is the container element for the type of AusUDID submission. |
|  | Code | 1..1 | Alphanumeric AU1002 | This is the code for the type of document being sent via the XML Message. |
|  | XPATH: /document/code/@code |  |  |  |
|  | codeSystem | 1..1 | OID 1.2.36.1.2001.1005.85 | This is the unique identifier for the codeSystem associated with the code attribute. |
|  | XPATH: /document/code[@code=”AU1002”]/@codeSystem |  |  |  |
| Business Rules | - There must be one and only one code attribute for “C101716” or “AU1002” - The code attribute must have the value of “AU1002” for Correction - If the value is different, or missing, or both codes exist, or are given more than once, the AusUDID submission will be rejected as a submission with an invalid document code - No other processing or validation will be completed if there is an invalid document code. |  |  |  |

##### Translation – use a correction reason code (document.code.translation)

| Element | Attribute | Cardinality | Value(s) Allowed Examples | Description Instructions |
| --- | --- | --- | --- | --- |
| Translation |  | 1..1 |  | This is the container element for the type of AusUDID submission. |
|  | Code | 1..1 | Alphanumeric AU1031 AU1032 AU1034 | This is the code for the reason for this correction message. |
|  | XPATH: /document/code[@code="AU1002”]/translation/@code |  |  |  |
| Business Rules | - Translation element code or originalText is required if document/code [@code="AU1002”] - The value must be one of the allowed values: - AU1031 - AU1032 - AU1034 - See the M2M HL7 SPL - SPL Code List - AusUDID for a definition and when to use these codes - If the value is missing, or both code and originalText is given, or are given more than once, the AusUDID submission will be rejected as a submission with an invalid translation code. |  |  |  |

##### Translation – use a free text correction reason (document.code.translation)

| Element | Attribute | Cardinality | Value(s) Allowed Examples | Description Instructions |
| --- | --- | --- | --- | --- |
| originalText |  | 0..1 |  | This is the container element for the type of AusUDID submission. |
|  |  | 1..1 | Alphanumeric E.g. Free text reason for correction | This is a free text reason for the correction, where one of the coded reasons is not suitable. |
|  | XPATH: /document/code[@code="AU1002”]/translation/originalText/text() |  |  |  |
| Business Rules | - Translation element code or originalText is required if document/code [@code="AU1002”] - The reason provided must be no more than 80 characters and length and can only contain accepted special characters. Refer to Data types and the M2M HL7 SPL - SPL Code List – AusUDID for a list of accepted special characters. - If the value is missing, or both code and originalText is given, or are given more than once, the AusUDID submission will be rejected as a submission with an invalid translation code. |  |  |  |

### Device Identifier (DI) record publish date (document.effectiveTime)

The UDI record Publish date indicates the date the UDI record can be published and made available via public search. The following XML snippet includes the elements and attributes required for the UDI record Publish date:

#### DI record publish date (document.effectiveTime)

| Element | Attribute | Cardinality | Value(s) Allowed Examples | Description Instructions |
| --- | --- | --- | --- | --- |
| effectiveTime |  | 1..1 |  | This is the container element for the UDI record Publish Date |
|  | xsi:type | 1..1 | Timestamp TS | The xsi:type indicates the data type for the element. |
|  | XPATH: /document/effectiveTime/@xsi:type |  |  |  |
|  | Value | 1..1 | Date Format YYYYMMDD e.g. “20111016” | This is the publish date value for the UDI record. |
|  | XPATH: /document/effectiveTime/@value |  |  |  |
| Business Rules | - The date must follow the format YYYYMMDD - The date may be a past, current or future date. It would normally be the current date for immediate publishing, or a future date - If the value is missing, invalid, or given more than once, the AusUDID submission will be rejected as a submission with an invalid UDI record Publish Date - If the date is in the past or is the current date, the UDI record will be published immediately - If the date is in the past, the UDI record publish date will be the date AusUDID receives the UDI record. |  |  |  |

### AusUDID submission versioning set identifier (document.setId)

| Element | Attribute | Cardinality | Value(s) Allowed Examples | Description Instructions |
| --- | --- | --- | --- | --- |
| setId |  | 1..1 |  | This is the container element for the versioning set identifier. |
|  | Root | 1..1 | UUID | This is the unique identifier used to track a document and its versions. |
|  | XPATH: /document/setId/@root |  |  |  |
| Business Rules | - The setId element is the attribute used to keep updates linked to the initial UDI submission. This value will be unique for a UDI record - For initial AusUDID submissions the setId must be unique; if the setId is already in the system, the submission will be rejected - For all submission updates, before or after the Grace Period, the setId should already be in the system for the Primary DI and should be used with the versionNumber incremented by one - An organisation may change the setId. The versionNumber must be restarted at 1 and the old setId will be made inactive - A setId cannot be used after it has been made inactive - For first time edits to UDI records initially entered via a different channel, provide a new setId since other channels will not have a setId - If the setId is missing, invalid, given more than once, not unique (exists for another organisation or another UDI record), or has been marked as inactive, the AusUDID submission will be rejected as a submission with an invalid setId. |  |  |  |

### AusUDID submission version number (document.versionNumber)

| Element | Attribute | Cardinality | Value(s) Allowed Examples | Description Instructions |
| --- | --- | --- | --- | --- |
| versionNumber |  | 1..1 |  | This is the container element for the AusUDID submission version number. |
|  | Value | 1..1 | Integer e.g. 1, 2, 3 | The value attribute provides the version of document that is being sent in the message. |
|  | XPATH: /document/versionNumber/@value |  |  |  |
| Business Rules | - The value attribute should increment by one for each update - A versionNumber cannot be incremented for an inactive setId - For first time edits to UDI records initially entered via a different channel, provide a new versionNumber since other channels will not have a versionNumber - The combination of setId and versionNumber shall be unique for the UDI record (i.e. for that Primary DI, the combination should not already exist in the database) - See Versioning HL7 SPL submissions for more information - If the versionNumber is missing, invalid, given more than once, not 1 for a new setId, is not 1 more than the stored versionNumber, the AusUDID submission will be rejected as a submission with an invalid versionNumber. |  |  |  |

## Submitter

Device information can be submitted to the AusUDID by Manufacturers, Sponsors, Agents or third parties. Each AusUDID HL7 SPL xml submission must indicate the author of the document, i.e. the document sender.

Note: AusUDID does not use DUNS numbers.

Labeller as the sender of the HL7 SPL xml submission – used by the Manufacturer and must provide the TGA Business Services (TBS) Organisation number for the Manufacturer.

Sponsor as sender of the HL7 SPL xml submission – used by the Sponsor and must provide the TBS Organisation number for the Sponsor.

Agent as sender of the HL7 SPL xml submission – used by an organisation registered as an Agent within TBS and must provide the TBS Organisation number for the Agent.

A Third Party Data Provider who is not registered in TBS as an Agent must provide the TBS Organisation number for the Sponsor or Manufacturer on whose behalf they are providing the data.

|  | Prior to submitting data to AusUDID, you should organise, collect and validate your data. |
| --- | --- |

During HL7 SPL submission processing, the “sender” is authenticated via the API keys that accompany the message, i.e. the “sender” and the API subscription keys must be for the same organisation.

If the sender organisation does not match the API subscription keys, or is not associated to the AusUDID account, i.e. the Manufacturer, Sponsor or Agent Organisation number is not associated to the account, the entire submission will be rejected. The error message will state that that the submitter is not authorised to send AusUDID submissions for the Organisation.

### Manufacturer organisation (author.assignedEntity.representedOrganization)

The following XML Snippet includes the elements and attributes required for the Manufacturer:

#### Manufacturer (assignedEntity1.code)

| Element | Attribute | Cardinality | Value(s) Allowed Examples | Description Instructions |
| --- | --- | --- | --- | --- |
| Code |  | 1..1 |  | The code element is the container for the identification of the type of submitter for the AusUDID submission. |
|  | Code | 1..1 | Alphanumeric C101684 | This is the code for the type of submitter for a AusUDID submission, in this case, the Manufacturer Organisation. |
|  | XPATH: /document/author/assignedEntity/representedOrganization/assignedEntity1/code[@code="C101684"] |  |  |  |
|  | codeSystem | 1..1 | OID 2.16.840.1.113883. 3.26.1.1 | This is the unique identifier for the codeSystem associated with the code attribute. |
|  | XPATH: /document/author/assignedEntity/representedOrganization/assignedEntity1/code[@code="C101684"]/@codeSystem |  |  |  |
| Business Rules | - One and only one representedOrganization is required - The code must be one of the allowed values: - C101684 - AU1000 - AU1001 - C101710 - The code attribute must have the value of “C101684” if the submitter is the Manufacturer Organisation. See Sponsor organisation if the sender is a Sponsor, or Agent organisation if the sender is an Agent - If the value is missing, or given more than once, the AusUDID submission will be rejected as a submission with an invalid Submitter - Note: no other processing or validation will be completed if there is an invalid Submitter. |  |  |  |

### Sponsor organisation

The following XML Snippet includes the elements and attributes required for the Sponsor:

#### Sponsor (assignedEntity1.code)

| Element | Attribute | Cardinality | Value(s) Allowed Examples | Description Instructions |
| --- | --- | --- | --- | --- |
| Code |  | 1..1 |  | The code element is the container for the identification of the type of submitter for the AusUDID submission. |
|  | Code | 1..1 | Alphanumeric AU1000 | This is the code for the type of submitter for a AusUDID submission, in this case, the Sponsor Organisation. |
|  | XPATH: /document/author/assignedEntity/representedOrganization/assignedEntity1/code[@code="AU1000"] |  |  |  |
|  | codeSystem | 1..1 | OID 1.2.36.1.2001.1005.85 | This is the unique identifier for the codeSystem associated with the code attribute. |
|  | XPATH: /document/author/assignedEntity/representedOrganization/assignedEntity1/code[@code=”AU1000”]/@codeSystem |  |  |  |
| Business Rules | - One and only one representedOrganization is required - The code must be one of the allowed values: - C101684 - AU1000 - AU1001 - C101710 - The code attribute must have the value of “AU1000” if the submitter is the Sponsor Organisation. See Section Manufacturer organisation (author.assignedEntity.representedOrganization) if the sender is a Manufacturer, or Agent organisation if the sender is an Agent - If the value is missing, or given more than once, the AusUDID submission will be rejected as a submission with an invalid Submitter - Note: no other processing or validation will be completed if there is an invalid Submitter. |  |  |  |

### Agent organisation

The following XML Snippet includes the elements and attributes required for the Agent:

#### Agent (assignedEntity1.code)

| Element | Attribute | Cardinality | Value(s) Allowed Examples | Description Instructions |
| --- | --- | --- | --- | --- |
| Code |  | 1..1 |  | The code element is the container for the identification of the type of submitter for the AusUDID submission. |
|  | Code | 1..1 | Alphanumeric AU1001 | This is the code for the type of submitter for a AusUDID submission, in this case, the Agent Organisation. |
|  | XPATH: /document/author/assignedEntity/representedOrganization/assignedEntity1/code[@code="AU1001"] |  |  |  |
|  | codeSystem | 1..1 | OID 1.2.36.1.2001.1005.85 | This is the unique identifier for the codeSystem associated with the code attribute. |
|  | XPATH: /document/author/assignedEntity/representedOrganization/assignedEntity1/code[@code="AU1001"]/@codeSystem |  |  |  |
| Business Rules | - One and only one representedOrganization is required - The code must be one of the allowed values - C101684 - AU1000 - AU1001 - C101710 - The code attribute must have the value of “AU1001” if the submitter is the Agent Organisation. See Manufacturer organisation (author.assignedEntity.representedOrganization) if the sender is a Manufacturer, or see Sponsor organisation if the sender is a Sponsor - If the value is missing, or given more than once, the AusUDID submission will be rejected as a submission with an invalid Submitter - Note: no other processing or validation will be completed if there is an invalid Submitter. |  |  |  |

### Third Party Data Provider

The following XML Snippet includes the elements and attributes required for the Third Party Data Provider:

#### Third Party Data Provider (assignedEntity1.code)

| Element | Attribute | Cardinality | Value(s) Allowed Examples | Description Instructions |
| --- | --- | --- | --- | --- |
| Code |  | 1..1 |  | The code element is the container for the identification of the type of submitter for the AusUDID submission. |
|  | Code | 1..1 | Alphanumeric C101710 | This is the code for the type of submitter for a AusUDID submission, in this case, the Third Party Data Provider. |
|  | XPATH: /document/author/assignedEntity/representedOrganization/assignedEntity1/code[@code="C101710"] |  |  |  |
|  | codeSystem | 1..1 | OID 2.16.840.1.113883. 3.26.1.1 | This is the unique identifier for the codeSystem associated with the code attribute. |
|  | XPATH: /document/author/assignedEntity/representedOrganization/assignedEntity1/code[@code="C101710"]/@codeSystem |  |  |  |
| Business Rules | - One and only one representedOrganization is required - The code must be one of the allowed values: - C101684 - AU1000 - AU1001 - C101710 - The code attribute must have the value of “C101710” if the submitter is a Third Party Data Provider. See Sponsor organisation if the sender is a Sponsor, or Manufacturer organisation (author.assignedEntity.representedOrganization) if the sender is a Manufacturer - If the value is missing, or given more than once, the AusUDID submission will be rejected as a submission with an invalid Submitter - No other processing or validation will be completed if there is an invalid Submitter. |  |  |  |

### TGA organisation number (assignedEntity1.representedOrganization.id)

| Element | Attribute | Cardinality | Value(s) Allowed Examples | Description Instructions |
| --- | --- | --- | --- | --- |
| Id |  | 1..1 |  | The id element is the container element for the TGA Organisation associated with the submitter of the AusUDID Submission. |
|  | Root | 1..1 | TGA OID 1.2.36.1.2001.1005.84 | This is the OID for TGA Organisations. |
|  | XPATH: /document/author/assignedEntity/representedOrganization/assignedEntity1/representedOrganization/id/@root |  |  |  |
|  | Extension | 1..1 | Organisation Number e.g. 12345 | This is the assigned TGA Organisation number. |
|  | XPATH: /document/author/assignedEntity/representedOrganization/assignedEntity1/representedOrganization/id/@extension |  |  |  |
| Business Rules | - The root attribute should provide the TGA OID - The extension attribute should provide a value for the TGA Organisation number - The id@extension will be used to pull the Organisation Name from the TGA stakeholder management system - If the submitter is a Manufacturer, the Organisation number provided here must match the Manufacturer ID - If the submitter is a Sponsor, the Organisation number provided here must match the Sponsor ID - If the submitter is an Agent, the Agent must be an Agent for either the Manufacturer or Sponsor If the submitter is an Agent, the Agent number provided here will be checked against the Manufacturer ID and Sponsor ID. See Manufacturer (manufacturerOrganization.id) for Manufacturer ID of the medical device, i.e. the manufacturer associated to the UDI record. Sponsor (asIdentifiedEntity.assigningOrganization.id) for Sponsor ID for the medical device, i.e. the sponsor associated to the UDI record. In this case, the Submitter must be an Agent for either the Manufacturer or Sponsor - If the submitter is a Third Party Data Provider, use the organisation number for the organisation on whose behalf you are providing the data - If the submitter value is missing, or given more than once, the AusUDID submission will be rejected as a submission with an invalid Submitter - No other processing or validation will be completed if there is an invalid Submitter - Must be a valid TBS organisation number (without leading zeroes) |  |  |  |

## Device information

The device information in the manufactured product element includes the following: the Primary DI, brand name, device description, model or version number, catalogue number, approval to supply, device class, GMDN Preferred Term code, manufacturer, alternative identifiers (Unit of Use, Direct Marking, Secondary DIs), base package device count and package configurations. This section includes all device information listed above in the relative order that it should appear.

Note: that some elements can be serialised (repeated) and the order in the XML is not strictly defined. The elements that fit in this category are as follows:

Identified Entity – includes how the Manufacturer may identify a medical device – e.g. model or version number and catalogue number, and the Sponsor approval to supply details

Specialized Kind – includes device class, and GMDN Preferred Term Code

Equivalent Entity – includes all device identifiers that are of equivalent representation of a medical device – e.g. Unit of Use DI, Direct Marked DI, and Secondary DI

Manufacturer Organization – identifies the manufacturer of the device.

The order of the elements in the XML is only critical to group them in like elements and in the order presented above – i.e. all IdentifiedEntity elements are placed before SpecializedKind elements and all EquivalentEntity elements are last in the order. Specific instructions are provided in the subsections below.

### Device identifier (DI) information – Primary Device Identifier

The Primary Device Identifier (Primary DI) is an identifier that is the main (primary) lookup for a medical device product and meets the requirements to uniquely identify a device through its distribution and use. The Primary DI will be located on the base package, which is the lowest level of a medical device containing a full UDI. The following XML snippet shows the Primary DI:

#### ManufacturedProduct classCode

The manufacturedProduct@classCode value must be equal to “MANU” to pass schema validation. Any other value in this field may cause the schema validation to fail.

Primary Device Identifier (manufacturedProduct.code)

| Element | Attribute | Cardinality | Value(s) Allowed Examples | Description Instructions |
| --- | --- | --- | --- | --- |
| code (1..1) |  | 1..1 |  | This is the container element for the Primary DI. |
|  | code | 1..1 | Numeric or Alphanumeric e.g. 14-digit number | This is the device identifier for the Record. |
|  | XPATH: /document/component/structuredBody/component/section/subject/manufacturedProduct/manufacturedProduct/code/@code |  |  |  |
|  | codeSystem | 1..1 | OID GS11.3.160 HIBCC 2.16.840.1.113883.6.40 ICCBBA 2.16.840.1.113883.6.18 | This is the identifier for the Issuing Agency for the DI. |
|  | XPATH: /document/component/structuredBody/component/section/subject/manufacturedProduct/manufacturedProduct/code/@codeSystem |  |  |  |
| Business Rules | - One and only one manufacturedProduct.code is required - See Common DI Validation. - One and only one manufacturedProduct.code@codeSystem is required - codeSystem must be one of the valid values: GS1, ICCBBA, HIBCC - If the code is missing, invalid, or given more than once, the AusUDID submission will be rejected as a submission with an invalid Primary DI - If the codeSystem is missing, or given more than once, or does not match the format for the Primary DI Issuing Agency, the AusUDID submission will be rejected as a submission with an invalid Primary DI - No other processing or validation will be completed if there is an invalid Primary DI. |  |  |  |

### Device information – Brand Name

Brand Name is a trade/proprietary name assigned by the device manufacturer, and under which the device is sold, distinguished from other similar devices, and recognised by the user or purchaser. A brand name is often registered and/or protected by a trademark.

The following XML Snippet includes the brand name element:

#### ManufacturedProduct.name

| Element | Attribute | Cardinality | Value(s) Allowed Examples | Description Instructions |
| --- | --- | --- | --- | --- |
| name |  | 1..1 |  | The name element is the container element for describing the Brand/Proprietary, Trade name of the medical device product. |
|  |  | 1..1 | Alphanumeric e.g. Brand Name | This is the value for the brand name of the medical device. |
|  | XPATH: /document/component/structuredBody/component/section/subject/manufacturedProduct/manufacturedProduct/name/text() |  |  |  |
| Business Rules | - One and only one manufacturedProduct.name is required - The Brand Name should be no more than 80 characters in length and can only contain accepted special characters. Refer to Data types and the M2M HL7 SPL - SPL Code List – AusUDID in the HL7 SPL Implementation package of files for a list of accepted special characters - If the value is missing, invalid, or given more than once, the AusUDID submission will be rejected as a submission with an invalid Brand name. |  |  |  |

### Device Information – Device Description

The device description provided by the Manufacturer should provide any additional relevant information about the device that is not already captured as a distinct AusUDID data attribute. The following XML Snippet includes the elements and attributes required for the description:

#### ManufacturedProduct.desc

| Element | Attribute | Cardinality | Value(s) Allowed Examples | Description Instructions |
| --- | --- | --- | --- | --- |
| Desc |  | 0..1 |  | This is a container element for the medical device’s description. |
|  |  | 1..1 | Alphanumeric E.g. Device Description | This is the description of the medical device that is provided by the Manufacturer. |
|  | XPATH: /document/component/structuredBody/component/section/subject/manufacturedProduct/manufacturedProduct/desc/text() |  |  |  |
| Business Rules | - manufacturedProduct.desc is optional, but can only be provided once - The Description should be no more than 2000 characters in length and can only contain accepted special characters. Refer to Data types and the M2M HL7 SPL - SPL Code List - AusUDID in the HL7 SPL Implementation package of files for a list of accepted special characters - If the value is invalid, or given more than once, the AusUDID submission will be rejected as a submission with an invalid Device Description. |  |  |  |

### Device Information – Model or Version

The model or version number found on the device label or accompanying packaging used to identify a category or design of a device. The model or version identifies all devices that have specifications, performance, size, and composition within limits set by the Manufacturer. The following XML Snippet includes the elements and attributes for the model or version number:

The following elements will be found in the AusUDID HL7 SPL submission:

#### Model or Version Number (asIdentifiedEntity.id)

| Element | Attribute | Cardinality | Value(s) Allowed Examples | Description Instructions |
| --- | --- | --- | --- | --- |
| Id |  | 0..1 |  | This is the container element for the model number. |
|  | Root | 1..1 | UUID | This is a globally unique identifier for the id being provided. |
|  | XPATH: /document/component/structuredBody/component/section/subject/manufacturedProduct/manufacturedProduct/asIdentifiedEntity/code[@code="C99285"]/../id/@root |  |  |  |
|  | Extension | 1..1 | Alphanumeric e.g. Model A1 | This is used to indicate any additional identifiers for the ManufacturedProduct. |
|  | XPATH: /document/component/structuredBody/component/section/subject/manufacturedProduct/manufacturedProduct/asIdentifiedEntity/code[@code="C99285"]/../id/@extension |  |  |  |
| Business Rules | - The asIdentifiedEntity.id@root, is a globally unique identifier, which is required by the schema; it should be unique to the Model Number that is provided in the extension. Currently we do not use this value in the AusUDID – i.e. it does not have any business rules associated with it - Only the id@extension value will be displayed by the AusUDID system for the model number or version number - asIdentifiedEntity with code ‘C99285’ must be provided. - The Version or Model should be no more than 80 characters in length and can only contain accepted special characters. Refer to Data types and the M2M HL7 SPL - SPL Code List – AusUDID in the HL7 SPL Implementation package of files for a list of accepted special characters - If Model or Version is missing, or code C99285 is provided and Model or Version is missing, invalid, or given more than once, the AusUDID submission will be rejected as a submission with an invalid Model or Version. |  |  |  |

#### Model or Version Number Type (asIdentifiedEntity.code)

The code identifies that the data element is providing a Model or Version Number value.

| Element | Attribute | Cardinality | Value(s) Allowed Examples | Description Instructions |
| --- | --- | --- | --- | --- |
| Code |  | 1..1 |  | This is the container element that identifies the identifiedEntity as the model or version number. |
|  | Code | 1..1 | Alphanumeric C99285 | This is the code that indicates the value is a model or version number. |
|  | XPATH: /document/component/structuredBody/component/section/subject/manufacturedProduct/manufacturedProduct/asIdentifiedEntity/code[@code="C99285"] |  |  |  |
|  | codeSystem | 1..1 | OID 2.16.840.1.113883.3.26 .1.1 | This is the codeSystem that manages the controlled vocabulary. |
|  | XPATH: /document/component/structuredBody/component/section/subject/manufacturedProduct/manufacturedProduct/asIdentifiedEntity/code[@code="C99285"]/@codeSystem |  |  |  |
| Business Rules | - Model or version number must be provided - The code value must be provided and have a value of “C99285” for the model or version number. |  |  |  |

### Device Information – Catalogue Number

The catalogue, reference, or product number used by the Sponsor and found on the device label or accompanying packaging to identify a particular product should be included in the UDI record if applicable. Catalogue Number is critical for UDI adoption in electronic health records. Please provide catalogue number as part of your UDI record. The following XML Snippet includes the elements and attributes for the catalogue number:

The following elements will be found in the AusUDID HL7 SPL submission:

#### Catalogue Number (asIdentifiedEntity.id)

| Element | Attribute | Cardinality | Value(s) Allowed Examples | Description Instructions |
| --- | --- | --- | --- | --- |
| Id |  | 0..1 |  | This is the container element for the catalogue number. |
|  | Root | 1..1 | UUID | This is a globally unique identifier for the id being provided. |
|  | XPATH: /document/component/structuredBody/component/section/subject/manufacturedProduct/manufacturedProduct/asIdentifiedEntity/code[@code="C99286"]/../id/@root |  |  |  |
|  | Extension | 1..1 | Alphanumeric e.g. CatalogNumber1234 | This is used to indicate any additional identifiers for the ManufacturedProduct. |
|  | XPATH: /document/component/structuredBody/component/section/subject/manufacturedProduct/manufacturedProduct/asIdentifiedEntity/code[@code="C99286"]/../id/@extension |  |  |  |
| Business Rules | - The asIdentifiedEntity.id@root is a globally unique identifier, which is required by the schema; it should be unique to the Catalogue Number that is provided in the extension. Currently we do not use this value in the AusUDID – i.e. it does not have any business rules associated with it - Only the id@extension value will be displayed by the AusUDID system for the catalogue number - The Catalogue Number should be no more than 80 characters in length and can only contain accepted special characters. Refer to Data types and the M2M HL7 SPL - SPL Code List – AusUDID in the HL7 SPL Implementation package of files for a list of accepted special characters - If code C99286 is provided and Catalogue Number is missing, invalid, or given more than once, the AusUDID submission will be rejected as a submission with an invalid Catalogue Number - Catalogue number is not required if the message is provided by a Manufacturer. If catalogue number is provided by a Manufacturer it will be ignored - Catalogue number, if available, should be provided by a Sponsor. It will be associated with each ARTG ID included in the HL7 message. |  |  |  |

#### Catalogue Number Type (asIdentifiedEntity.code)

| Element | Attribute | Cardinality | Value(s) Allowed Examples | Description Instructions |
| --- | --- | --- | --- | --- |
| Code |  | 0..1 |  | This is the container element that identifies the identifiedEntity as the catalogue number. |
|  | Code | 1..1 | Alphanumeric C99286 | This is the code that indicates the value is a catalogue number. |
|  | XPATH: /document/component/structuredBody/component/section/subject/manufacturedProduct/manufacturedProduct/asIdentifiedEntity/code[@code="C99286"] |  |  |  |
|  | codeSystem | 1..1 | OID 2.16.840.1.113883.3.26 .1.1 | This is the codeSystem that manages the controlled vocabulary. |
|  | XPATH: /document/component/structuredBody/component/section/subject/manufacturedProduct/manufacturedProduct/asIdentifiedEntity/code[@code="C99286"]/@codeSystem |  |  |  |
| Business Rules | - If the catalogue number element is provided, the code value must be provided and have a value of “C99286” for the catalogue number - If there is no catalogue number, the asIdentifiedEntity element should not be included with this code value. |  |  |  |

### Device Information – Approval to Supply

Unless specifically exempted, Medical Devices supplied in Australia must be included on the Australian Register of Therapeutic Goods (ARTG). An application to include a device is made by a Sponsor. The Sponsor may also provide supporting documents that relate to the ARTG inclusion.

The ARTG ID, Sponsor and any supporting documents should be included in the UDI record if applicable. UDI records are only available to the Public once the Approval to Supply details have been added to the UDI record.

The following XML Snippet includes the elements and attributes for the Approval to Supply:

The following elements will be found in the AusUDID HL7 SPL submission:

#### ARTG ID (asIdentifiedEntity.id)

| Element | Attribute | Cardinality | Value(s) Allowed Examples | Description Instructions |
| --- | --- | --- | --- | --- |
| Id |  | 0..1 |  | This is the container element for the ARTG ID. |
|  | Root | 1..1 | TGA OID 1.2.36.1.2001.1005.83 | This is the OID for TGA ARTG numbers |
|  | XPATH: /document/component/structuredBody/component/section/subject/manufacturedProduct/manufacturedProduct/asIdentifiedEntity/code[@code="AU1016"]/../id/@root |  |  |  |
|  | Extension | 1..1 | ARTG ID e.g. 12345 | This is the assigned TGA ARTG ID. |
|  | XPATH: /document/component/structuredBody/component/section/subject/manufacturedProduct/manufacturedProduct/asIdentifiedEntity/code[@code="AU1016"]/../id/@extension |  |  |  |
| Business Rules | - If the Submitter is a Sponsor, one or more asIdentifiedEntity with code ‘AU1016’ must be provided - If the Submitter is a Manufacturer, asIdentifiedEntity with code ‘AU1016’ must not be provided - If ‘AU1016’ is missing for a Sponsor, or provided for a Manufacturer, the AusUDID submission will be rejected as a submission with an invalid ARTG - A UDI record can contain many ARTG IDs - The ARTG ID must be valid and must exist in the ARTG system for the same Sponsor and Manufacturer - The only data elements that are compared with the ARTG is the device Manufacturer and Sponsor. |  |  |  |

#### ARTG ID Type (asIdentifiedEntity.code)

| Element | Attribute | Cardinality | Value(s) Allowed Examples | Description Instructions |
| --- | --- | --- | --- | --- |
| Code |  | 0..1 |  | This is the container element that identifies the identifiedEntity as the ARTG ID. |
|  | Code | 1..1 | Alphanumeric AU1016 | This is the code that indicates the value is an ARTG ID. |
|  | XPATH: /document/component/structuredBody/component/section/subject/manufacturedProduct/manufacturedProduct/asIdentifiedEntity/code[@code="AU1016"] |  |  |  |
|  | codeSystem | 1..1 | OID 1.2.36.1.2001.1005.85 | This is the codeSystem that manages the controlled vocabulary. |
|  | XPATH: /document/component/structuredBody/component/section/subject/manufacturedProduct/manufacturedProduct/asIdentifiedEntity/code[@code="AU1016"]/@codeSystem |  |  |  |
| Business Rules | - If the ARTG ID element is provided, the code value must be provided and have a value of “AU1016” for the ARTG ID - If there is no ARTG ID, the asIdentifiedEntity element should not be included with this code value. |  |  |  |

#### Sponsor (asIdentifiedEntity.assigningOrganization.id)

The following XML Snippet includes the elements and attributes for the Sponsor:

| Element | Attribute | Cardinality | Value(s) Allowed Examples | Description Instructions |
| --- | --- | --- | --- | --- |
| Id |  | 0..1 |  | This is the container element for the Sponsor identifier. |
|  | Root | 1..1 | TGA OID 1.2.36.1.2001.1005.84 | This is the OID for TGA Organisations |
|  | XPATH: /document/component/structuredBody/component/section/subject/manufacturedProduct/manufacturedProduct/asIdentifiedEntity/code[@code="AU1016"]/../assigningOrganization/id/@root |  |  |  |
|  | Extension | 1..1 | Organisation Number e.g. 12345 | This is the assigned TGA Organisation number. |
|  | XPATH: /document/component/structuredBody/component/section/subject/manufacturedProduct/manufacturedProduct/asIdentifiedEntity/code[@code="AU1016"]/../assigningOrganization/id/@extextens |  |  |  |
| Business Rules | - Sponsor must be provided if the ARTG ID element is provided - The TBS organisation number for the Sponsor must exist within TBS - Only one Sponsor can be provided for each ARTG entry - An assigningOrganisation must be provided for each ‘AU1016’ - If the assigningOrganisation is missing, or given more than once, the AusUDID submission will be rejected as a submission with an invalid ARTG. |  |  |  |

#### Supporting Document URL (asIdentifiedEntity.subjectOf.document.id)

Supporting documents can be provided if an ARTG ID has been provided. The following XML Snippet includes the elements and attributes for Supporting Documents:

| Element | Attribute | Cardinality | Value(s) Allowed Examples | Description Instructions |
| --- | --- | --- | --- | --- |
| Id |  | 0..1 |  | This is the container element for the Supporting Document. |
|  | Extension | 1..1 | Alphanumeric e.g. http://example.org/documents/123456789 | This is the URL for the supporting document. |
|  | XPATH: /document/component/structuredBody/component/section/subject/manufacturedProduct/manufacturedProduct/asIdentifiedEntity/code[@code="AU1016"]/../subjectOf/document/id/@extension |  |  |  |
| Business Rules | - The URL is checked for basic formatting, but not for correctness or content One or more subjectOf.document can be provided for each ‘AU1016’ URL should be no more than 2000 characters in length If URL is invalid, or given more than once in the document structure, the AusUDID submission will be rejected as a submission with an invalid Supporting Document. |  |  |  |

#### Supporting Document Type (asIdentifiedEntity.subjectOf.document.code)

| Element | Attribute | Cardinality | Value(s) Allowed Examples | Description Instructions |
| --- | --- | --- | --- | --- |
| Code |  | 0..1 |  | This is the container element that identifies the type of supporting document. |
|  | Code | 1..1 | Alphanumeric AU1008 | This is the code that indicates the type of supporting document. AU1008 = Patient Information Leaflet. |
|  | XPATH: /document/component/structuredBody/component/section/subject/manufacturedProduct/manufacturedProduct/asIdentifiedEntity/code[@code="AU1016"]/../subjectOf/document/code/@code |  |  |  |
|  | codeSystem | 1..1 | OID 1.2.36.1.2001.1005.85 | This is the codeSystem that manages the controlled vocabulary. |
|  | XPATH: /document/component/structuredBody/component/section/subject/manufacturedProduct/manufacturedProduct/asIdentifiedEntity/code[@code="AU1016"]/../subjectOf/document/code/@codeSystem |  |  |  |
| Business Rules | - A document type must be provided if Document URL is provided - The value must be one of the allowed values: - AU1008 – Patient Information Leaflet - If document type is invalid, is missing when document URL is given, or given when document URL is missing, or given more than once in the document structure, the AusUDID submission will be rejected as a submission with an invalid Supporting Document. |  |  |  |

#### Supporting Document Effective and End dates (asIdentifiedEntity.subjectOf.document.effectiveTime)

The supporting document has an effective (start) date and optionally an end date. The effective date indicates when this document is effective from. If the document is no longer effective, e.g. it has been superseded, then you can include an end date.

#### Supporting Document Effective Date (document.effectiveTime.low)

| Element | Attribute | Cardinality | Value(s) Allowed Examples | Description Instructions |
| --- | --- | --- | --- | --- |
| Low |  | 1..1 |  | This is the container element for the supporting document effective dates. |
|  | value | 1..1 | Date Format YYYYMMDD E.g. “20111016” | This is the value for the date the supporting document is valid. |
|  | XPATH: /document/component/structuredBody/component/section/subject/manufacturedProduct/manufacturedProduct/asIdentifiedEntity/code[@code="AU1016"]/../subjectOf/document/effectiveTime/low/@value |  |  |  |
| Business Rules | - A document effective date must be provided if Document URL is provided - The date must follow the format YYYYMMDD - It must be a valid date – Current or in the past - If document effective date is invalid, is missing when document URL is given, or given when document URL is missing, or given more than once in the document structure, the AusUDID submission will be rejected as a submission with an invalid Supporting Document. |  |  |  |

#### Supporting Document End Date (document.effectiveTime.high)

| Element | Attribute | Cardinality | Value(s) Allowed Examples | Description Instructions |
| --- | --- | --- | --- | --- |
| High |  | 0..1 |  | This is the container element for the supporting document effective dates. |
|  | value | 1..1 | Date Format YYYYMMDD E.g. “20111016” | This is the value for the date the supporting document is no longer valid. |
|  | XPATH: /document/component/structuredBody/component/section/subject/manufacturedProduct/manufacturedProduct/asIdentifiedEntity/code[@code="AU1016"]/../subjectOf/document/effectiveTime/high/@value |  |  |  |
| Business Rules | A document end date may be provided if Document URL is provided. The date is only provided when the document is no longer valid The date must follow the format YYYYMMDD It must be a valid date – Current or in the past If document end date is invalid, the end date occurs before the document effective date, or given when document URL is missing, or given more than once in the document structure, the AusUDID submission will be rejected as a submission with an invalid Supporting Document. |  |  |  |

##### Supporting Documents Behaviour

Supporting documents (currently Patient Information Leaflet) may be provided to AusUDID by either uploading a pdf attachment via the portal, or by providing a URL that can be used to obtain the document.

Within the bulk channels – only a URL can be provided. The URL can point to a specific document, or a website location that can be used to search for and retrieve the relevant document.

If a replaced document is to remain available to the public, then the document details are provided to AusUDID and an end date is provided. There is no validation check to ensure that the URLs for the old and new locations of supporting documents are different in AusUDID submissions.

If a replaced document is not to remain available to the public, then the document details are no longer provided to AusUDID. AusUDID will mark the document as deleted.

##### Examples for specific document

Examples when a Sponsor provides a URL that points to a specific document.

a) When a Sponsor adds a URL, they provide the following data:

| ARTG ID | Type | URL | Effective Date | End Date |
| --- | --- | --- | --- | --- |
| 12345 | Patient Information Leaflet | https://example.com/doc/device-v1.pdf | 01/07/2023 | (not provided) |

b) If the Sponsor updates the document on their site, and the document keeps the same name, then any future submission will continue to send the previous details:

| ARTG ID | Type | URL | Effective Date | End Date |
| --- | --- | --- | --- | --- |
| 12345 | Patient Information Leaflet | https://example.com/doc/device-v1.pdf | 01/07/2023 | (not provided) |

c) If the Sponsor updates the document on their site, and gives the document a new name, any future submission depend on what happens to the old document version:

i) if the old document is to be removed from the site and never referenced by the public, then the submission will include the new document details, and will not include the old document details:

| ARTG ID | Type | URL | Effective Date | End Date |
| --- | --- | --- | --- | --- |
| 12345 | Patient Information Leaflet | https://example.com/doc/device-v2.pdf | 02/11/2023 | (not provided) |

In this instance, the original document URL is marked as deleted, and the new one added.

ii) if the old document is to remain on the site for historical reference by the public, then the submission will include the new document details, and will include the old document details now with an end date:

| ARTG ID | Type | URL | Effective Date | End Date |
| --- | --- | --- | --- | --- |
| 12345 | Patient Information Leaflet | https://example.com/doc/device-v1.pdf | 01/07/2023 | 01/11/2023 |
| 12345 | Patient Information Leaflet | https://example.com/doc/device-v2.pdf | 02/11/2023 | (not provided) |

In this instance, the original document URL is updated with the end date, and the new one added.

##### Examples for website location

Examples when a Sponsor provides a URL that points to a website location.

a) When a Sponsor adds a URL, they provide the following data:

| ARTG ID | Type | URL | Effective Date | End Date |
| --- | --- | --- | --- | --- |
| 12345 | Patient Information Leaflet | https://example.com/docs | 01/07/2023 | (not provided) |

b) If the Sponsor updates the document on their site, and the location remains the same, then any future submission will continue to send the previous details:

| ARTG ID | Type | URL | Effective Date | End Date |
| --- | --- | --- | --- | --- |
| 12345 | Patient Information Leaflet | https://example.com/docs | 01/07/2023 | (not provided) |

c) If the Sponsor changes the location on their site, any future submission depend on what happens to the old location:

i) if the old location is removed from the site and never referenced by the public, then the submission will include the new location details, and will not include the old location details:

| ARTG ID | Type | URL | Effective Date | End Date |
| --- | --- | --- | --- | --- |
| 12345 | Patient Information Leaflet | https://example.com/pils | 02/11/2023 | (not provided) |

In this instance, the original document URL is marked as deleted, and the new one added.

ii) if the old location is to remain on the site for historical reference by the public, then the submission will include the new location details, and will include the old location details now with an end date:

| ARTG ID | Type | URL | Effective Date | End Date |
| --- | --- | --- | --- | --- |
| 12345 | Patient Information Leaflet | https://example.com/docs | 01/07/2023 | 01/11/2023 |
| 12345 | Patient Information Leaflet | https://example.com/pils | 02/11/2023 | (not provided) |

In this instance, the original document URL is updated with the end date, and the new one added.

## Device Status – Product Classification

The medical device can be categorised using the following two systems:

- the TGA Device Class

- the GMDN Term.

Both code systems will be used in the UDI record for a medical device:

### TGA Device Class

Medical devices are classified according to the level of harm they may pose to users or patients. Visit https://www.tga.gov.au/resources/what-classification-my-medical-device for more information. See Device Class for additional information on submitting device class codes as part of your AusUDID UDI record submission.

### GMDN Term

GMDN is a system of internationally agreed descriptors used to represent common device types for the purposes of grouping or categorisation. Each GMDN Term has 3 components: Term Code, Term Name, and Term Description. GMDN is managed by the GMDN Agency https://www.gmdnagency.org/.

Medical devices are classified using the GMDN Preferred Term/Term Code.

GMDN Preferred Term Code –Unique five-digit code associated with a GMDN Preferred Term.

Class 1, 2 and 3 IVDs use GMDN Collective Terms (referred to as 'categories' by the GMDN Agency). Collective Terms represent a group of similar IVDs.

- GMDN Collective Term Code – Unique code which starts with 'CT' followed by three or four numbers.

AusUDID does not currently support the submission of Collective Term codes.

The following sections provide the details for submitting each of the product classification elements.

### Device Class

The following XML Snippet includes the elements and attributes required for the manufacturer Device Class:

#### Device Class (asSpecializedKind.generalizedMaterialKind.code)

| Element | Attribute | Cardinality | Value(s) Allowed Examples | Description Instructions |
| --- | --- | --- | --- | --- |
| generalizedMaterial Kind.code |  | 1..1 |  | This is the container element for the Device Class. |
|  | Code | 1..1 | Alphanumeric AU1020 AIMD AU1021 Class III AU1022 Class IIb AU1023 Class IIa AU1024 Class Im AU1025 Class Is AU1026 Class I AU1027 Cl. 4 IVD AU1028 Cl. 3 IVD AU1029 Cl. 2 IVD AU1030 Cl. 1 IVD | This will be the code in the code system for the device class. |
|  | XPATH: /document/component/structuredBody/component/section/subject/manufacturedProduct/manufacturedProduct/asSpecializedKind/generalizedMaterialKind/code[@codeSystem="1.2.36.1.2001.1005.85"]/@code |  |  |  |
|  | codeSystem | 1..1 | OID 1.2.36.1.2001.1005.85 | This is the codeSystem that manages the controlled vocabulary. |
|  | XPATH: /document/component/structuredBody/component/section/subject/manufacturedProduct/manufacturedProduct/asSpecializedKind/generalizedMaterialKind/code[@codeSystem="1.2.36.1.2001.1005.85"] |  |  |  |
| Business Rules | - Device class is optional. - Device class is the classification as determined by the Manufacturer - Device class is not required to match what is recorded on the ARTG - If provided, a generalizedmaterialKind is required. - If the device is given more than once the AusUDID submission will be rejected as a submission with an invalid Device Class - If provided, it must be one of the valid values: - AU1020 AIMD - AU1021 Class III - AU1022 Class IIb - AU1023 Class IIa - AU1024 Class Im - AU1025 Class Is - AU1026 Class I - AU1027 Class 4 IVD - AU1028 Class 3 IVD - AU1029 Class 2 IVD - AU1030 Class 1 IVD. |  |  |  |

### GMDN Term Code

The following XML Snippet includes the elements and attributes required for the GMDN Term Code:

#### GMDN Term Code (asSpecializedKind.generalizedMaterialKind.code)

| Element | Attribute | Cardinality | Value(s) Allowed Examples | Description Instructions |
| --- | --- | --- | --- | --- |
| generalizedMaterial Kind.code |  | 1..1 |  | This is the container element for the GMDN code. |
|  | code | 1..1 | Numeric GMDN Code e.g. 99999 | This will be the code in the code system for the concept sent to describe the medical device. |
|  | XPATH: /document/component/structuredBody/component/section/subject/manufacturedProduct/manufacturedProduct/asSpecializedKind/generalizedMaterialKind/code[@codeSystem="2.16.840.1.113883.6.276"]/@code |  |  |  |
|  | codeSystem | 1..1 | OID 2.16.840.1.113883. 6.276 | This is the codeSystem that manages the controlled vocabulary. |
|  | XPATH: /document/component/structuredBody/component/section/subject/manufacturedProduct/manufacturedProduct/asSpecializedKind/generalizedMaterialKind/code[@codeSystem="2.16.840.1.113883.6.276"] |  |  |  |
| Business Rules | - GMDN Term code is optional. - GMDN Term code is the term code as determined by the Manufacturer. - GMDN Term code is not required to match what is recorded on the ARTG - If provided, it must be a valid GMDN Preferred Term Code. - It must be a 5-digit number. - Category Term Codes (codes starting with CT) are not supported. - The code will be used to pull the GMDN Term name and definition from the controlled GMDN agency vocabulary. - If an invalid e.g. the code does not exist) GMDN code is provided, the AusUDID submission will be rejected - If you feel a rejected code is active and valid, contact the GMDN Agency. If there is confirmation that the code is valid and active, contact UDI@health.gov.au and request further assistance. - If a GMDN Code is provided, a generalizedmaterialKind must be provided If the GMDN code is invalid, or given more than once, the AusUDID submission will be rejected as a submission with an invalid GMDN Code |  |  |  |

## Device Information – Alternate or Additional Identifiers

There are three device identifiers that are considered alternate or additional identifiers for a medical device product. Each of these is considered an equivalent identifier in the SPL XML and are composed of a code that indicates the type of identifier (e.g. unit of use, direct marking or secondary), a code for the actual device identifier and the Issuing Agency of that device identifier. The alternate or additional identifiers may be any one of the following:

- Unit of Use Device Identifier - An identifier assigned to an individual medical device when a UDI is not labeled on the individual device at the level of its unit of use. Its purpose is to associate the use of a device to/on a patient

- Direct Marked Device Identifier– An identifier that is marked directly on the medical device and is different than the Primary DI; only applicable to devices subject to Direct Marking requirements

- Secondary Device Identifier - An identifier that is an alternate (secondary) lookup for a medical device that is issued from a different issuing agency than the Primary DI.

Another identifier is the Previous Device Identifier. Previous Device Identifier is an identifier assigned to a version/model of a medical device before the same version/model of the device was assigned a new or substitute device identifier for reasons other than changes to the device itself.

The asEquivalentEntity element can be used for any of the device identifiers listed above.

There are three types of Alternative Device identifiers depicted in the subsections below: Unit of Use, Direct Marking and Secondary DI, followed by an Additional Device identifier: Previous DI.

### Unit of Use Device Identifier

The following XML Snippet includes the elements and attributes required for the Unit of Use device identifier:

#### Unit of Use Type (EquivalentEntity.code)

| Element | Attribute | Cardinality | Value(s) Allowed Examples | Description Instructions |
| --- | --- | --- | --- | --- |
| Code |  | 0..1 |  | The code element is the container element for the type of device identifier. |
|  | Code | 1..1 | Alphanumeric C101717 | The code attribute indicates the type of device identifier, specifically for unit of use device identifier. |
|  | XPATH: /document/component/structuredBody/component/section/subject/manufacturedProduct/manufacturedProduct/asEquivalentEntity/code[@code="C101717"] |  |  |  |
|  | codeSystem | 1..1 | OID 2.16.840.1.113883. 3.26.1.1 | This is the codeSystem for the type of device identifier. |
|  | XPATH: /document/component/structuredBody/component/section/subject/manufacturedProduct/manufacturedProduct/asEquivalentEntity/code[@code="C101717"]/@codeSystem |  |  |  |
| Business Rules | - The code must be “C101717” - The Unit of Use Device Identifier or Direct Marking (DM) Device Identifier is required if the device count is greater than one - An exception to the above rule is when the answer to “Device Subject to Direct Marking, but Exempt” is False. In this case, UnitOfUse will be optional - If device count > 1, then one of asEquivalentEntity with code ‘C101717’ or ‘C101678’ must be provided. - If device count = 1, then asEquivalentEntity with code ‘C101717’ must not be provided - If Device Count > 1 and both ‘C101717’ and ‘C101678’ is provided, or Device Count = 1 and ‘C101717’ is provided, the AusUDID submission will be rejected as a submission with an invalid Unit of Use. |  |  |  |

#### Unit of Use Device Identifier (EquivalentEntity.definingMaterialKind.code)

| Element | Attribute | Cardinality | Value(s) Allowed Examples | Description Instructions |
| --- | --- | --- | --- | --- |
| code |  | 1..1 |  | The code element is the container element for the unit of use device identifier. Note: A code is required for each definingMaterialKind present in the XML. |
|  | code | 1..1 | Alphanumeric e.g. 14-digit number | This is the Unit of Use DI for the medical device. |
|  | XPATH: /document/component/structuredBody/component/section/subject/manufacturedProduct/manufacturedProduct/asEquivalentEntity/code[@code="C101717"]/../definingMaterialKind/code/@code |  |  |  |
|  | codeSystem | 1..1 | OID GS1 1.3.160 HIBCC 2.16.840.1.113883.6.40 ICCBBA 2.16.840.1.113883.6.18 | This is the codeSystem for the Issuing Agency of the unit of use device identifier. |
|  | XPATH: /document/component/structuredBody/component/section/subject/manufacturedProduct/manufacturedProduct/asEquivalentEntity/code[@code="C101717"]/../definingMaterialKind/code/@codeSystem |  |  |  |
| Business Rules | - Base package Device Count must be greater than 1 to provide a Unit of Use DI - The Unit of Use DI value can be changed before or after the Grace Period, as long as the device count > 1 before the Grace Period expires - If provided, the Unit of Use Issuing Agency must be the same as the Primary DI Issuing Agency, but the DI must be different - See Common DI Validation. - A Unit of Use DI can be associated with more than one UDI record. - The following scenarios will result in the submission being rejected with an invalid Unit of Use DI: - If Device Count > 1 and both Unit of Use DI and Direct Marked DI are missing when the answer to “Device Subject to Direct Marking, but Exempt” is True. - When both Unit of Use DI and Direct Marked DI have been provided - Device Count = 1 and Unit of Use DI is provided - Unit of Use DI Issuing Agency does not match Primary DI Issuing Agency - Unit of Use DI does not match the format for the Unit of Use DI Issuing Agency - Unit of Use DI is the same as Primary DI - Unit of Use DI given more than once, the AusUDID submission will be rejected as a submission. |  |  |  |

### Direct Marking Device Identifier

The following XML Snippet includes the elements and attributes required for the Direct Marking device identifier:

#### Direct Marking Type (EquivalentEntity.code)

| Element | Attribute | Cardinality | Value(s) Allowed Examples | Description Instructions |
| --- | --- | --- | --- | --- |
| code |  | 0..1 |  | The code element is the container element for the type of device identifier. |
|  | code | 1..1 | Alphanumeric C101678 | The code attribute indicates the type of device identifier, specifically for Direct Marked DI. |
|  | XPATH: /document/component/structuredBody/component/section/subject/manufacturedProduct/manufacturedProduct/asEquivalentEntity/code[@code="C101678] |  |  |  |
|  | codeSystem | 1..1 | OID 2.16.840.1.113883. 3.26.1.1 | This is the codeSystem for the type of device identifier. |
|  | XPATH: /document/component/structuredBody/component/section/subject/manufacturedProduct/manufacturedProduct/asEquivalentEntity/code[@code="C101678"]/@codeSystem |  |  |  |
| Business Rules | - The code should be ‘C101678’ for a Direct Marked DI - The Direct Marked DI is not required in a UDI record unless the value is different than the Primary DI - If a Direct Marked DI is provided, the answer to “Is the Direct Marking DI different from Primary DI?” will be set to True. Otherwise, it will be set to False. - If device count > 1, then one of asEquivalentEntity with code ‘C101717’ or ‘C101678’ must be provided - If Device Count > 1 and both ‘C101717’ and ‘C101678’ is provided, the AusUDID submission will be rejected as a submission with an invalid Direct Marked. |  |  |  |

#### Direct Marking Device Identifier (EquivalentEntity.definingMaterialKind.code)

| Element | Attribute | Cardinality | Value(s) Allowed Examples | Description Instructions |
| --- | --- | --- | --- | --- |
| code |  | 1..1 |  | The code element is the container element for the direct marking device identifier. Note: A code is required for each definingMaterialKind present in the XML. |
|  | code | 1..1 | Alphanumeric, e.g. 1111111111111111 | This is the Direct Marked DI for medical device. |
|  | XPATH: /document/component/structuredBody/component/section/subject/manufacturedProduct/manufacturedProduct/asEquivalentEntity/code[@code="C101678"]/../definingMaterialKind/code/@code |  |  |  |
|  | codeSystem | 1..1 | OID GS1 1.3.160 HIBCC 2.16.840.1.113883.6.40 ICCBBA 2.16.840.1.113883.6.18 | This is the codeSystem for the issuing agency of the direct marked DI. |
|  | XPATH: /document/component/structuredBody/component/section/subject/manufacturedProduct/manufacturedProduct/asEquivalentEntity/code[@code="C101678"]/../definingMaterialKind/code/@codeSystem |  |  |  |
| Business Rules | Only one Direct Marking Device Identifier shall be provided for each UDI record If provided, the Direct Marked Issuing Agency can be from any Issuing Agency Direct Marked DI must not be provided if it is the same as the Primary DI Direct Marked DI must not be provided if the Direct Marking Exempt is True See Common DI Validation. A Direct Marked DI can be associated with more than one UDI record. A Direct Marked DI can have the same DI as another records Primary DI, Secondary DI, Previous DI or Direct Marked DI. The following scenarios will result in the submission being rejected with an invalid Direct Marked DI: - If Device Count > 1 and both Unit of Use and Direct Marked DI is missing, or both have been provided - Direct Marked Issuing Agency is missing or invalid - Direct Marked DI does not match the format for the Direct Marked Issuing Agency - Direct Marked DI is the same as Primary DI - Direct Marked DI provided when Direct Marking Exempt is True. - Direct Marked DI given more than once. If a Direct Marking Device Identifier is provided, the “Is the Direct Marking DI different from Primary DI?” checkbox will be displayed for the UDI record. No additional values need to be submitted via SPL. The value can be changed before and after the Grace Period |  |  |  |

### Secondary DI

The following XML Snippet includes the elements and attributes required for the Secondary DI:

#### Secondary DI Type (EquivalentEntity.code)

| Element | Attribute | Cardinality | Value(s) Allowed Examples | Description Instructions |
| --- | --- | --- | --- | --- |
| Code |  | 0..1 |  | The code element is the container element for the type of device identifier. |
|  | Code | 1..1 | Alphanumeric e.g. C101724 | The code attribute indicates the type of device identifier. |
|  | XPATH: /document/component/structuredBody/component/section/subject/manufacturedProduct/manufacturedProduct/asEquivalentEntity/code[@code="C101724"] |  |  |  |
|  | codeSystem | 1..1 | OID e.g. 2.16.840.1.113883. 3.26.1.1 | This is the codeSystem for the type of device identifier. |
|  | XPATH: /document/component/structuredBody/component/section/subject/manufacturedProduct/manufacturedProduct/asEquivalentEntity/code[@code="C101724"]/@codeSystem |  |  |  |
| Business Rules | - The code@code value must be “C101724” - asEquivalentEntity with code ‘C101724’ is optional |  |  |  |

#### Secondary Device Identifier (EquivalentEntity.definingMaterialKind.code)

| Element | Attribute | Cardinality | Value(s) Allowed Examples | Description Instructions |
| --- | --- | --- | --- | --- |
| Code |  | 1..1 |  | The code element is the container element for the Secondary DI. Note: A code is required for each definingMaterialKind present in the XML. |
|  | Code | 1..1 | Alphanumeric e.g. 1231234566 | This is the Secondary DI for the medical device. |
|  | XPATH: /document/component/structuredBody/component/section/subject/manufacturedProduct/manufacturedProduct/asEquivalentEntity/code[@code="C101724"]/../definingMaterialKind/code/@code |  |  |  |
|  | codeSystem | 1..1 | OID GS1 1.3.160 HIBCC 2.16.840.1.113883.6.40 ICCBBA 2.16.840.1.113883.6.18 | This is the codeSystem for the issuing agency of the Secondary DI. |
|  | XPATH: /document/component/structuredBody/component/section/subject/manufacturedProduct/manufacturedProduct/asEquivalentEntity/code[@code="C101724"]/../definingMaterialKind/code/@codeSystem |  |  |  |
| Business Rules | After the UDI record Grace Period expires, Secondary DI values cannot be edited, however, additional Secondary DIs may be added. See Common DI Validation. The Secondary DI provided cannot be from the same Issuing Agency as the Primary DI. Only one Secondary DI value can be added for each Issuing agency. The following scenarios will result in the submission being rejected with an invalid Secondary DI: - If Secondary DI Issuing Agency matches Primary DI Issuing Agency - Secondary DI Issuing Agency is used more than once - Secondary DI does not match the format for the Secondary DI Issuing Agency - Secondary DI is the same as Primary DI. |  |  |  |

### Previous DI

Previous Device Identifier is an identifier that was assigned to a given version/model of a medical device before the same version/model of the device was assigned a new or substitute device identifier for reasons other than changes to the device physical specifications or new indications for use that change the model or version.

The following XML Snippet includes the elements and attributes required for the Previous Device Identifier:

#### Previous DI Type (EquivalentEntity.code)

| Element | Attribute | Cardinality | Value(s) Allowed Examples | Description Instructions |
| --- | --- | --- | --- | --- |
| Code |  | 0..1 |  | The code element is the container element for the type of device identifier. |
|  | Code | 1..1 | Alphanumeric e.g. C125195 | The code attribute indicates the type of device identifier. |
|  | XPATH: /document/component/structuredBody/component/section/subject/manufacturedProduct/manufacturedProduct/asEquivalentEntity/code[@code="C125195"] |  |  |  |
|  | codeSystem | 1..1 | OID e.g. 2.16.840.1.113883. 3.26.1.1 | This is the codeSystem for the type of device identifier. |
|  | XPATH: /document/component/structuredBody/component/section/subject/manufacturedProduct/manufacturedProduct/asEquivalentEntity/code[@code="C125195"]/@codeSystem |  |  |  |
| Business Rules | - The code@code value must be “C125195” - asEquivalentEntity with code ‘C125195’ is optional. |  |  |  |

#### Previous Device Identifier (EquivalentEntity.definingMaterialKind.code)

| Element | Attribute | Cardinality | Value(s) Allowed Examples | Description Instructions |
| --- | --- | --- | --- | --- |
| code |  | 1..1 |  | The code element is the container element for the previous device identifier. Note: A code is required for each definingMaterialKind present in the XML. |
|  | Code | 1..1 | Alphanumeric e.g. 1231234566 | This is the Previous Device Identifier for the medical device. |
|  | XPATH: /document/component/structuredBody/component/section/subject/manufacturedProduct/manufacturedProduct/asEquivalentEntity/code[@code="C125195"]/../definingMaterialKind/code/@code |  |  |  |
|  | codeSystem | 1..1 | OID GS1 1.3.160 HIBCC 2.16.840.1.113883.6.40 ICCBBA 2.16.840.1.113883.6.18 | This is the codeSystem for the Issuing Agency of the previous device identifier. |
|  | XPATH: /document/component/structuredBody/component/section/subject/manufacturedProduct/manufacturedProduct/asEquivalentEntity/code[@code="C125195"]/../definingMaterialKind/code/@codeSystem |  |  |  |
| Business Rules | - The Previous DI provided must exist as a valid Primary DI for another published UDI record in AusUDID. - Previous DI can be added or edited after the Grace Period. - Previous DI cannot be deleted after the Grace Period. - See Common DI Validation. - Only one Previous DI value can be added for each UDI record. - The following scenarios will result in the submission being rejected with an invalid Previous DI: - Previous DI does not match the format for the Previous DI Issuing Agency. - Previous DI is the same as Primary DI. - Previous DI given more than once. |  |  |  |

### Device Information – Manufacturer

The manufacturer of the medical device. The following XML Snippet includes the elements and attributes for the manufacturer:

The following elements will be found in the AusUDID HL7 SPL submission:

#### Manufacturer (manufacturerOrganization.id)

| Element | Attribute | Cardinality | Value(s) Allowed Examples | Description Instructions |
| --- | --- | --- | --- | --- |
| Id |  | 1..1 |  | This is the container element for the manufacturer. |
|  | Root | 1..1 | TGA OID 1.2.36.1.2001.1005.84 | This is the OID for TGA Organisations. |
|  | XPATH: /document/component/structuredBody/component/section/subject/manufacturedProduct/manufacturerorganization/id/@root |  |  |  |
|  | Extension | 1..1 | Organisation Number e.g. 12345 | This is the assigned TGA Organisation number. |
|  | XPATH: /document/component/structuredBody/component/section/subject/manufacturedProduct/manufacturerOrganisation/id/@extension |  |  |  |
| Business Rules | - The TBS organisation number for the Manufacturer must be provided and must exist within TBS - A manufacturerOrganization must be provided - Only one manufacturer can be provided - It must be a number. - If the manufacturerOrganization is missing, invalid, or given more than once, the AusUDID submission will be rejected as a submission with an invalid Manufacturer. |  |  |  |

#### ManufacturerOrganization.name

| Element | Attribute | Cardinality | Value(s) Allowed Examples | Description Instructions |
| --- | --- | --- | --- | --- |
| name.item |  | 1..1 |  | The name.item element is the container element for the organisation name of the manufacturer. |
|  |  | 1..1 | Alphanumeric e.g. Manufacturer Pty Ltd | This is the name of the manufacturer. |
|  | XPATH: /document/component/structuredBody/component/section/subject/manufacturedProduct/manufacturerOrganization/name/text() |  |  |  |
| Business Rules | - Providing a manufacturer name is optional - If the manufacturer name is not provided, an empty <name/> tag must be used - The manufacturer name is not validated or used as the name is retrieved from TBS. - Only one manufacturer name can be provided. - The manufacturer name should be no more than 80 characters and length and can only contain accepted special characters. Refer to Data types and the M2M HL7 SPL - SPL Code List - AusUDID in the HL7 SPL Implementation package of files for a list of accepted special characters. |  |  |  |

## Device Characteristics

A number of elements are described using the following structure.

<subjectOf>

<characteristic>

<code ../> …

</characteristic>

</subjectOf>

When an unrecognised code is used, the code and it’s attributes are ignored.

### Device Characteristics – Device Count

The Device Count is the number of medical devices in the base package (i.e. the base package is the package configuration as labeled with and identified by the UDI record's Primary DI). The following XML Snippet includes the elements and attributes required for the device count:

For example, Base Package = Box of 100 gloves, Primary DI = 101; Device Count = 100

#### Device Count Value (quantity.numerator)

| Element | Attribute | Cardinality | Value(s) Allowed Examples | Description Instructions |
| --- | --- | --- | --- | --- |
| Numerator |  | 1..1 |  | This is the container element for the device count |
|  | Value | 1..1 | Numeric e.g. 100, 1000 | This is the device count value of the base package. |
|  | XPATH: /document/component/structuredBody/component/section/subject/manufacturedProduct/manufacturedProduct/asContent/quantity/numerator/@value |  |  |  |
| Denominator |  | 1..1 |  | Leave empty |
|  | XPATH: /document/component/structuredBody/component/section/subject/manufacturedProduct/manufacturedProduct/asContent/quantity/denominator |  |  |  |
| Business Rules | - The Denominator element should be provided in your XML file, no value is required - asContent.quantity is required - The numerator@value is required - If more than one package configuration is provided, the numerator value of each asContent element must be the same - If the asContent.quantity is missing, invalid, or given more than once, or has different values in other package configurations, the AusUDID submission will be rejected as a submission with an invalid Device Count. |  |  |  |

### Device Characteristics – Packaging Configuration

A package configuration is made up of the following elements:

Package DI - A device identifier for the package configuration that contains multiple units of the base package

  - Examples Package DI (in bold)

Base Package DI = 101

4 glove boxes in a Carton -- Package DI =201 (the DI on the Carton)

5 Cartons in a Case -- Package DI=301 (the DI on the Case)

- Package Type – Text to describe the outer packaging of the product and enables users to understand higher level packaging configurations. The package type can only be 20 characters

  - Examples of Package Type

Carton

Case

- Quantity per Package – The number of packages with a unique Primary DI within a given packaging configuration

  - Examples of Quantity (in bold)

Package DI 201 is a Carton which contains 4 glove boxes

Package DI 301 is a Case which contains 5 Cartons

Sponsor Package Commercial Distribution End Date: Indicates the date a particular package configuration is no longer offered for commercial distribution by the Sponsor

Contains DI Package - The Primary DI for the base package or any lower-level package configuration contained within a given package configuration. In the SPL, the Contains DI package configuration is nested and takes the value of the lower-level package

  - Examples of Contains DI:

Package DI 201 contains base Package DI 101

Package DI 301 contains Package DI 201

​The following XML Snippet includes the elements and attributes required for the package configuration above:

4 glove boxes in a Carton -- Package DI =201 (the DI on the Carton)

5 Cartons in a Case -- Package DI=301 (the DI on the Case)

#### Package DI (containerPackagedProduct.code)

The following XML Snippet includes the elements and attributes required for the package DI:

| Element | Attribute | Cardinality | Value(s) Allowed Examples | Description Instructions |
| --- | --- | --- | --- | --- |
| Code |  | 1..1 |  | This is the container element for the package Device identifier. |
|  | Code | 1..1 | Alphanumeric e.g. 14-digit value | This is the device identifier. |
|  | XPATH: Varies /document/component/structuredBody/component/section/subject/manufacturedProduct/manufacturedProduct/asContent/containerPackagedProduct/code/@code /document/component/structuredBody/component/section/subject/manufacturedProduct/manufacturedProduct/asContent/containerPackagedProduct/asContent/containerPackagedProduct/code/@code |  |  |  |
|  | codeSystem | 1..1 | OID GS1 1.3.160 HIBCC 2.16.840.1.113883.6.40 ICCBBA 2.16.840.1.113883.6.18 | This is the codeSystem for the Issuing Agency of the package device identifier. |
|  | XPATH: Varies /document/component/structuredBody/component/section/subject/manufacturedProduct/manufacturedProduct/asContent/containerPackagedProduct/code/@codeSystem /document/component/structuredBody/component/section/subject/manufacturedProduct/manufacturedProduct/asContent/containerPackagedProduct/asContent/containerPackagedProduct/code/@codeSystem |  |  |  |
| Business Rules | - Once the grace period expires, a package configuration cannot be removed from the UDI record. The only change that can be made to a package configuration is changes to the package commercial distribution end date – adding a date if null, or updating an existing date - Omitting an existing package configuration from a HL7 message does not remove it from the UDI record, even in grace period or when using a correction - An existing package configuration on a UDI record can only be removed via the UDI portal - containerPackagedProduct is optional. It is required when there is a package configuration - See Common DI Validation. - Package Configurations can be removed via the portal by the use of a correction. - The Issuing Agency for Package DI should be the same as the Primary DI - The following scenarios will result in the submission being rejected with an invalid Package DI: - Package Issuing Agency does not match Primary DI Issuing Agency. - Package DI does not match the format for the Package Issuing Agency. - Package DI is the same as Primary DI. - Package DI given more than once. |  |  |  |

#### Package Type (containerPackagedProduct.name)

The following XML Snippet includes the elements and attributes required for the package type:

| Element | Attribute | Cardinality | Value(s) Allowed Examples | Description Instructions |
| --- | --- | --- | --- | --- |
| name |  | 0..1 |  | This is the container element for the package type. |
|  |  | 0..1 | Alphanumeric e.g. box, case | This is a short package type description. |
|  | XPATH: /document/component/structuredBody/component/section/subject/manufacturedProduct/manufacturedProduct/asContent/containerPackagedProduct/name/text() /document/component/structuredBody/component/section/subject/manufacturedProduct/manufacturedProduct/asContent/containerPackagedProduct/asContent/containerPackagedProduct/name/text() |  |  |  |
| Business Rules | - If the package type is provided, it cannot be changed after the Grace Period - Package type is optional - If provided, can only be maximum 20 characters in length - If name is invalid or given more than once, the AusUDID submission will be rejected as a submission with an invalid Package. |  |  |  |

#### Quantity per Package (containerPackagedProduct.capacityQuantity)

The following XML Snippet includes the elements and attributes required for the package quantity:

| Element | Attribute | Cardinality | Value(s) Allowed Examples | Description Instructions |
| --- | --- | --- | --- | --- |
| capacityQuantity |  | 1..1 |  | This is the container element for the quantity in Package value. |
|  | value | 1..1 | Numeric e.g. 20, 30 | This is the number of products in the package. |
|  | XPATH: /document/component/structuredBody/component/section/subject/manufacturedProduct/manufacturedProduct/asContent/containerPackagedProduct/capacityQuantity/@value /document/component/structuredBody/component/section/subject/manufacturedProduct/manufacturedProduct/asContent/containerPackagedProduct/asContent/containerPackagedProduct/capacityQuantity/@value |  |  |  |
| Business Rules | - The value needs to be greater than or equal to 1 if the Contains DI is the Primary DI (i.e. base package) - The quantity per package cannot be changed after the Grace Period - capacityQuantity is required when there is a package configuration - It must be a number > 0 - If capacityQuantity is missing, invalid, or given more than once, the AusUDID submission will be rejected as a submission with an invalid Package. |  |  |  |

#### Sponsor Package Commercial Distribution End Date

The Sponsor package commercial distribution end date consists of two elements as follows.

The following XML Snippet includes the elements and attributes required for the sponsor package commercial distribution end date:

##### Sponsor Package Commercial Distribution End Date (marketingAct.effectiveTime.low)

| Element | Attribute | Cardinality | Value(s) Allowed Examples | Description Instructions |
| --- | --- | --- | --- | --- |
| Low |  | 0..1 |  | This is the container element for the sponsor package commercial distribution end date. |
|  | XPATH: /document/component/structuredBody/component/section/subject/manufacturedProduct/manufacturedProduct/asContent/containerPackagedProduct/asManufacturedProduct/subjectOf/marketingAct/effectiveTime/low/@value /document/component/structuredBody/component/section/subject/manufacturedProduct/manufacturedProduct/asContent/containerPackagedProduct/asContent/containerPackagedProduct/asManufacturedProduct/subjectOf/marketingAct/effectiveTime/low/@value |  |  |  |
| Business Rules | - effectiveTime is optional - If effective time is provided, the date element is required, but no value should be provided. - If low value is provided, the AusUDID submission will be rejected as a submission with an invalid Package. |  |  |  |

##### Sponsor Package Commercial Distribution End Date (marketingAct.effectiveTime.high)

| Element | Attribute | Cardinality | Value(s) Allowed Examples | Description Instructions |
| --- | --- | --- | --- | --- |
| High |  | 0..1 |  | This is the container element for the sponsor package commercial distribution end date. |
|  | value | 1..1 | Date Format YYYYMMDD E.g. “20111016” | This is the value for the date the package is no longer offered for commercial distribution by the sponsor. |
|  | XPATH: Varies /document/component/structuredBody/component/section/subject/manufacturedProduct/manufacturedProduct/asContent/containerPackagedProduct/asManufacturedProduct/subjectOf/marketingAct/effectiveTime/high/@value /document/component/structuredBody/component/section/subject/manufacturedProduct/manufacturedProduct/asContent/containerPackagedProduct/asContent/containerPackagedProduct/asManufacturedProduct/subjectOf/marketingAct/effectiveTime/high/@value |  |  |  |
| Business Rules | - effectiveTime is optional - If effective time is provided, the date element is required - If date is provided, it must be a valid date in format YYYYMMDD - If effectiveTime is invalid, or given more than once, or high date is missing or invalid, the AusUDID submission will be rejected as a submission with an invalid Package - The date is only provided at the time the package is no longer offered for commercial distribution by the Sponsor - The Package DI will still remain in the AusUDID system after it reaches the Sponsor package commercial distribution end date - If UDI data is uploaded by the Manufacturer, the Sponsor package commercial distribution end date is not required. If it is provided it will be ignored - If UDI data is uploaded by the Sponsor, the Sponsor package commercial distribution end date may be provided. If it is provided, it is the package commercial distribution end date as determined by the Sponsor for this package for each ARTG ID included in the HL7 message. |  |  |  |

#### Contains DI Package (containerPackagedProduct.code or manufacturedProduct.code)

| Element | Attribute | Cardinality | Value(s) Allowed Examples | Description Instructions |
| --- | --- | --- | --- | --- |
| Code |  | 1..1 |  | This is the container element for the Contains Device identifier. |
|  | code | 1..1 | Alphanumeric e.g. 14-digit value | This is the Contains Package DI. |
|  | XPATH: Varies |  |  |  |
|  | code System | 1..1 | OID GS1 1.3.160 HIBCC 2.16.840.1.113883.6.40 ICCBBA 2.16.840.1.113883.6.18 | This is the OID for the Contains Package DI Issuing Agency. |
|  | XPATH: Varies |  |  |  |
| Business Rules | - Package configurations are given in a hierarchy - The Contains Package DI within the first package configuration in a hierarchy will always point to the base package DI found in manufacturedProduct.code - The Contains Package DI within the second package configuration in a hierarchy will always point to the first package DI found in containerPackagedProduct.code - Apart from the first package configuration, the Contains Package DI within any package configuration in a hierarchy will always point to the previous package DI found in containerPackagedProduct.code - These rules apply to each distinct hierarchy. |  |  |  |

### Device Status and Dates – Sponsor Commercial Distribution End Date

The Sponsor Commercial Distribution End Date indicates the date the device is no longer held or offered for sale by the Sponsor. The device may or may not still be available for purchase in the marketplace. The following XML Snippet includes the elements and attributes required for the Sponsor Commercial Distribution End Date:

#### Sponsor Commercial Distribution End Date (marketingAct.effectiveTime.low)

| Element | Attribute | Cardinality | Value(s) Allowed Examples | Description Instructions |
| --- | --- | --- | --- | --- |
| Low |  | 1..1 |  | This is the container element for the Sponsor Commercial Distribution End Date. |
|  | XPATH: /document/component/structuredBody/component/section/subject/manufacturedProduct/subjectOf/marketingAct/effectiveTime/low/@value |  |  |  |
| Business Rules | - effectiveTime is optional - If effective time is provided, the date element is required, but no value should be provided - If low value is provided, the AusUDID submission will be rejected as a submission with an invalid Sponsor Commercial Distribution End Date. |  |  |  |

#### Sponsor Commercial Distribution End Date (marketingAct.effectiveTime.high)

| Element | Attribute | Cardinality | Value(s) Allowed Examples | Description Instructions |
| --- | --- | --- | --- | --- |
| High |  | 1..1 |  | This is the container element for Sponsor Commercial Distribution End Date |
|  | value | 1..1 | Date Format YYYYMMDD E.g. “20111016” | This is the date value for the date the device product is no longer in commercial distribution. |
|  | XPATH: /document/component/structuredBody/component/section/subject/manufacturedProduct/subjectOf/marketingAct/effectiveTime/high/@value |  |  |  |
| Business Rules | - The date is only provided at the time the device product is no longer actively marketed by the Sponsor - The UDI record will remain in the AusUDID - effectiveTime is optional - If effective time is provided, the date element is required - If date is provided, it must be a valid date in format YYYYMMDD - If effectiveTime is invalid, or given more than once, or high date is missing or invalid, the AusUDID submission will be rejected as a submission with an invalid Sponsor Commercial Distribution End Date - If UDI data is uploaded by the Manufacturer, the Sponsor commercial distribution end date is not required. If it is provided it will be ignored - If UDI data is uploaded by the Sponsor, the Sponsor commercial distribution end date may be provided. If it is provided, it is the commercial distribution end date as determined by the Sponsor for each ARTG ID included in the HL7 message. |  |  |  |

### Device Characteristics – Device Subject to Direct Marking, but Exempt

The manufacturer can claim their device is subject to Direct Marking but exempt. The following XML Snippet includes the element that indicates the exemption:

#### Device Subject to Direct Marking (DM), but Exempt (characteristic.code)

| Element | Attribute | Cardinality | Value(s) Allowed Examples | Description Instructions |
| --- | --- | --- | --- | --- |
| Code |  | 0..1 |  | The code element is the container element for Device Subject to Direct Marking (DM), but Exempt. |
|  | code | 1..1 | Alphanumeric C101679 | The code for Device Subject to Direct Marking (DM), but Exempt. |
|  | XPATH: /document/component/structuredBody/component/section/subject/manufacturedProduct/subjectOf/characteristic/code[@code="C101679"] |  |  |  |
|  | codeSystem | 1..1 | OID 2.16.840.1.113883. 3.26.1.1 | This is the codeSystem that manages the controlled vocabulary. |
|  | XPATH: /document/component/structuredBody/component/section/subject/manufacturedProduct/subjectOf/characteristic/code[@code="C101679"]/@codeSystem |  |  |  |
| Business Rules | - If the Device is subject to Direct Marking, but exempt, the code@code value must be “C101679” - A characteristic with code ‘C101679’ is optional - If this data element does not apply to the UDI record, a characteristic data element does not need to be provided. |  |  |  |

#### Device Subject to Direct Marking (DM), but Exempt Value (characteristic.value)

| Element | Attribute | Cardinality | Value(s) Allowed Examples | Description Instructions |
| --- | --- | --- | --- | --- |
| Value |  | 1..1 |  | This is the container element for the direct marking exempt indicator. |
|  | xsi:type | 1..1 | Boolean BL | The xsi:type indicates the data type for the element. |
|  | XPATH: /document/component/structuredBody/component/section/subject/manufacturedProduct/subjectOf/characteristic/ code[@code="C101679"]/../value/@xsi:type |  |  |  |
|  | Value | 1..1 | Alpha “true” or “false” | This is the value attribute for the Boolean operator. |
|  | XPATH: /document/component/structuredBody/component/section/subject/manufacturedProduct/subjectOf/characteristic/code[@code="C101679"]/../value/@value |  |  |  |
| Business Rules | - If ‘C101679’ is provided, then value must be provided - If value is provided, value must be true or false - If characteristicValue is missing, invalid, or given more than once, the AusUDID submission will be rejected as a submission with an invalid Direct Marking - If the value is set to “true”, a Direct Marked DI will not be allowed - If the value is set to “false”, a Direct Marked DI value is required only if the value is different than the Primary DI - If the data element value is not provided, “false” will be stored in the database - The value can be submitted as part of the initial submission, or changed after the Grace Period, but the rules above will always apply. |  |  |  |

### Device Characteristics – Clinically Relevant Size

The clinically relevant size measurement for the medical device is captured under device characteristics. The following XML Snippet includes the elements and attributes required for clinically relevant size:

#### Clinically Relevant Size Type (characteristic.code)

| Element | Attribute | Cardinality | Value(s) Allowed Examples | Description Instructions |
| --- | --- | --- | --- | --- |
| Code |  |  |  |  |
|  | code | 1..1 | Alphanumeric e.g. C96684 | The code to indicate clinically relevant size type, the dimension type for the clinically relevant measurement of the medical device. |
|  | XPATH: /document/component/structuredBody/component/section/subject/manufacturedProduct/subjectOf/characteristic/code[@code="see list – codes vary by type"] |  |  |  |
|  | codeSystem | 1..1 | OID 2.16.840.1.113883. 3.26.1.1 | This is the codeSystem that manages the controlled vocabulary. |
|  | XPATH: /document/component/structuredBody/component/section/subject/manufacturedProduct/subjectOf/characteristic/code[@code="see list"]/@codeSystem |  |  |  |
| Business Rules | - Clinical size codes are optional - The attributes will be treated as a Clinical Size if a recognised Clinical Size code is provided. - The code will determine the valid units of measure for the size type. See controlled vocabulary documentation for details - If characteristic.code value is given more than once, the AusUDID submission will be rejected as a submission with an invalid Clinical Size |  |  |  |

#### Clinically Relevant Size Value and Unit of Measure (characteristic.value)

| Element | Attribute | Cardinality | Value(s) Allowed Examples | Description Instructions |
| --- | --- | --- | --- | --- |
| value |  | 1..1 |  | This is the container element for the clinically relevant size quantity. |
|  | xsi:type | 1..1 | Physical Quantity PQ | The xsi:type indicates the data type for the element. |
|  | XPATH: /document/component/structuredBody/component/section/subject/manufacturedProduct/subjectOf/characteristic/code[@code="see list"]/../value/@xsi:type |  |  |  |
|  | value | 1..1 | Alpha Numeric e.g. 3 | This is the numeric value for the clinically relevant size measurement of the medical device. |
|  | XPATH: /document/component/structuredBody/component/section/subject/manufacturedProduct/subjectOf/characteristic/code[@code="see list"]/../value/@value |  |  |  |
|  | unit | 1..1 | Alpha Numeric e.g. cm, [in_i], U/L | This is the value of the unit of measure associated with each clinically relevant size. |
|  | XPATH: /document/component/structuredBody/component/section/subject/manufacturedProduct/subjectOf/characteristic/code[@code="see list"]/../value/@unit |  |  |  |
| Business Rules | - If the clinically relevant size code is a structured measure, the value and unit must be provided. - The unit of measure submitted must be allowed for the given size type – e.g. the size type outer diameter (C96684) must have a unit of measure for a valid length size. See controlled vocabulary documentation for details. - Characteristic.value is required unless code is ‘C106041’ - If provided, the value needs to be one of the valid values for clinically relevant size. - If characteristic.value value is invalid, or given more than once, the AusUDID submission will be rejected as a submission with an invalid Clinical Size |  |  |  |

#### Device Characteristics – Clinically Relevant Size – Device Size Text

Clinically relevant device size text field can be used to provide additional undefined device size not represented in the AusUDID’s clinically relevant size list.

The following XML Snippet includes the elements and attributes required for providing a free-text description of the clinically relevant size:

Multiple instances of clinical size text values can be submitted for a single device by duplicating the XML Snippet above.

##### Clinically Relevant Size Device Size Text Type (characteristic.code)

| Element | Attribute | Cardinality | Value(s) Allowed Examples | Description Instructions |
| --- | --- | --- | --- | --- |
| code |  | 1..1 |  | This is the container element for clinically relevant size text. |
|  | code | 1..1 | Alphanumeric C106041 | This is the code to indicate the type of characteristic being identified for a device product. |
|  | XPATH: /document/component/structuredBody/component/section/subject/manufacturedProduct/subjectOf/characteristic/code[@code="C106041"] |  |  |  |
|  | codeSystem | 1..1 | OID 2.16.840.1.113883. 3.26.1.1 | This is the codeSystem that manages the controlled vocabulary. |
|  | XPATH: /document/component/structuredBody/component/section/subject/manufacturedProduct/subjectOf/characteristic/code[@code="C106041"]/@codeSystem |  |  |  |
| Business Rules | - The code@code value must be “C106041”. |  |  |  |

##### Clinically Relevant Size Text (characteristic.value)

| Element | Attribute | Cardinality |  | Value(s) Allowed Examples |  | Description Instructions |
| --- | --- | --- | --- | --- | --- | --- |
| value |  | 1..1 |  |  |  | This is the container element for the size text. |
|  | xsi:type | 1..1 |  | String ST |  | The xsi:type indicates the data type for the element. |
|  | XPATH: /document/component/structuredBody/component/section/subject/manufacturedProduct/subjectOf/characteristic/code[@code=“C106041”]/../value@xsi:type |  |  |  |  |  |
|  | value | 1..1 | Alphanumeric e.g. medium |  | This is the value attribute for the clinically relevant size text. |  |
|  | XPATH: /document/component/structuredBody/component/section/subject/manufacturedProduct/subjectOf/characteristic/code[@code=“C106041”]/../value/text() |  |  |  |  |  |
| Business Rules | - The text element can only be used when the code is “C106041” is provided - Characteristic.value is required if code is ‘C106041’ - The Clinically Relevant Size Text value should be no more than 200 characters in length and can only contain accepted special characters. Refer to Data types and ‘AusUDID_SPLCodeList.xls’ file in the HL7 SPL Implementation package of files for a list of accepted special characters - If clinical size text is invalid, or given more than once, or given when code is not ‘C106041’ the AusUDID submission will be rejected as a submission with an invalid Clinical Size. |  |  |  |  |  |

### Device Characteristics – Storage and Handling Requirements

Storage and handling requirements that are required for the device including temperature, humidity, and atmospheric pressure are provided as device characteristics. The following XML Snippet includes the elements and attributes required for these requirements:

#### Storage and Handling Type (characteristic.code)

| Element | Attribute | Cardinality | Value(s) Allowed Examples | Description Instructions |
| --- | --- | --- | --- | --- |
| Code |  | 0..* |  | This is the container element for the storage and handling type. |
|  | code | 1..1 | Alphanumeric e.g. C101707 | This is the code to indicate the storage and handling type being identified for a device product. |
|  | XPATH: /document/component/structuredBody/component/section/subject/manufacturedProduct/subjectOf/characteristic/code[@code="see list"] |  |  |  |
|  | codeSystem | 1..1 | OID 2.16.840.1.113883. 3.26.1.1 | This is the codeSystem that manages the controlled vocabulary. |
|  | XPATH: /document/component/structuredBody/component/section/subject/manufacturedProduct/subjectOf/characteristic/code[@code="see list"]/@codeSystem |  |  |  |
| Business Rules | - If a storage and handling element is sent, the code@code and code@codeSystem is required - Storage and Handling codes are optional - If provided, the code value needs to be one of the valid values for Storage and Handling - The attributes will be treated as Storage and Handling if a recognised Storage and Handling code is provided. - If characteristic.code value is given more than once, the AusUDID submission will be rejected as a submission with an invalid Storage and Handling. |  |  |  |

#### Storage and Handling Value and Unit of Measure (characteristic.value.low)

| Element | Attribute | Cardinality | Value(s) Allowed Examples | Description Instructions |
| --- | --- | --- | --- | --- |
| value@xsi:type | xsi:type | 1..1 | String IVL_PQ | The xsi:type indicates the data type for the element. |
|  | XPATH: /document/component/structuredBody/component/section/subject/manufacturedProduct/subjectOf/characteristic/code[@code="see list"]/../value/@xsi:type |  |  |  |
| value.low |  | 1..1 |  | This is the container element for the storage and handling value. |
|  | value | 1..1 | Numeric e.g. 10, 20 | The value of the storage or handling value. |
|  | XPATH: /document/component/structuredBody/component/section/subject/manufacturedProduct/subjectOf/characteristic/code[@code="see list"]/../value/low/@value |  |  |  |
|  | unit | 1..1 | Alpha Numeric e.g. Celsius | This is the unit of measure for the storage or handling unit. |
|  | XPATH: /document/component/structuredBody/component/section/subject/manufacturedProduct/subjectOf/characteristic/code[@code="see list"]/../value/low/@unit |  |  |  |
| Business Rules | - The following rules can be applied to indicate the low value for storage or handling conditions: - provide when the storage and handling condition has a range, this is the lower end of that range (and the upper end of the range should be provided as the high value) - provide when the storage and handling condition value is greater than this value (no value will be provided in the high value) - provide when the storage and handling condition is exactly equal to a value (note- same value will be entered in high@value) - Storage and handling low value must not be provided when the code is “C101704” - If a storage or handling requirement is provided – either the low or high value is required - The low value can only be 6 characters in length including leading zero, decimal and negative sign. Up to 4 numbers are allowed after the decimal - If characteristic low value and high value are both missing when code is not ‘C101704’, or low value is given when code is ‘C101704’, or is invalid, or given more than once, the AusUDID submission will be rejected as a submission with an invalid Storage and Handling - Storage and handling low unit of measure is not provided when the code is “C101704” - If a low value is provided, the unit of measure must also be provided, and must be a valid value - If the low and high value is provided, the unit of measure must be the same - If low unit of measure is missing when low value is given, or low unit of measure is given when code is ‘C101704’, or is invalid, or given more than once, or is not the same as the high unit of measure, the AusUDID submission will be rejected as a submission with an invalid Storage and Handling. |  |  |  |

#### Storage and Handling Value and Unit of Measure (characteristic.value.high)

| Element | Attribute | Cardinality | Value(s) Allowed Examples | Description Instructions |
| --- | --- | --- | --- | --- |
| value@xsi:type | xsi:type | 1..1 | String IVL_PQ | The xsi:type indicates the data type for the element. |
|  | XPATH: /document/component/structuredBody/component/section/subject/manufacturedProduct/subjectOf/characteristic/code[@code="see list"]/../value/@xsi:type |  |  |  |
| value.high |  | 1..1 |  | This is the container element for the storage and handling condition. |
|  | value | 1..1 | Numeric e.g. 10, 20 | The value of the storage or handling condition. |
|  | XPATH: /document/component/structuredBody/component/section/subject/manufacturedProduct/subjectOf/characteristic/code[@code="see list"]/../value/high/@value |  |  |  |
|  | unit | 1..1 | Alpha Numeric e.g. Celsius | This is the unit of measure for the storage or handling condition. |
|  | XPATH: /document/component/structuredBody/component/section/subject/manufacturedProduct/subjectOf/characteristic/code[@code="see list"]/../value/high/@unit |  |  |  |
| Business Rules | - The following rules can be applied to indicate the high value for storage or handling conditions: - provide when the storage and handling condition has a range, this is the upper end of that range (and the lower end of the range should be provided as the low value) - provide when the storage and handling condition value is less than this value (no value will be provided in the low value) - provide when the storage and handling condition is exactly equal to a value (note- same value will be entered in low@value) - Storage and handling high value must not be provided when the code is “C101704” - If a storage or handling requirement is provided – either the low or high value is required. - The high value can only be 6 characters in length including leading zero, decimal and negative sign. Up to 4 numbers are allowed after the decimal - If characteristic low value and high value are both missing when code is not ‘C101704’, or high value is given when code is ‘C101704’, or is invalid, or given more than once, the AusUDID submission will be rejected as a submission with an invalid Storage and Handling - Storage and handling high unit of measure is not provided when the code is “C101704” - If a high value is provided, the unit of measure must also be provided, and must be a valid value - If the low and high value is provided, the unit of measure must be the same - If high unit of measure is missing when high value is given, or high unit of measure is given when code is ‘C101704’, or is invalid, or given more than once, or is not the same as the low unit of measure, the AusUDID submission will be rejected as a submission with an invalid Storage and Handling. |  |  |  |

#### Device Characteristics – Special Storage Conditions

Indicates any special storage requirements for the device where the value is not structured (e.g. free text instructions for storage and handling conditions). The following XML Snippet includes the elements and attributes required for special storage conditions:

Multiple instances of special storage conditions text values can be submitted for a single device by duplicating the XML Snippet above.

##### Special Storage Condition Type (characteristic.code)

| Element | Attribute | Cardinality | Value(s) Allowed Examples | Description Instructions |
| --- | --- | --- | --- | --- |
| Code |  | 0..* |  | This is the container element for the storage and handling type. |
|  | Code | 1..1 | Alphanumeric C101704 | Code to indicate special storage and handling conditions for a device product. |
|  | XPATH: /document/component/structuredBody/component/section/subject/manufacturedProduct/subjectOf/characteristic/code[@code="C101704"] |  |  |  |
|  | codeSystem | 1..1 | OID 2.16.840.1.113883. 3.26.1.1 | This is the codeSystem that manages the controlled vocabulary. |
|  | XPATH: /document/component/structuredBody/component/section/subject/manufacturedProduct/subjectOf/characteristic/code[@code="C101704"]/@codeSystem |  |  |  |
| Business Rules | - If there is a special storage requirement, the code@code value must be “C101704”. If a special storage requirement does not exist, a characteristic element with this code should not be provided. |  |  |  |

##### Special Storage Condition Text (characteristic.value)

| Element | Attribute | Cardinality | Value(s) Allowed Examples | Description Instructions |
| --- | --- | --- | --- | --- |
| Value |  | 1..1 |  | This is the container element for the special storage text. |
|  | xsi:type | 1..1 | String ST | The xsi:type indicates the data type for the element. |
|  | XPATH: /document/component/structuredBody/component/section/subject/manufacturedProduct/subjectOf/characteristic/code[@code="C101704"]/../value/@xsi:type |  |  |  |
|  | Value | 1..1 | Alphanumerice.g. “keep out of sunlight” | This is the value attribute for special storage condition. |
|  | XPATH: /document/component/structuredBody/component/section/subject/manufacturedProduct/subjectOf/characteristic/code[@code="C101704"]/../value/text() |  |  |  |
| Business Rules | - The xsi:type value must be “ST” - Storage and handling special conditions text is required when the code is “C101704” - The Special Storage Condition Text value should be no more than 200 characters in length and can only contain accepted special characters. Refer to Data types and ‘AusUDID_SPLCodeList.xls’ file in the HL7 SPL Implementation package of files for a list of accepted special characters - If special conditions text is given when code is not ‘C101704’, or is missing when code is ‘C101704’, or is invalid, or given more than once, the AusUDID submission will be rejected as a submission with an invalid Storage and Handling. |  |  |  |

### Device Characteristics – Packaged as Sterile

The Packaged as Sterile indicator is to designate the medical device is free from viable microorganisms (see ISO/TS 11139). The following XML Snippet includes the elements and attributes required for devices packaged as sterile:

#### Device Packaged as Sterile Type (characteristic.code)

| Element | Attribute | Cardinality | Value(s) Allowed Examples | Description Instructions |
| --- | --- | --- | --- | --- |
| Code |  | 1..1 |  | This is the container element for the device packaged as sterile indicator. |
|  | Code | 1..1 | Alphanumeric C101676 | This is the code to indicate the type of characteristic being identified for a device product, specifically the Packaged as sterile indicator. |
|  | XPATH: /document/component/structuredBody/component/section/subject/manufacturedProduct/subjectOf/characteristic/code[@code="C101676"] |  |  |  |
|  | codeSystem | 1..1 | OID 2.16.840.1.113883. 3.26.1.1 | This is the codeSystem that manages the controlled vocabulary. |
|  | XPATH: /document/component/structuredBody/component/section/subject/manufacturedProduct/subjectOf/characteristic/code[@code="C101676"]/@codeSystem |  |  |  |
| Business Rules | - The message must have a Device packaged as Sterile element and the code@code value must be “C101676”. |  |  |  |

#### Device Packaged As Sterile Value (characteristic.value)

| Element | Attribute | Cardinality | Value(s) Allowed Examples | Description Instructions |
| --- | --- | --- | --- | --- |
| Value |  | 1..1 |  | This is the container element for the value of Device Packaged as Sterile. |
|  | xsi:type | 1..1 | Boolean BL | The xsi:type specifies the data type for the Device Packaged as Sterile Indicator value. |
|  | XPATH: /document/component/structuredBody/component/section/subject/manufacturedProduct/subjectOf/characteristic/code[@code="C101676"]/../value/@xsi:type |  |  |  |
|  | Value | 1..1 | Alpha “true” or “false” | Value attribute for the Boolean operator. |
|  | XPATH: /document/component/structuredBody/component/section/subject/manufacturedProduct/subjectOf/characteristic/code[@code="C101676"]/../value/@value |  |  |  |
| Business Rules | - The xsi:type value must be “BL” - A characteristic with code ‘C101676’ is required - Value must be true or false - If characteristicValue is missing, invalid, or given more than once, the AusUDID submission will be rejected as a submission with an invalid Packaged as Sterile |  |  |  |

### Device Characteristics – Sterilisation Method

If the medical device should be sterilised prior to use, the sterilisation method should be provided for the medical device. The following XML Snippet includes the elements and attributes required for the sterilisation method:

#### Sterilisation Method Type (characteristic.code)

| Element | Attribute | Cardinality | Value(s) Allowed Examples | Description Instructions |
| --- | --- | --- | --- | --- |
| Code |  | 0..* |  | This is the container element for the sterilisation method. |
|  | Code | 1..1 | Alphanumeric C84382 | The code attribute indicates the sterilisation method for a device product. |
|  | XPATH: /document/component/structuredBody/component/section/subject/manufacturedProduct/subjectOf/characteristic/code[@code="C84382"] |  |  |  |
|  | codeSystem | 1..1 | OID 2.16.840.1.113883. 3.26.1.1 | This is the codeSystem that manages the controlled vocabulary. |
|  | XPATH: /document/component/structuredBody/component/section/subject/manufacturedProduct/subjectOf/characteristic/code[@code="C84382"]/@codeSystem |  |  |  |
| Business Rules | - If the medical device requires sterilisation prior to use, the Sterilisation Method must be in the message and the code@code value must be “C84382” - If the device does NOT require sterilisation prior to use, then this characteristic element does not need to be provided in the xml - One or more methods can be provided - If a valid sterilisation method is provided, the system will set ‘Requires Sterilisation Prior to Use’ to Yes - If a valid sterilisation method is not provided, the system will set ‘Requires Sterilisation Prior to Use’ to No. |  |  |  |

#### Sterilisation Method Value (characteristic.value)

| Element | Attribute | Cardinality | Value(s) Allowed Examples | Description Instructions |
| --- | --- | --- | --- | --- |
| Value |  | 1..1 |  | This is the container element for the Sterilisation Method Value. |
|  | xsi:type | [1..1] | Alphanumeric CD | The xsi:type specifies the data type for the sterilisation method. |
|  | XPATH: /document/component/structuredBody/component/section/subject/manufacturedProduct/subjectOf/characteristic/code[@code="C84382"]/../value/@xsi:type |  |  |  |
|  | Code | [1..1] | Alphanumeric e.g. C101712 | This is the value attribute for sterilisation method. |
|  | XPATH: /document/component/structuredBody/component/section/subject/manufacturedProduct/subjectOf/characteristic/code[@code="C84382"]/../value/@code |  |  |  |
|  | codeSystem | 1..1 | OID 2.16.840.1.113883. 3.26.1.1 or 1.2.36.1.2001.1005.85 | This is the codeSystem that manages the controlled vocabulary. |
|  | XPATH: /document/component/structuredBody/component/section/subject/manufacturedProduct/subjectOf/characteristic/code[@code="C84382"]/../value/@codeSystem |  |  |  |
| Business Rules | - The xsi:type value must be “CD” - A sterilisation method must be provided if code is ‘C84382’ - The sterilisation method must be a valid value - If characteristicValue is missing when code is ‘C84382’, is invalid, or given more than once, the AusUDID submission will be rejected as a submission with an invalid Sterilisation Methods |  |  |  |

### Device Characteristics – Device required to be labeled as containing natural rubber latex or dry natural rubber

This attribute is used to indicate that the device or packaging contains natural rubber that contacts humans. The following XML Snippet includes the elements and attributes required for this indicator:

#### Device required to be labeled as containing natural rubber latex or dry natural rubber Type (characteristic.code)

| Element | Attribute | Cardinality | Value(s) Allowed Examples | Description Instructions |
| --- | --- | --- | --- | --- |
| code |  | 1..1 |  | This is the container element for the ‘Device required to be labeled as containing natural rubber latex or dry natural rubber’ indicator. |
|  | code | 1..1 | Alphanumeric C101673 | Code value to indicate if the ‘Device required to be labeled as containing natural rubber latex or dry natural rubber’. |
|  | XPATH: /document/component/structuredBody/component/section/subject/manufacturedProduct/subjectOf/characteristic/code[@code="C101673"] |  |  |  |
|  | codeSystem | 1..1 | OID 2.16.840.1.113883. 3.26.1.1 | This is the codeSystem that manages the controlled vocabulary. |
|  | XPATH: /document/component/structuredBody/component/section/subject/manufacturedProduct/subjectOf/characteristic/code[@code="C101673"]/@codeSystem |  |  |  |
| Business Rules | - A characteristic with code ‘C101673’ is required. |  |  |  |

#### Device required to be labeled as containing natural rubber latex or dry natural rubber Value (characteristic.value)

| Element | Attribute | Cardinality | Value(s) Allowed Examples | Description Instructions |
| --- | --- | --- | --- | --- |
| value |  | 1..1 |  | This is the container element for the value of Device required to be labeled as containing natural rubber latex or dry natural rubber. |
|  | xsi:type | 1..1 | Boolean BL | The xsi:type specifies the data type for the Device required to be labeled as containing natural rubber latex or dry natural rubber indicator. |
|  | XPATH: /document/component/structuredBody/component/section/subject/manufacturedProduct/subjectOf/characteristic/code[@code="C101673"]/../value/@xsi:type |  |  |  |
|  | value | 1..1 | Alpha “true” or “false” | This is the value attribute for the Boolean operator. |
|  | XPATH: /document/component/structuredBody/component/section/subject/manufacturedProduct/subjectOf/characteristic/code[@code="C101673"]/../value/@value |  |  |  |
| Business Rules | - The xsi:type value must be “BL” - Value must be true or false - If characteristicValue is missing, invalid, or given more than once, or both device contains latex and device does not contain latex are true, the AusUDID submission will be rejected as a submission with an invalid Device Label. |  |  |  |

### Device Characteristics – Device labeled as "Not made with natural rubber latex"

This attribute is used to indicate that natural rubber latex was not used as materials in the manufacture of the medical product and container. This attribute is only applicable to devices required to label regarding latex and rubber. The following XML Snippet includes the elements and attributes required for this indicator:

#### Device labeled as "Not made with natural rubber latex" (characteristic.code)

| Element | Attribute | Cardinality | Value(s) Allowed Examples | Description Instructions |
| --- | --- | --- | --- | --- |
| code |  | 0..1 |  | Container element for the ‘Device labeled as "Not made with natural rubber latex"’ indicator. |
|  | code | 1..1 | Alphanumeric C106038 | The code attribute to indicate the ‘Device labeled as "Not made with natural rubber latex"’ indicator. |
|  | XPATH: /document/component/structuredBody/component/section/subject/manufacturedProduct/subjectOf/characteristic/code[@code="C106038"] |  |  |  |
|  | codeSystem | 1..1 | OID 2.16.840.1.113883. 3.26.1.1 | This is the codeSystem that manages the controlled vocabulary. |
|  | XPATH: /document/component/structuredBody/component/section/subject/manufacturedProduct/subjectOf/characteristic/code[@code="C106038"]/@codeSystem |  |  |  |
| Business Rules | - The element "Not made with natural rubber latex"’ is not required. If it is provided, the code@code value must be “C106038” - If this data element does not apply to the UDI record, a characteristic data element does not need to be provided. If the data element value is not provided, the system will consider it “false” in the database. |  |  |  |

#### Device labeled as "Not made with natural rubber latex" Value (characteristic.value)

| Element | Attribute | Cardinality | Value(s) Allowed Examples | Description Instructions |
| --- | --- | --- | --- | --- |
| value |  | 1..1 |  | Container element for the value of Device labeled as "Not made with natural rubber latex". |
|  | xsi:type | 1..1 | Boolean BL | The xsi:type specifies the data type for the Device labeled as "Not made with natural rubber latex" indicator. |
|  | XPATH: /document/component/structuredBody/component/section/subject/manufacturedProduct/subjectOf/characteristic/code[@code="C106038"]/../value/@xsi:type |  |  |  |
|  | value | 1..1 | Alpha “true” or “false” | This is the value attribute for the boolean operator. |
|  | XPATH: /document/component/structuredBody/component/section/subject/manufacturedProduct/subjectOf/characteristic/code[@code="C106038"]/../value/@value |  |  |  |
| Business Rules | - The xsi:type value must be “BL” - If provided, value must be true or false - If characteristicValue is missing, invalid, or given more than once, or both device contains latex and device does not contain latex are true, the AusUDID submission will be rejected as a submission with an invalid Device Label |  |  |  |

### Device Characteristics – For Single Use

The Single Use indicator is to designate that the device is intended for one use only or for use on a single patient during a single procedure. The following XML Snippet includes the elements and attributes required for single use products:

#### For Single Use Type (characteristic.code)

| Element | Attribute | Cardinality | Value(s) Allowed Examples | Description Instructions |
| --- | --- | --- | --- | --- |
| code |  | 1..1 |  | This is the container element for the single use indicator. |
|  | code | 1..1 | Alphanumeric C53602 | This is the code attribute to indicate the type of characteristic being identified for a device product, specifically the single use indicator. |
|  | XPATH: /document/component/structuredBody/component/section/subject/manufacturedProduct/subjectOf/characteristic/code[@code="C53602"] |  |  |  |
|  | codeSystem | 1..1 | OID 2.16.840.1.113883. 3.26.1.1 | This is the codeSystem that manages the controlled vocabulary. |
|  | XPATH: /document/component/structuredBody/component/section/subject/manufacturedProduct/subjectOf/characteristic/code[@code="C53602"]/@codeSystem |  |  |  |
| Business Rules | - The Single-use element is required and the code@code value must be “C53602” - A characteristic with code ‘C53602’ is required |  |  |  |

#### For Single Use Value (characteristic.value)

| Element | Attribute | Cardinality | Value(s) Allowed Examples | Description Instructions |
| --- | --- | --- | --- | --- |
| Value |  | 1..1 |  | This is the container element for the value of the single use indicator. |
|  | xsi:type | 1..1 | Alphanumeric CD | The xsi:type specifies the data type for the Single Use indicator. |
|  | XPATH: /document/component/structuredBody/component/section/subject/manufacturedProduct/subjectOf/characteristic/code[@code="C53602"]/../value/@xsi:type |  |  |  |
|  | Code | [1..1] | Alphanumeric C49488 - Yes C49487 - No C48660 - N/A | This is the code for the single use indicator. |
|  | XPATH: /document/component/structuredBody/component/section/subject/manufacturedProduct/subjectOf/characteristic/code[@code="C53602"]/../value/@code |  |  |  |
|  | codeSystem | 1..1 | OID 2.16.840.1.113883. 3.26.1.1 | This is the codeSystem that manages the controlled vocabulary. |
|  | XPATH: /document/component/structuredBody/component/section/subject/manufacturedProduct/subjectOf/characteristic/code[@code="C53602"]/../value/@codesystem |  |  |  |
| Business Rules | - The xsi:type value must be “CD” - The value must be one of the allowed values: - C49488 – Yes (used if the device is for one use or for a single patient during a single procedure) - C49487 – No (used if the device is not for one use or for a single patient during a single procedure and there is a maximum number of reuses) - C48660 - N/A (used if the device is not for one use or for a single patient during a single procure and there is no maximum number of reuses, this includes capital equipment where the manufacturer does not enforce restrictions on the number of times it can be reused). - If characteristicValue is missing, invalid, or given more than once, the AusUDID submission will be rejected as a submission with an invalid Single Use. |  |  |  |

### Device Characteristics – Kit

This attribute is used to indicate that the device is a convenience, combination, in vitro diagnostic (IVD), or medical procedure kit. Kits are a collection of products, including medical devices that are packaged together to achieve a common intended use and is being distributed as a medical device. The following XML Snippet includes the elements and attributes required:

#### Kit Type (characteristic.code)

| Element | Attribute |  | Cardinality | Value(s) Allowed Examples | Description Instructions |
| --- | --- | --- | --- | --- | --- |
| code |  |  | 0..1 |  | This is the container element for the Kit indicator. |
|  | Code |  | 1..1 | Alphanumeric C50021 | Code to indicate the type of characteristic being identified for a device product, specifically the kit indicator. |
|  | XPATH: /document/component/structuredBody/component/section/subject/manufacturedProduct/subjectOf/characteristic/code[@code="C50021"] |  |  |  |  |
|  | codeSystem | 1..1 |  | OID 2.16.840.1.113883. 3.26.1.1 | This is the codeSystem that manages the controlled vocabulary. |
|  | XPATH: /document/component/structuredBody/component/section/subject/manufacturedProduct/subjectOf/characteristic/code[@code="C50021"]/@codeSystem |  |  |  |  |
| Business Rules | - The Kit element is required, and the code@code value must be “C50021”. |  |  |  |  |

#### Kit Value (characteristic.value)

| Element | Attribute | Cardinality | Value(s) Allowed Examples | Description Instructions |
| --- | --- | --- | --- | --- |
| value |  | 1..1 |  | This is the container element for the kit indicator value. |
|  | xsi:type | 1..1 | Boolean BL | The xsi:type specifies the data type for the kit indicator. |
|  | XPATH: /document/component/structuredBody/component/section/subject/manufacturedProduct/subjectOf/characteristic/code[@code="C50021"]/../value/@xsi:type |  |  |  |
|  | value | 1..1 | Alpha “true” or “false” | This is the value attribute for the Boolean operator. |
|  | XPATH: /document/component/structuredBody/component/section/subject/manufacturedProduct/subjectOf/characteristic/code[@code="C50021"]/../value/@value |  |  |  |
| Business Rules | - The xsi:type value must be “BL” - The value must be true or false - If characteristicValue is missing, invalid, or given more than once, the AusUDID submission will be rejected as a submission with an invalid Is Kit. |  |  |  |

### Device Characteristics – Production Identifier in UDI

In AusUDID, each production identifier attribute appears as a Boolean value to indicate if the production identifier attribute is included in the UDI:

- the lot or batch number within which a device was manufactured

- the serial number of a specific device

- the expiration date of a specific device

- the date a specific device was manufactured

- for an HCT/P regulated as a device, the donation identification number of a specific device.

#### Production Identifier - Lot or Batch Number

The following XML Snippet includes the elements and attributes required for products labeled with a lot or batch number:

##### Lot or Batch Number Type (characteristic.code)

| Element | Attribute | Cardinality | Value(s) Allowed Examples | Description Instructions |
| --- | --- | --- | --- | --- |
| code |  | 1..1 |  | This is the container element for the lot or batch number indicator. |
|  | code | 1..1 | Alphanumeric C101672 | This is the code to indicate the type of characteristic being identified for a device product, specifically the lot or batch number indicator. |
|  | XPATH: /document/component/structuredBody/component/section/subject/manufacturedProduct/subjectOf/characteristic/code[@code="C101672"] |  |  |  |
|  | codeSystem | 1..1 | OID 2.16.840.1.113883. 3.26.1.1 | This is the codeSystem that manages the controlled vocabulary. |
|  | XPATH: /document/component/structuredBody/component/section/subject/manufacturedProduct/subjectOf/characteristic/code[@code="C101672"]/@codeSystem |  |  |  |
| Business Rules | - The Lot or Batch Number is required and the code@code value must be “C101672”. |  |  |  |

##### Lot or Batch Number Value (characteristic.value)

| Element | Attribute | Cardinality | Value(s) Allowed Examples | Description Instructions |
| --- | --- | --- | --- | --- |
| Value |  | 1..1 |  | This is the container element for the value of lot or batch number. |
|  | xsi:type | 1..1 | Boolean BL | The xsi:type specifies the data type for the lot or batch number indicator. |
|  | XPATH: /document/component/structuredBody/component/section/subject/manufacturedProduct/subjectOf/characteristic/code[@code="C101672"]/../value/@xsi:type |  |  |  |
|  | value | 1..1 | Alpha “true” or “false” | This is the value attribute for the Boolean operator. |
|  | XPATH: /document/component/structuredBody/component/section/subject/manufacturedProduct/subjectOf/characteristic/code[@code="C101672"]/../value/@value |  |  |  |
| Business Rules | - The xsi:type value must be “BL” - Value must be true or false - If characteristicValue is missing, invalid, or given more than once, the AusUDID submission will be rejected as a submission with an invalid Production Information |  |  |  |

#### Production Identifier – Serial Number

The following XML Snippet includes the elements and attributes required for products labeled with a serial number:

##### Serial Number Type (characteristic.code)

| Element | Attribute | Cardinality | Value(s) Allowed Examples | Description Instructions |
| --- | --- | --- | --- | --- |
| code |  | 1..1 |  | This is the container element for the serial number indicator. |
|  | code | 1..1 | Alphanumeric C101671 | This is the code to indicate the type of characteristic being identified for a device product, specifically the serial number. |
|  | XPATH: /document/component/structuredBody/component/section/subject/manufacturedProduct/subjectOf/characteristic/code[@code="C101671"] |  |  |  |
|  | codeSystem | 1..1 | OID 2.16.840.1.113883. 3.26.1.1 | This is the codeSystem that manages the controlled vocabulary. |
|  | XPATH: /document/component/structuredBody/component/section/subject/manufacturedProduct/subjectOf/characteristic/code[@code="C101671"]/@codeSystem |  |  |  |
| Business Rules | - The Serial Number element is required and the code@code value must be “C101671”. |  |  |  |

##### Serial Number Value (characteristic.value)

| Element | Attribute | Cardinality | Value(s) Allowed Examples | Description Instructions |
| --- | --- | --- | --- | --- |
| value |  | 1..1 |  | This is the container element for the value of serial number. |
|  | xsi:type | 1..1 | Boolean BL | The xsi:type specifies the data type for the serial number indicator. |
|  | XPATH: /document/component/structuredBody/component/section/subject/manufacturedProduct/subjectOf/characteristic/code[@code="C101671"]/../value/@xsi:type |  |  |  |
|  | value | 1..1 | Alpha “true” or “false” | This is the value attribute for the Boolean operator. |
|  | XPATH: /document/component/structuredBody/component/section/subject/manufacturedProduct/subjectOf/characteristic/code[@code="C101671"]/../value/@value |  |  |  |
| Business Rules | - The xsi:type value must be “BL” - Value must be true or false - If characteristicValue is missing, invalid, or given more than once, the AusUDID submission will be rejected as a submission with an invalid Production Information. |  |  |  |

#### Production Identifier - Manufacturing Date

The following XML Snippet includes the elements and attributes required for products labeled with manufacturing date:

##### Manufacturing Date Type (characteristic.code)

| Element | Attribute | Cardinality | Value(s) Allowed Examples | Description Instructions |
| --- | --- | --- | --- | --- |
| Code |  | 1..1 |  | This is the container element for the manufacture date indicator. |
|  | code | 1..1 | Alphanumeric C101669 | This is the code to indicate the type of characteristic being identified for a device product, the manufacture date indicator. |
|  | XPATH: /document/component/structuredBody/component/section/subject/manufacturedProduct/subjectOf/characteristic/code[@code="C101669"] |  |  |  |
|  | codeSystem | 1..1 | OID 2.16.840.1.113883. 3.26.1.1 | This is the codeSystem that manages the controlled vocabulary. |
|  | XPATH: /document/component/structuredBody/component/section/subject/manufacturedProduct/subjectOf/characteristic/code[@code="C101669"]/@codeSystem |  |  |  |
| Business Rules | - The Manufacturing Date is required and the code@code value must be “C101669”. |  |  |  |

##### Manufacturing Date Value (characteristic.value)

| Element | Attribute | Cardinality | Value(s) Allowed Examples | Description Instructions |
| --- | --- | --- | --- | --- |
| Value |  | 1..1 |  | This is the container element for the value of the manufacturing date indicator. |
|  | xsi:type | 1..1 | Boolean e.g. BL | The xsi:type specifies the data type for the manufacturing date indicator. |
|  | XPATH: /document/component/structuredBody/component/section/subject/manufacturedProduct/subjectOf/characteristic/code[@code="C101669"]/../value/@xsi:type |  |  |  |
|  | value | 1..1 | Alpha “true” or “false” | This is the value attribute for the Boolean operator. |
|  | XPATH: /document/component/structuredBody/component/section/subject/manufacturedProduct/subjectOf/characteristic/code[@code="C101669"]/../value/@value |  |  |  |
| Business Rules | - The xsi:type value must be “BL” - Value must be true or false - If characteristicValue is missing, invalid, or given more than once, the AusUDID submission will be rejected as a submission with an invalid Production Information. |  |  |  |

#### Production Identifier – Expiration Date

The following XML Snippet includes the elements and attributes required for products labeled with an expiration date:

##### Expiration Date Type (characteristic.code)

| Element | Attribute | Cardinality | Value(s) Allowed Examples | Description Instructions |
| --- | --- | --- | --- | --- |
| Code |  | 1..1 |  | This is the container element for the expiration date indicator. |
|  | code | 1..1 | Alphanumeric C101670 | This is the code to indicate the type of characteristic being identified for a device product, specifically the expiration date indicator. |
|  | XPATH: /document/component/structuredBody/component/section/subject/manufacturedProduct/subjectOf/characteristic/code[@code="C101670"] |  |  |  |
|  | codeSystem | 1..1 | OID 2.16.840.1.113883. 3.26.1.1 | This is the codeSystem that manages the controlled vocabulary. |
|  | XPATH: /document/component/structuredBody/component/section/subject/manufacturedProduct/subjectOf/characteristic/code[@code="C101670"]/@codeSystem |  |  |  |
| Business Rules | - The Expiration Date element is required and the code@code value must be “C101670”. |  |  |  |

##### Expiration Date Value (characteristic.value)

| Element | Attribute | Cardinality | Value(s) Allowed Examples | Description Instructions |
| --- | --- | --- | --- | --- |
| value |  | 1..1 |  | This is the container element for the value of the expiration date indicator. |
|  | xsi:type | 1..1 | Boolean BL | The xsi:type specifies the data type for the manufacture date indicator. |
|  | XPATH: /document/component/structuredBody/component/section/subject/manufacturedProduct/subjectOf/characteristic/code[@code="C101670"]/../value/@xsi:type |  |  |  |
|  | value | 1..1 | Alpha “true” or “false” | This is the value attribute for the Boolean operator. |
|  | XPATH: /document/component/structuredBody/component/section/subject/manufacturedProduct/subjectOf/characteristic/code[@code="C101670"]/../value/@value |  |  |  |
| Business Rules | - The xsi:type value must be “BL”. - Value must be true or false. - If characteristicValue is missing, invalid, or given more than once, the AusUDID submission will be rejected as a submission with an invalid Production Information. |  |  |  |

#### Production Identifier – Donation Identification Number

The Donation Identification Number is applicable to devices that are also regulated as HCT/Ps and is a number that is assigned to each donation. It can be found on the device label or packaging. The following XML Snippet includes the elements and attributes required for products labeled with a donation identification number:

##### Donation Identification Number Type (characteristic.code)

| Element | Attribute | Cardinality | Value(s) Allowed Examples | Description Instructions |
| --- | --- | --- | --- | --- |
| code |  | 1..1 |  | This is the container element for the donation identification number indicator. |
|  | code | 1..1 | Alphanumeric C113843 | This is the code to indicate the type of characteristic being identified for a device product, specifically the donation identification number indicator. |
|  | XPATH: /document/component/structuredBody/component/section/subject/manufacturedProduct/subjectOf/characteristic/code[@code="C113843"] |  |  |  |
|  | codeSystem | 1..1 | OID 2.16.840.1.113883. 3.26.1.1 | This is the codeSystem that manages the controlled vocabulary. |
|  | XPATH: /document/component/structuredBody/component/section/subject/manufacturedProduct/subjectOf/characteristic/code[@code="C113843"]/@codeSystem |  |  |  |
| Business Rules | - The Donation Identification Number is required and the code@code value must be “C113843”. |  |  |  |

##### Donation Identification Number Value (characteristic.value)

| Element | Attribute | Cardinality | Value(s) Allowed Examples | Description Instructions |
| --- | --- | --- | --- | --- |
| value |  | 1..1 |  | This is the container element for the value of donation identification number. |
|  | xsi:type | 1..1 | Boolean BL | The xsi:type specifies the data type for the donation identification number indicator. |
|  | XPATH: /document/component/structuredBody/component/section/subject/manufacturedProduct/subjectOf/characteristic/code[@code="C113843"]/../value/@xsi:type |  |  |  |
|  | value | 1..1 | Alpha “true” or “false” | This is the value attribute for the Boolean operator. |
|  | XPATH: /document/component/structuredBody/component/section/subject/manufacturedProduct/subjectOf/characteristic/code[@code="C113843"]/../value/@value |  |  |  |
| Business Rules | - The xsi:type value must be “BL” - Value must be true or false - If characteristicValue is missing, invalid, or given more than once, the AusUDID submission will be rejected as a submission with an invalid Production Information. |  |  |  |

### Device Characteristics – MRI Safety Status

This attribute is used to indicate the MR safety status of the device (see ASTM F2503-13 standard). The following XML Snippet includes the elements and attributes required for the MRI Safety Status question, “What MRI safety information does the labelling contain?”:

#### MRI Safety Status Type (characteristic.code)

| Element | Attribute | Cardinality | Value(s) Allowed Examples | Description Instructions |
| --- | --- | --- | --- | --- |
| code |  | 1..1 |  | This is the container element for the sterilisation method. |
|  | code | 1..1 | Alphanumeric C106044 | This is the code to indicate the MRI Safety Status of the medical device product. |
|  | XPATH: /document/component/structuredBody/component/section/subject/manufacturedProduct/subjectOf/characteristic/code[@code="C106044"] |  |  |  |
|  | codeSystem | 1..1 | OID 2.16.840.1.113883. 3.26.1.1 | This is the codeSystem that manages the controlled vocabulary. |
|  | XPATH: /document/component/structuredBody/component/section/subject/manufacturedProduct/subjectOf/characteristic/code[@code="C106044"]/@codeSystem |  |  |  |
| Business Rules | - A response to, “What MRI safety information does the labeling contain?" is required for all UDI records and the code@code value must be “C106044”. |  |  |  |

#### MRI Safety Status Value (characteristic.value)

| Element | Attribute | Cardinality | Value(s) Allowed Examples | Description Instructions |
| --- | --- | --- | --- | --- |
| value |  | 1..1 |  | This is the container element for the MRI Safety Status. |
|  | xsi:type | [1..1] | Alphanumeric CD | The xsi:type specifies the data type for the MRI Safety Status. |
|  | XPATH: /document/component/structuredBody/component/section/subject/manufacturedProduct/subjectOf/characteristic/code[@code="C106044"]/../value/@xsi:type |  |  |  |
|  | code | [1..1] | Alphanumeric C113844 - Labeling does not contain MRI Safety Information C106046 - MR Conditional C106045 - MR Safe C106047 - MR Unsafe | This is the value attribute for the coded value. |
|  | XPATH: /document/component/structuredBody/component/section/subject/manufacturedProduct/subjectOf/characteristic/code[@code="C106044"]/../value/@code |  |  |  |
|  | codeSystem | 1..1 | OID 2.16.840.1.113883. 3.26.1.1 | This is the codeSystem that manages the controlled vocabulary. |
|  | XPATH: /document/component/structuredBody/component/section/subject/manufacturedProduct/subjectOf/characteristic/code[@code="C106044"]/../value/@codesystem |  |  |  |
| Business Rules | - The xsi:type value must be “CD” - The value must be one of the allowed values: - C113844 - Labeling does not contain MRI Safety Information - C106046 - MR Conditional - C106045 - MR Safe - C106047 - MR Unsafe - If characteristicValue is missing, invalid, or given more than once, the AusUDID submission will be rejected as a submission with an invalid MRI Safety |  |  |  |

### Device Characteristics – Software

This attribute is used to indicate if the device is Software as a medical device, or is a medical device incorporating software.

#### Software Type (characteristic.code)

| Element | Attribute | Cardinality | Value(s) Allowed Examples | Description Instructions |
| --- | --- | --- | --- | --- |
| code |  | 1..1 |  | This is the container element for is the device software or it incorporates software. |
|  | Code | 1..1 | Alphanumeric AU1007 | This is the code to indicate the device is software or it incorporates software. |
|  | XPATH: /document/component/structuredBody/component/section/subject/manufacturedProduct/subjectOf/characteristic/code[@code="AU1007"] |  |  |  |
|  | codeSystem | 1..1 | OID 1.2.36.1.2001.1005.85 | This is the codeSystem that manages the controlled vocabulary. |
|  | XPATH: /document/component/structuredBody/component/section/subject/manufacturedProduct/subjectOf/characteristic/code[@code="AU1007"]/@codeSystem |  |  |  |
| Business Rules | - A response to, “Is the device software or incorporates software?" is required for all UDI records and the code@code value must be “AU1007”. |  |  |  |

#### Software Value (characteristic.value)

| Element | Attribute | Cardinality | Value(s) Allowed Examples | Description Instructions |
| --- | --- | --- | --- | --- |
| value |  | 1..1 |  | This is the container element for is the device software or it incorporates software. |
|  | xsi:type | [1..1] | Alphanumeric CD | The xsi:type specifies the data type for Software value. |
|  | XPATH: /document/component/structuredBody/component/section/subject/manufacturedProduct/subjectOf/characteristic/code[@code="AU1007"]/../value/@xsi:type |  |  |  |
|  | Code | [1..1] | Alphanumeric AU1017 - Software as a Medical Device (SaMD) AU1018 - Medical device incorporating software AU1019 - No | This is the value attribute for the coded value. |
|  | XPATH: /document/component/structuredBody/component/section/subject/manufacturedProduct/subjectOf/characteristic/code[@code="AU1007"]/../value/@code |  |  |  |
|  | codeSystem | 1..1 | OID 1.2.36.1.2001.1005.85 | This is the codeSystem that manages the controlled vocabulary. |
|  | XPATH: /document/component/structuredBody/component/section/subject/manufacturedProduct/subjectOf/characteristic/code[@code="AU1017"]/../value/@codesystem |  |  |  |
| Business Rules | - The xsi:type value must be “CD” - The value must be one of the allowed values: - AU1017 - Software as a Medical Device (SaMD) - AU1018 - Medical device incorporating software - AU1019 - No - If characteristicValue is missing, invalid, or given more than once, the AusUDID submission will be rejected as a submission with an invalid Software. |  |  |  |

### Device Characteristics – Restricted Number of reuses

This element records the number of reuses if the number of reuses is restricted. The following XML Snippet includes the element that indicates the restricted number of reuses:

#### Restricted number of reuses (characteristic.code)

| Element | Attribute | Cardinality | Value(s) Allowed Examples | Description Instructions |
| --- | --- | --- | --- | --- |
| Code |  | 0..1 |  | The code element is the container element for Restricted number of reuses. |
|  | code | 1..1 | Alphanumeric AU1004 | The code for restricted number of reuses. |
|  | XPATH: /document/component/structuredBody/component/section/subject/manufacturedProduct/subjectOf/characteristic/code[@code="AU1004"] |  |  |  |
|  | codeSystem | 1..1 | OID 1.2.36.1.2001.1005.85 | This is the codeSystem that manages the controlled vocabulary. |
|  | XPATH: /document/component/structuredBody/component/section/subject/manufacturedProduct/subjectOf/characteristic/code[@code="AU1004"]/@codeSystem |  |  |  |
| Business Rules | - If ‘For Single Use’ is ‘No’, restricted number of reuses must be provided and the code@code value must be “AU1004” - If this data element does not apply to the UDI record, a characteristic data element does not need to be provided. |  |  |  |

#### Restricted number of reuses (characteristic.value)

| Element | Attribute | Cardinality | Value(s) Allowed Examples | Description Instructions |
| --- | --- | --- | --- | --- |
| value |  | 1..1 |  | This is the container element for the restricted number of reuses. |
|  | xsi:type | 1..1 | Integer INT | The xsi:type indicates the data type for the element. |
|  | XPATH: /document/component/structuredBody/component/section/subject/manufacturedProduct/subjectOf/characteristic/code[@code=”AU1004”]/../value/@xsi:type |  |  |  |
|  | Value | 1..1 | Number e.g. 5 | This is the value attribute for the Integer operator. |
|  | XPATH: /document/component/structuredBody/component/section/subject/manufacturedProduct/subjectOf/characteristic/code[@code="AU1004"]/../value/@value |  |  |  |
| Business Rules | - The value must be an integer - Value is required if code ‘AU1004’ is provided - If provided, value must be an integer - If characteristicValue is missing, invalid, or given more than once, the AusUDID submission will be rejected as a submission with an invalid Restricted Number of Reuses |  |  |  |

# Common DI Validation

| Business Rules | - A device identifier with GS1 as Issuing Agency shall be 14 digits in length; DIs with fewer digits should be appended with leading zeros - A device identifier with GS1 Issuing Agency shall be a numeric only value - A device identifier with GS1 Issuing Agency will have a valid check digit as per GS1 guidelines - A device identifier with ICCBBA Issuing Agency shall be 16 digits in length - A device identifier with ICCBBA Issuing Agency shall be an alphanumeric value - A device identifier with HIBCC Issuing Agency shall be 6-23 digits in length, first character alphabetic and last character numeric, and cannot include special characters - A device identifier with HIBCC Issuing Agency shall be an alphanumeric value. |
| --- | --- |

# XML Message Sample

<?xml version="1.0" encoding="UTF-8"?>

<!--Note: This AusUDID SPL XML Sample is not meant to be valid against the business rules for a AusUDID submission.  This is a comprehensive example of all the potential elements that can be submitted to the AusUDID.  Do not attempt to submit this sample as a test submission.-->

<document xmlns="urn:hl7-org:v3" xmlns:xsi="http://www.w3.org/2001/XMLSchema-instance" xsi:schemaLocation=AU"urn:hl7-org:v3 GUDIDSPL.xsd">

<!--The document element is administrative information. (all elements are required)-->

<!--id@root is a globally unique identifier for the submission and should be created by the sending system.  The sender should be following the algorithm rules set for in OSF's Universally Unique Identifier standards.-->

<!--code@code for the submission type (AusUDID Submission = C101716)-->

<!--code@code for the submission type (AusUDID Correction = AU1002) -->

<!--effectiveTime@value for the DI Record Publish Date; all dates should be formatted as yyyymmdd -->

<!--setId@root is a globally unique identifier for the document that will be used to link subsequent versions of the DI Record with previous versions.  Note this is also a UUID, and must follow the rules for generating a globally unique identifier value.-->

<!--versionNumber@value is "1" for the initial submission and increments by one for any updates to the DI Record-->

<id root="57863671-1527-4e51-b26b-3065a868d949"/>

<!--Document Type code is "C101716" for the initial submission and any variations to the DI Record-->

<code code="C101716" codeSystem="2.16.840.1.113883.3.26.1.1"/>

<!--Document Type code is "AU1002" for any Correction to the DI Record-->

<code code="AU1002" codeSystem="1.2.36.1.2001.1005.85">

<!--Translation code is for codified reasons for correction-->

<translation code="AU1031" displayName="Data entry error"/>

<!--Translation original free text is for free text reason for correction-->

<translation>

<originalText>Free-text reason for correction</originalText>

</translation>

</code>

<effectiveTime xsi:type="TS" value="20131118"/>

<setId root="57863671-1527-4e51-b26b-3065a868d948"/>

<versionNumber value="1"/>

<!--The author element provides administrative information about who is submitting the DI Record. One author is required-->

<!--provide the TGA organisation number for the Submitter Organization. This information will be used for validation activities only-->

<!--code@code is the coded value for either the Manufacturer Organization (C101684), Sponsor (AU1000), Agent (AU1001), or Third-Party (C101710)-->

<!--code@codeSystem, 2.16.840.1.113883.3.26.1.1 is the OID for NCIt-->

<!--code@codeSystem, 1.2.36.1.2001.1005.85 is the OID for TGA-->

<!--id.root= TGA ID; OID is for the TGA Identifier system-->

<!--id.extension = TGA ID for the Manufacturer, Sponsor, Agent or the Third Party submitting the HL7 SPL-->

<!--Note the system will pull the data from TGA Stakeholder Management and ARTG System to display the company name and physical address.-->

<!--Only one value is expected for the author. The sender should indicate the correct value for who is submitting the XML to the TGA.-->

<author>

<!--Organization submitting the SPL XML (one and only one required)-->

<assignedEntity>

<representedOrganization>

<!--If the submitter-organization is the Manufacturer organization, the code=C101684-->

<assignedEntity1>

<code code="C101684" codeSystem="2.16.840.1.113883.3.26.1.1"/>

<representedOrganization>

<id root="1.2.36.1.2001.1005.84" extension="12345"/>

</representedOrganization>

</assignedEntity1>

</representedOrganization>

</assignedEntity>

</author>

<component>

<structuredBody>

<component>

<section>

<id/>

<code/>

<effectiveTime/>

<!--This subject element contains all of the AusUDID DI Record information.-->

<subject>

<!--classCode=MANU for the AusUDID Submission, without this value, the XML may fail validation-->

<manufacturedProduct classCode="MANU">

<manufacturedProduct>

<!--Primary Device Identifier (required)-->

<!--code@code is the location of the Primary Device Identifier (DI), base package DI#10010010010011-->

<!-- code@codeSystem is the device-issuing-agency associated with the Primary DI number (below the OID for GS1 is shown)-->

<code code="10010010010011" codeSystem="1.3.160"/>

<!--The Trade Name/Brand name (required) -->

<!--The element is the free-text field for the Brand/Proprietary/Trade Name of the medical device-->

<name>Trade Name/Brand Name</name>

<!--The Additional Product Description (optional)-->

<!--The desc element is the free-text description-->

<desc>add device description here</desc>

<!--The Device Model Number is required -->

<asIdentifiedEntity>

<!--id@root is a globally unique identifier assigned by the company for the model number-->

<!--id@extension is the company issued Device Model Number -->

<!--code@code, C99285 is the code to indicate the type of Device Model, and C99286 for Catalogue Number -->

<!--code@codeSystem, 2.16.840.1.113883.3.26.1.1 is the OID for NCIt-->

<id root="12345678-1234-1234-1234-123456789012" extension="Model T-1000"/>

<code code="C99285" codeSystem="2.16.840.1.113883.3.26.1.1"/>

</asIdentifiedEntity>

<!-- The Catalogue number for the device (Optional)-->

<asIdentifiedEntity>

<!--id@root is a globally unique identifier assigned by the company for the catalogue number-->

<!--id@extension is the company issued for the Catalogue Number -->

<!--code@code, C99285 is the code to indicate the type of Device Model, and C99286 for Catalogue Number -->

<!--code@codeSystem, 2.16.840.1.113883.3.26.1.1 is the OID for NCIt-->

<id root="12345678-1234-1234-1234-123456789013" extension="Catalog-1000"/>

<code code="C99286" codeSystem="2.16.840.1.113883.3.26.1.1"/>

</asIdentifiedEntity>

<!-- ARTG ID. This is the approval to supply the device in Australia. This can be repeated for each ARTG-->

<asIdentifiedEntity>

<!--id@root,1.2.36.1.2001.1005.83-->

<!--id@extension is the device ARTG ID -->

<!--code@code, AU1016 is the code to indicate the ARTG ID -->

<!--code@codeSystem, 1.2.36.1.2001.1005.85 is the OID for Australian Code System-->

<id root="1.2.36.1.2001.1005.83" extension="413471"/>

<code code="AU1016" codeSystem="1.2.36.1.2001.1005.85"/>

<!--The Sponsor Id. This is the TGA Organisation Number for the Sponsor for this ARTG approval-->

<!--id@root,1.2.36.1.2001.1005.84 is the OID for Australian TGA IDs-->

<!--id@extension=AU TGA number for the Sponsoring Organization-->

<assigningOrganization>

<id root="1.2.36.1.2001.1005.84" extension="12345"/>

</assigningOrganization>

<!-- Supporting Documents. This is the URL for any required supporting documents provided by this Sponsor for the device supplied under the ARTG. This can be repeated for each Supporting Document-->

<subjectOf>

<document>

<!-- Document URL. This is the URL for the supporting document-->

<!--id@extension is the URL-->

<id extension="http://example.org/documents/123456789/product_leaflet.html"/>

<!--Document Type-->

<!--code@code, the specific type of document information being sent -->

<!--code@codeSystem, 1.2.36.1.2001.1005.85 is the OID for Australian Code System-->

<code code="AU1008" codeSystem="1.2.36.1.2001.1005.85" displayName="Patient Information Leaflet"/>

<!-- Document Start and End Date-->

<effectiveTime>

<low value="20010914"/>

<high value="20200914"/>

</effectiveTime>

</document>

</subjectOf>

<!--/Supporting Documents-->

</asIdentifiedEntity>

<!--/ARTG ID-->

<!-- C -->

<asSpecializedKind>

<generalizedMaterialKind>

<!--code@code is the Device Class code (Optional) -->

<!--codeSystem, 1.2.36.1.2001.1005.85, is the OID for Aus Code System -->

<code code="AU1020" codeSystem="1.2.36.1.2001.1005.85"/>

</generalizedMaterialKind>

</asSpecializedKind>

<!--The GMDN Preferred Term (Optional)-->

<asSpecializedKind>

<generalizedMaterialKind>

<!--code@code is the 5-digit GMDN Preferred Term code (99999 is a placeholder)-->

<!--code@codeSystem, 2.16.840.1.113883.6.276, is the OID for GMDN Agency-->

<!--The AusUDID system will resolve the Preferred Term name and definition based on the code provided.-->

<code code="99999" codeSystem="2.16.840.1.113883.6.276"/>

</generalizedMaterialKind>

</asSpecializedKind>

<!--Secondary Device Identifier (optional) -->

<asEquivalentEntity>

<!--code@code, C101724 is the code for Secondary Device Identifier)-->

<!--code@codeSystem, 2.16.840.1.113883.3.26.1.1 is the OID for NCIt-->

<code code="C101724" codeSystem="2.16.840.1.113883.3.26.1.1"/>

<!--definingMaterialKind is the element used to provide the Secondary Device Identifier-->

<!--code@code is the Secondary Device Identifier value-->

<!--code@codeSystem, 2.16.840.1.113883.6.40 is the OID for HIBCC.  The code system must not be the same issuing agency as the one for the Primary Device Identifier - i.e., it needs to be one of the other two options available for the Secondary Device Identifier.-->

<definingMaterialKind>

<code code="H123456789" codeSystem="2.16.840.1.113883.6.40"/>

</definingMaterialKind>

</asEquivalentEntity>

<!--Unit of Use Device Identifier (optional) -->

<asEquivalentEntity>

<!--The Unit of Use Device Identifier is provided with the asEquivalentEntity element.-->

<!--code@code, C101717 is the code for a Unit of Use Device Identifier)-->

<!--code@codeSystem, 2.16.840.1.113883.3.26.1.1 is the OID for NCIt-->

<code code="C101717" codeSystem="2.16.840.1.113883.3.26.1.1"/>

<!--definingMaterialKind indicates the Unit of Use Device Identifier-->

<!--code@code is the Unit of Use Device Identifier Number-->

<!--code@codeSystem 1.3.160, is the OID for GS1.  Note that this codeSystem needs to be the same codeSystem as provided for the Primary Device Identifier, otherwise it will not pass validation.)-->

<definingMaterialKind>

<code code="123456794830384" codeSystem="1.3.160"/>

</definingMaterialKind>

</asEquivalentEntity>

<!--Direct Marking Device Identifier (optional) -->

<asEquivalentEntity>

<!--The Direct Marking Device Identifier is provided with the asEquivalentEntity element.-->

<!--code@code, C101678 is the code for a Direct Marking Device Identifier)-->

<!--code@codeSystem, 2.16.840.1.113883.3.26.1.1 is the OID for NCIt-->

<code code="C101678" codeSystem="2.16.840.1.113883.3.26.1.1"/>

<!--definingMaterialKind indicates the Direct Marking Device Identifier-->

<!--code@code is the Direct Marking Device Identifier Number-->

<!--code@codeSystem 1.3.160, is the OID for GS1.  Note that this codeSystem needs to be the same codeSystem as provided for the Primary Device Identifier, otherwise it will not pass validation.)-->

<definingMaterialKind>

<code code="123456794" codeSystem="1.3.160"/>

</definingMaterialKind>

</asEquivalentEntity>

<!--Previous Device Identifier (optional) -->

<asEquivalentEntity>

<!--The Previous Device Identifier is provided with the asEquivalentEntity element.-->

<!--code@code, C125195 is the code for a Previous Device Identifier)-->

<!--code@codeSystem, 2.16.840.1.113883.3.26.1.1 is the OID for NCIt-->

<code code="C125195" codeSystem="2.16.840.1.113883.3.26.1.1"/>

<!--definingMaterialKind indicates the Previous Device Identifier-->

<!--code@code is the Previous Device Identifier Number-->

<!--code@codeSystem 1.3.160, is the OID for GS1.-->

<definingMaterialKind>

<code code="12345678901234" codeSystem="1.3.160"/>

</definingMaterialKind>

</asEquivalentEntity>

<!--Package Hierarchy #1, Configuration #1: DI#201, Quantity in Package=4, Package type=carton, Package Discontinue Date=9/1/2014, Contains base package DI#10010010010011-->

<asContent>

<quantity>

<numerator value="100"/>

<denominator/>

</quantity>

<containerPackagedProduct>

<!--code@code is the device identifier value DI#= 201-->

<!--code@codeSystem is the OID for the issuing agency for the device identifier, GS1 (1.3.160)-->

<!--name is the package type, "carton"-->

<!--capacityQuantity@value is the quantity per package, 4-->

<code code="201" codeSystem="1.3.160"/>

<name>carton</name>

<capacityQuantity value="4"/>

<asManufacturedProduct>

<subjectOf>

<marketingAct>

<!--effectiveTime.high@value is the Sponsor Package Commercial Distribution End Date, 20140901-->

<effectiveTime>

<low/>

<high value="20140901"/>

</effectiveTime>

</marketingAct>

</subjectOf>

</asManufacturedProduct>

<!--Package hierarchy #1, Configuration #2: DI#301, Quantity in Package=5, Package type=case, Package Distribution End Date =9/1/2014, Contains DI#-201-->

<asContent>

<containerPackagedProduct>

<!--code@code is the device identifier value DI#= 301-->

<!--code@codeSystem is the OID for the issuing agency for the device identifier, GS1 (1.3.160)-->

<!--name is the package type, "case"-->

<!--capacityQuantity@value is the quantity per package, 5-->

<code code="301" codeSystem="1.3.160"/>

<name>case</name>

<capacityQuantity value="5"/>

<asManufacturedProduct>

<subjectOf>

<marketingAct>

<!--effectiveTime.high@value is the Sponsor Package Commercial Distribution End Date, 20140901-->

<effectiveTime>

<low/>

<high value="20140901"/>

</effectiveTime>

</marketingAct>

</subjectOf>

</asManufacturedProduct>

</containerPackagedProduct>

</asContent>

</containerPackagedProduct>

</asContent>

<!--Package Hierarchy #2, Configuration #3: DI#401, Quantity in Package=4, Package type=carton, Package Distribution End Date=9/1/2014, Contains base package DI#10010010010011-->

<asContent>

<quantity>

<numerator value="100"/>

<denominator/>

</quantity>

<!--code@code is the device identifier value DI#= 401-->

<!--code@codeSystem is the OID for the issuing agency for the device identifier, GS1 (1.3.160)-->

<!--name is the package type, "carton"-->

<!--capacityQuantity@value is the quantity per package, 4-->

<containerPackagedProduct>

<code code="401" codeSystem="1.3.160"/>

<name>carton</name>

<capacityQuantity value="4"/>

<asManufacturedProduct>

<subjectOf>

<marketingAct>

<!--effectiveTime.high@value is the Sponsor Package Commercial Distribution End Date, 20140901-->

<effectiveTime>

<low/>

<high value="20140901"/>

</effectiveTime>

</marketingAct>

</subjectOf>

</asManufacturedProduct>

<asContent>

<!--Package hierarchy #2, Configuration #4: DI#501, Quantity in Package=5, Package type=case, Package Distribution End Date=9/1/2014, Contains DI#-401-->

<!--code@code is the device identifier value DI#= 501-->

<!--code@codeSystem is the OID for the issuing agency for the device identifier, GS1 (1.3.160)-->

<!--name is the package type, "case"-->

<!--capacityQuantity@value is the quantity per package, 5-->

<containerPackagedProduct>

<code code="501" codeSystem="1.3.160"/>

<name>case</name>

<capacityQuantity value="5"/>

<asManufacturedProduct>

<subjectOf>

<marketingAct>

<!--effectiveTime.high@value is the Sponsor Package Commercial Distribution End Date, 20140901-->

<effectiveTime>

<low/>

<high value="20140901"/>

</effectiveTime>

</marketingAct>

</subjectOf>

</asManufacturedProduct>

</containerPackagedProduct>

</asContent>

</containerPackagedProduct>

</asContent>

</manufacturedProduct>

<!--id@root, 1.2.36.1.2001.1005.84 is the OID for Australian TGA IDs-->

<!--id@extension=AU TGA number for the Manufacturer Organization-->

<manufacturerOrganization>

<id root="1.2.36.1.2001.1005.84" extension="12345"/>

<!-- Manufacturer Name must be the same as what is recorded in TBS -->

<name>Manufacturer Name</name>

</manufacturerOrganization>

<!--Production Identifier on Label - Serial Number (required)-->

<!--code@code, C101671 is the code for Controlled by Serial number-->

<!--code@codeSystem, 2.16.840.1.113883.3.26.1.1 is the OID for NCIt-->

<!--value@xsi:type is required to indicate the characteristic has a Boolean data type-->

<!--value@value is True or False -->

<subjectOf>

<characteristic>

<code code="C101671" codeSystem="2.16.840.1.113883.3.26.1.1"/>

<value xsi:type="BL" value="false"/>

</characteristic>

</subjectOf>

<subjectOf>

<!--Production Identifier on Label - Lot or Batch Number (required)-->

<!--code@code, C101672 is the code for Controlled by Lot Number-->

<!--code@codeSystem, 2.16.840.1.113883.3.26.1.1 is the OID for NCIt-->

<!--value@xsi:type is required to indicate the characteristic has a Boolean data type-->

<!--value@value is True or False -->

<characteristic>

<code code="C101672" codeSystem="2.16.840.1.113883.3.26.1.1"/>

<value xsi:type="BL" value="false"/>

</characteristic>

</subjectOf>

<subjectOf>

<!--Production Identifier on Label - Expiration Date (required)-->

<!--code@code, C101670 is the code for Controlled by Expiration Date-->

<!--code@codeSystem, 2.16.840.1.113883.3.26.1.1 is the OID for NCIt-->

<!--value@xsi:type is required to indicate the characteristic has a Boolean data type-->

<!--value@value is True or False -->

<characteristic>

<code code="C101670" codeSystem="2.16.840.1.113883.3.26.1.1"/>

<value xsi:type="BL" value="false"/>

</characteristic>

</subjectOf>

<subjectOf>

<!--Production Identifier on Label - Manufacturing Date (required)-->

<!--code@code, C101669 is the code for Controlled by Manufacturing Date-->

<!--code@codeSystem, 2.16.840.1.113883.3.26.1.1 is the OID for NCIt-->

<!--value@xsi:type is required to indicate the characteristic has a Boolean data type-->

<!--value@value is True or False -->

<characteristic>

<code code="C101669" codeSystem="2.16.840.1.113883.3.26.1.1"/>

<value xsi:type="BL" value="false"/>

</characteristic>

</subjectOf>

<subjectOf>

<!--Production Identifier on Label - Donation Identification Number (required)-->

<!--code@code, C113843 is the code for Donation Identification Number-->

<!--code@codeSystem, 2.16.840.1.113883.3.26.1.1 is the OID for NCIt-->

<!--value@xsi:type is required to indicate the characteristic has a Boolean data type-->

<!--value@value is True or False -->

<characteristic>

<code code="C113843" codeSystem="2.16.840.1.113883.3.26.1.1"/>

<value xsi:type="BL" value="false"/>

</characteristic>

</subjectOf>

<subjectOf>

<!--Clinically Relevant Size is a characteristic that can either be sent with a CV or as free text.-->

<characteristic>

<!--code@code, C96684 is the code for longest diameter; clinically-relevant-size-type are available for several known size measures.  For testing, only select values are available in the controlled vocabulary.  Additional size types may be added in the future.-->

<!--code@codeSystem, 2.16.840.1.113883.3.26.1.1 is the OID for NCIt-->

<!--value@xsi:type is required to indicate the characteristic has a Physical Quantity data type-->

<!--value@value is the measurement value -->

<!--value@unit is the unit of measurement -->

<code code="C96684" codeSystem="2.16.840.1.113883.3.26.1.1"/>

<value xsi:type="PQ" value="3" unit="m"/>

</characteristic>

</subjectOf>

<subjectOf>

<!--Clinically Relevant Size - free text-->

<!--code@code, C106041 is the code for providing a free-text clinically-relevant-size.  For testing, this should be used when size-types are not available in the controlled vocabulary.-->

<!--code@codeSystem, 2.16.840.1.113883.3.26.1.1 is the OID for NCIt-->

<!--value@xsi:type is required to indicate the characteristic has a String data type-->

<!--value element should include the free-text between the value tags, as shown -->

<characteristic>

<code code="C106041" codeSystem="2.16.840.1.113883.3.26.1.1"/>

<value xsi:type="ST">Size text</value>

</characteristic>

</subjectOf>

<subjectOf>

<!--Storage and Handling Requirements (Provide as many as necessary)-->

<!--code@code, C101707 is the code for Storage Environment Temperature; storage-handling-conditions are available.  For testing, only select values are available in the controlled vocabulary.  Additional storage and handling conditions may be added in the future.-->

<!--code@codeSystem, 2.16.840.1.113883.3.26.1.1 is the OID for NCIt-->

<!--value@xsi:type is required to indicate the characteristic has a Physical Quantity Interval data type-->

<!--value.low@value is the measurement value; provide when temperature has a range, provide when the value is less than this value or if the value is exactly this temperature (note- same value will be entered in high@value)-->

<!--value.low@unit is the unit of measurement -->

<!--value.high@value is the measurement value; provide when temperature has a range, provide when the value is greater than this value or if the value is exactly this temperature (note- same value will be entered in low@value)- -->

<!--value.high@unit is the unit of measurement -->

<characteristic>

<code code="C101707" codeSystem="2.16.840.1.113883.3.26.1.1"/>

<value xsi:type="IVL_PQ">

<low value="0" unit="Cel"/>

<high value="10" unit="Cel"/>

</value>

</characteristic>

</subjectOf>

<subjectOf>

<!--Special Storage Condition Text (provide as many as necessary)-->

<!--code@code, C101704 is the code for providing a free-text special-storage-condition.  For testing, this element should be used when storage-requirements are not available in the controlled vocabulary.-->

<!--code@codeSystem, 2.16.840.1.113883.3.26.1.1 is the OID for NCIt-->

<!--value@xsi:type is required to indicate the characteristic has a String data type-->

<!--value element should include the free-text between the value tags, as shown -->

<characteristic>

<code code="C101704" codeSystem="2.16.840.1.113883.3.26.1.1"/>

<value xsi:type="ST1">keep out of sunlight</value>

</characteristic>

</subjectOf>

<subjectOf>

<!--Sterilization - Is the product packaged as sterile? (required)-->

<!--code@code, C101676 is the code for Packaged as Sterile-->

<!--code@codeSystem, 2.16.840.1.113883.3.26.1.1 is the OID for NCIt-->

<!--value@xsi:type is required to indicate the characteristic has a Boolean data type-->

<!--value@value is True or False -->

<characteristic>

<code code="C101676" codeSystem="2.16.840.1.113883.3.26.1.1"/>

<value xsi:type="BL" value="true"/>

</characteristic>

</subjectOf>

<!--Sterilization Method - Requires sterilization prior to use -->

<!--If sterilization method code (e.g., C101712- Dry Heat) is provided and matches the sterilization values - the question - requires  sterilization prior to use will be marked "True". -->

<!--If this element is not present, requires sterilization prior to use will be marked "False". -->

<!--code@code, C84382 indicates the package needs to be sterilized prior to use-->

<!--code@codeSystem, 2.16.840.1.113883.3.26.1.1 is the OID for NCIt-->

<subjectOf>

<characteristic>

<code code="C84382" codeSystem="2.16.840.1.113883.3.26.1.1"/>

<!--value@xsi:type is required to indicate the characteristic has a Coded data type-->

<!--value@code, C101676 is the code for Sterilization Method. sterilization-method values are available as per the regulations.  Below the sample has C101712- Dry Heat as an example-->

<!--value@codeSystem, 2.16.840.1.113883.3.26.1.1 is the OID for NCIt-->

<value xsi:type="CD" code="AU1009" codeSystem="1.2.36.1.2001.1005.85" displayName="Beta Radiation Sterilization"/>

</characteristic>

</subjectOf>

<subjectOf>

<!--Labeled as Containing Natural Rubber Latex (required)-->

<!--code@code, C101673 is the code for Labeled as Containing Natural Rubber Latex-->

<!--code@codeSystem, 2.16.840.1.113883.3.26.1.1 is the OID for NCIt-->

<!--value@xsi:type is required to indicate the characteristic has a Boolean data type-->

<!--value@value is True or False -->

<characteristic>

<code code="C101673" codeSystem="2.16.840.1.113883.3.26.1.1"/>

<value xsi:type="BL" value="true"/>

</characteristic>

</subjectOf>

<subjectOf>

<!--Not Made with Natural Rubber Latex-->

<!--code@code, C106038 is the code for -->

<!--code@codeSystem, 2.16.840.1.113883.3.26.1.1 is the OID for NCIt-->

<!--value@xsi:type is required to indicate the characteristic has a Boolean data type-->

<!--value@value is True or False -->

<characteristic>

<code code="C106038" codeSystem="2.16.840.1.113883.3.26.1.1"/>

<value xsi:type="BL" value="true"/>

</characteristic>

</subjectOf>

<subjectOf>

<!--Single Use (required) -->

<!--code@code, C53602 is the code for Single Use-->

<!--code@codeSystem, 2.16.840.1.113883.3.26.1.1 is the OID for NCIt-->

<!--value@xsi:type is required to indicate the characteristic has a Coded data type-->

<!--value@code is the coded answer Yes - C49488, No - C49487, N/A - C48660-->

<!--value@codeSystem, 2.16.840.1.113883.3.26.1.1 is the OID for NCIt-->

<characteristic>

<code code="C53602" codeSystem="2.16.840.1.113883.3.26.1.1"/>

<value xsi:type="CD" code="C49487" codeSystem="2.16.840.1.113883.3.26.1.1"/>

</characteristic>

</subjectOf>

<subjectOf>

<!--MRI Safety Status (required) -->

<!--code@code, C106044 is the code for MRI Safety-->

<!--code@codeSystem, 2.16.840.1.113883.3.26.1.1 is the OID for NCIt-->

<!--value@xsi:type is required to indicate the characteristic has a Coded data type-->

<!--value@code is the coded answer -->

<!--C113844 Labeling does not contain MRI Safety Information -->

<!--C106046 MR Conditional -->

<!--C106045 MR Safe -->

<!--C106047 MR Unsafe -->

<!--value@codeSystem, 2.16.840.1.113883.3.26.1.1 is the OID for NCIt-->

<characteristic>

<code code="C106044" codeSystem="2.16.840.1.113883.3.26.1.1"/>

<value xsi:type="CD" code="C106046" codeSystem="2.16.840.1.113883.3.26.1.1"/>

</characteristic>

</subjectOf>

<!--Kit-->

<!--code@code, C50021 is the code for Kits-->

<!--code@codeSystem, 2.16.840.1.113883.3.26.1.1 is the OID for NCIt-->

<!--value@xsi:type is required to indicate the characteristic has a Boolean data type-->

<!--value@value is True or False -->

<subjectOf>

<characteristic>

<code code="C50021" codeSystem="2.16.840.1.113883.3.26.1.1"/>

<value xsi:type="BL" value="false"/>

</characteristic>

</subjectOf>

<!--DM Exempt-->

<!--code@code, C101679 is the code for DM Exempt-->

<!--code@codeSystem, 2.16.840.1.113883.3.26.1.1 is the OID for NCIt-->

<!--value@xsi:type is required to indicate the characteristic has a Boolean data type-->

<!--value@value is True or False -->

<subjectOf>

<characteristic>

<code code="C101679" codeSystem="2.16.840.1.113883.3.26.1.1"/>

<value xsi:type="BL" value="false"/>

</characteristic>

</subjectOf>

<!--Device Software-->

<!--code@code, AU1007 is the code for Device Software-->

<!--code@codeSystem, 1.2.36.1.2001.1005.85 is the OID for Australian Code System-->

<!--value@xsi:type is required to indicate the characteristic has a Coded data type-->

<!--value@code is the coded answer-->

<!--value@codeSystem, 2.16.840.1.113883.3.26.1.1 is the OID for NCIt-->

<subjectOf>

<characteristic>

<code code="AU1007" codeSystem="1.2.36.1.2001.1005.85"/>

<value xsi:type="CD" code="AU1018" codeSystem="1.2.36.1.2001.1005.85" displayName="Medical device incorporating software"/>

</characteristic>

</subjectOf>

<!--Restricted Number of Reuses-->

<!--code@code, AU1004 is the code for Restricted Number of Reuses-->

<!--code@codeSystem, 1.2.36.1.2001.1005.85 is the OID for Australian Code System-->

<!--value@xsi:type is required to indicate the characteristic has a Integer data type-->

<!--value@value is the integer and must be greater than 1 if present-->

<subjectOf>

<characteristic>

<code code="AU1004" codeSystem="1.2.36.1.2001.1005.85"/>

<value xsi:type="INT" value="5"/>

</characteristic>

</subjectOf>

</manufacturedProduct>

</subject>

</section>

</component>

</structuredBody>

</component>

</document>

Version history

| Version | Description of change | Author | Effective date |
| --- | --- | --- | --- |
| V1.0 | Original publication | Devices Reforms Taskforce |  |
| V1.1 | Revisions for multiple sponsor and other editorial changes | Devices Reforms Taskforce | March 2025 |
| V1.2 | Clarified organisation ID should not include leading zeroes. XML Message Sample updates to ensure consistency with the sample file provided in the zip file. Minor formatting changes. | Devices Reforms Taskforce | May 2025 |
| V1.3 | Removed incorrect reference to catalogue number code ‘C99286’ in Model/Version section. Updated Is Kit to note that it’s a required field. Updated Unit of Use DI to note that a Unit of Use DI can be associated with multiple UDI records. Updated Unit of Use DI validation rules to note the field is optional when “Device Subject to Direct Marking, but Exempt” is True. Updated validation rules for manufacturer name. Updated values for Device software codes AU1017 and AU1018. Updated validation rules for Direct Marked DI. Updated the note in Direct Marked DI about its use in inferring the value for “Is the Direct Marking DI different from Primary DI?” Fixed displayName value for Device Software in example XML. Updated validation rules for Device Class Minor formatting changes. | Devices Reforms Taskforce | October 2025 |
| V1.4 | Clarified the behaviour when omitting existing package configurations. | Devices Reforms Taskforce | February 2026 |

These concepts are defined in the Australian UDI Data Dictionary.

DI Trigger data elements are those, which when changed, require a new Device Identifier to be assigned.

Global Medical Device Nomenclature (GMDN) is a system of internationally agreed descriptors used to identify medical device products and is managed by the GMDN Agency. Visit: https://www.gmdnagency.org.

International Telecommunication Union, x680: Information technology – Abstract Syntax Notation One (ASN.1): Specification of basic notation

International Telecommunication Union, x667: Information technology – Open Systems Interconnection – Procedures for the operation of OSI Registration Authorities: Generation and registration of Universally Unique Identifiers (UUIDs) and their use as ASN.1 object identifier components

Currently, nullFlavors are not used in the AusUDID HL7 SPL submission.

Refer to ‘AusUDID_SPLCodeList.xls’ file in the HL7 SPL Implementation package of files for a list of accepted special characters

Refer to ‘AusUDID_SPLCodeList.xls’ file in the HL7 SPL Implementation package of files for a list of accepted special characters

Refer to ‘AusUDID_SPLCodeList.xls’ file in the HL7 SPL Implementation package of files for a list of accepted special characters

Refer to ‘AusUDID_SPLCodeList.xls’ file in the HL7 SPL Implementation package of files for a list of accepted special characters

Refer to ‘AusUDID_SPLCodeList.xls’ file in the HL7 SPL Implementation package of files for a list of accepted special characters

asContent/containerPackagedProduct repeats for each package level

Refer to ‘AusUDID_SPLCodeList.xls’ file in the HL7 SPL Implementation package of files for a list of accepted special characters

Refer to ‘AusUDID_SPLCodeList.xls’ file in the HL7 SPL Implementation package of files for a list of accepted special characters