## Slide 1
The Australian Unique Device Identification (UDI) system
M2M introduction
Version 1.0, December 2025

## Slide 2
Production Environment
HL7 SPL support resources
HL7 SPL Overview
Pre-Production Environment
Technical support
Approval to submit to Production

## Slide 3
      There are two AusUDID environments
      If you choose HL7 SPL to submit UDI records to the AusUDID, you must first complete testing in the AusUDID Pre-Production environment.
      Note: There is a 1 week delay between the release of updates in each environment. Deployments to Pre-Production will occur 1 week before Production.
Australian UDI Database (AusUDID) environments
      Pre-Production
      Allows testing of data mapping and submission processes before submitting data to the AusUDID Production Environment.
      TGA verification of successful submission in Pre-Production is required before data can be submitted via HL7 SPL to the Production environment.
      Production
      Contains current medical device information that patients, consumers, healthcare and the public can access.

## Slide 4
Actors
      Manufacturer
      Sponsor
      Agent – authorised in TBS to act on behalf of a sponsor or manufacturer
      Third party data provider – a person or company that curates and submits data on behalf of a sponsor or manufacturer
HL7 SPL access
Access controls
Client ID and Secret: identifies the data supplier
Subscription Key: identifies the organisation that the data is being submitted on behalf of (Organisation TBS credentials required )
Access Token: authorises the application to send requests
      The HL7 SPL channel supports sponsors, manufacturers, agents and third party data providers.

## Slide 5
      There are several steps to submitting data to the Production AusUDID environment.
HL7 SPL high-level workflow
      Download and review support resources
      Get access credentials
      Get Approval to submit to production
      Prepare and submit data to AusUDID Pre-Production Environment
      Submit data to AusUDID Production Environment

## Slide 6
Production Environment
HL7 SPL support resources
HL7 SPL overview
Pre-Production Environment
Technical support
Approval to submit to Production

## Slide 7
HL7 SPL support resources
UDI Hub – M2M specific content, user roles, key concepts (draft, published, grace period)
Data Dictionary – rules and validation for AusUDID data elements, triggers, device specific and sponsor specific data elements
M2M documentation suite
  M2M User Guide – key M2M concepts, overview of how it works, getting access, outline of testing process
  Implementation Specification – detailed M2M schema and data attribute details
  SPL Code List – reference list of codes and elements
  Postman API collections – template collection file for the API testing software
  Sample HL7 XML messages – annotated success and failure messages to explain data attributes and purpose

## Slide 8
Production Environment
HL7 SPL support resources
HL7 SPL overview
Pre-Production Environment
Technical support
Approval to submit to Production

## Slide 9
Sponsor
External System
Manual process
Request Client ID & Secret
APIM Portal
Receive Client ID & Secret
Generate Subscription Key
Log in using TBS credentials
AusUDID
Store data
AusUDID API
Validate
Prepare data
POST request
Generate Access Token
Submitting directly (Pre-Production)

## Slide 10
Third party data provider
Sponsor
APIM Portal
Generate Subscription Key
Log in using TBS credentials
Submitting via third party data provider (Pre-Production)
External System
Manual process
Request Client ID & Secret
Receive Client ID & Secret
AusUDID (Pre-Production)
Store data
AusUDID API
Validate
Curate data
POST request
Generate Access Token
Manual process
Provide Subscription Key
Manual process
Receive Subscription Key
AusUDID
Check data

## Slide 11
Production Environment
HL7 SPL support resources
HL7 SPL overview
Pre-Production Environment
Technical support
Approval to submit to Production

## Slide 12
  Stage 1 – Simple message validation (~30 new records)
    Successful transaction
    Unsuccessful transaction
    Representative of your device types
    Representative of your device characteristics and business practices
  Stage 2 – Advanced message validation (~100 records, new and corrected)
    Corrections to existing UDI records
  Stage 3 – Data volume validation (100+ UDI records)
  Stage 4 – Complex data scenarios
    Scenario 1 – New record with today as publish date
    Scenario 1a – Update during grace period
    Scenario 2 – New record with future publish date
    Scenario 2a – Update publish date to today’s date
    Scenario 3 – New record with package hierarchy
    Scenario 3a – Update after Grace Period
Provide test evidence to UDI@Health.gov.au
Gain approval to proceed to production.

## Slide 13
Production Environment
HL7 SPL support resources
HL7 SPL overview
Pre-Production Environment
Technical support
Approval to submit to Production

## Slide 14
  TGA whitelists the Client ID
  Sponsor or manufacturer generates Production Environment Subscription Key
  Generate Access Token
  Prepare data
  Submit to AusUDID Production Environment
Production onboarding
* Sponsor or manufacturer provides subscription key to third party providers.
TGA Whitelists Client ID
APIM Portal
Generate Subscription Key*
Log in using TBS credentials
POST request
Generate Access Token
Pre Production approval

## Slide 15
Production Environment
HL7 SPL Support Resources
HL7 SPL Overview
Pre-Production Environment
Technical Support
Approval to submit to Production

## Slide 16
AusUDID HL7 SPL support
Email: UDI@health.gov.au
Include the following details:
1.Problem
2.Error message from UDI API, for example 'Access token is invalid'.
3.Date and time.