# Machine to Machine HL7 SPL User Guide

Australian Unique Device Identification Database (AusUDID)

Version 1.5, June 2026

Copyright

© Commonwealth of Australia 2026
This work is copyright. You may reproduce the whole or part of this work in unaltered form for your own personal use or, if you are part of an organisation, for internal use within your organisation, but only if you or your organisation do not use the reproduction for any commercial purpose and retain this copyright notice and all disclaimer notices as part of that reproduction. Apart from rights to use as permitted by the Copyright Act 1968 or allowed by this copyright notice, all other rights are reserved and you are not allowed to reproduce the whole or any part of this work in any way (electronic or otherwise) without first being given specific written permission from the Commonwealth to do so. Requests and inquiries concerning reproduction and rights are to be sent to the TGA Copyright Officer, Therapeutic Goods Administration, PO Box 100, Woden ACT 2606 or emailed to <tga.copyright@tga.gov.au>.

Contents

1.	Purpose of this user guide	5

1.1.	Machine to machine HL7 SPL document suite	5

1.2.	Terminology used in this guide	6

1.3.	Symbols used in this guide	6

2.	Introduction	7

2.1.	Managing data in the AusUDID	7

2.2.	Accessing the AusUDID	7

2.2.1.	Getting a TBS account	8

3.	Prerequisite knowledge	8

3.1.	AusUDID data rules	8

3.2.	Testing of HL7 SPL submission	8

3.3.	Access controls	9

3.4.	XML Request Header	9

4.	Roles and responsibilities	10

4.1.	HL7 SPL submitters	10

4.1.1.	Manufacturer submitters	10

4.1.2.	Sponsor submitters	11

4.1.3.	Third party data provider submitters	11

4.1.4.	Agent submitters	11

4.2.	Sponsors or manufacturers acting on their own behalf	11

4.3.	Sponsors or manufacturers using a third party data provider	11

4.4.	Third party data provider submitters	12

5.	Getting started	12

5.1.	Register your intent to submit using M2M HL7 SPL	12

5.2.	Obtaining a Client ID and Secret	13

5.3.	Generating a Subscription Key	13

5.3.1.	Instructions for generating a Subscription Key in AusUDID Pre-Production	14

5.3.2.	Instructions for generating a Subscription Key in AusUDID Production	17

5.3.3.	Revoking access to a Subscription Key	21

5.4.	Generating an Access Token	21

5.4.1.	Expired Access Token	22

5.5.	Submitting a UDI record through the API	23

5.6.	Verifying UDI record submission	25

5.7.	Sample Postman Collection	25

6.	Validating your HL7 SPL data submission	28

6.1.	AusUDID Pre-Production testing	28

6.2.	Stage 1 – Simple message validation	28

6.3.	Stage 2 – Advanced message validation	28

6.4.	Stage 3 – Data volume and integrity validation	28

6.5.	Stage 4 – Complex data scenarios	29

6.6.	Viewing test UDI records	30

6.6.1.	Viewing test UDI records as a sponsor, manufacturer or agent	30

6.6.2.	Viewing test UDI records as a third party data provider	30

6.7.	Completing testing	30

6.8.	Accessing AusUDID Production	31

7.	Resources and support	31

7.1.	Resources	31

7.2.	Support	31

## Purpose of this user guide

We developed this guide to help sponsors, manufacturers, and third party data providers use the HL7 SPL submission method in the Australian Unique Device Identification Database (AusUDID).

This guide:

provides instructions for getting started

defines roles and responsibilities

lists key activities for setting up and testing data submission.

### Machine to machine HL7 SPL document suite

The table below describes each document provided in the M2M HL7 SPL – Implementation Package – AusUDID.

The Australian UDI Data Dictionary is the reference list for AusUDID UDI data elements. However, when preparing HL7 SPL submissions, we recommend you follow the M2M HL7 SPL Implementation Specification.

This is because there are some variations due to the nature of the submission method, for example, the M2M HL7 SPL submission method cannot derive system information such as UDI record Publish Date.

Table 1: M2M HL7 SPL document suite

| Document | Purpose | Audience | Assumed Knowledge |
| --- | --- | --- | --- |
| Submitting UDI records using HL7 SPL ¦ Therapeutic Goods Administration (TGA) | - Hosts all information available regarding the M2M HL7 SPL submission method. - Provides useful links to resources and forms. | - Sponsors - Manufacturers - Agents - Third party data providers - Regulatory teams - Software development and support teams. | - UDI information for sponsors and manufacturers |
| M2M HL7 SPL High Level Overview | - Overview of the high-level M2M HL7 SPL process for sponsors or manufacturers submitting directly or via a third party data provider. | - Sponsors - Manufacturers - Third party data providers - Agents - Software development and support teams. | - UDI information for sponsors and manufacturers |
| Read Me First | - Overview of the technical documents. | - Sponsors - Manufacturers - Third party data providers - Agents - Software development and support teams. | - UDI information for sponsors and manufacturers |
| User Guide | - Overview of: UDI concepts AusUDID submission channels, roles and environments Data management rules M2M workflow API Management Portal Provisioning security credentials Testing scenarios – conformance. | - Sponsors - Manufacturers - Third party data providers - Agents - Software development and support teams. | - TBS Portal including access provisioning and/or understanding of Oauth 2.0 authentication framework. |
| Implementation Specification | - Detailed instructions of: Versioning Creating UDI records Maintaining data Schema and data attribute specifications. | - Software development and support teams. | - HL7 SPL messaging protocols and system integration architecture patterns using XML schemas. |
| SPL Code List | - Reference listing of codes and elements. | - Software development and support teams. | - HL7 SPL messaging protocols and system integration architecture patterns using XML schemas. |
| Postman Collections | - Templated postman collections configured for the AusUDID environments. | - Software development and support teams. | - Postman |
| Sample HL7 XML Message | - Series of sample HL7 XML messages for data submission and notifications (success and failure), including message annotations explaining the data attributes and intended purpose. | - Software development and support teams. | - HL7 SPL messaging protocols and system integration architecture patterns using XML schemas. |

### Terminology used in this guide

This guide uses certain terminology consistently:

we refers to the Therapeutic Goods Administration (TGA)

you refers to you as a sponsor, manufacturer, agent, or third party data provider

UDI record refers to a UDI-DI and related data published in the AusUDID.

### Symbols used in this guide

This guide uses symbols to show the type of content in a callout box:

|  | The information symbol indicates additional details that support understanding. |
| --- | --- |
|  | The exclamation mark indicates important information. |
|  | The link symbol indicates links to extra resources. |

## Introduction

The Australian Government introduced the Australian UDI system to strengthen patient safety and improve medical device traceability. For more information on UDI in Australia, see Unique Device Identification (UDI) hub | Therapeutic Goods Administration (TGA).

### Managing data in the AusUDID

The AusUDID is Australia’s repository for UDI-Device Identifiers (UDI-DIs) and related data. It stores information about each model of medical device to improve traceability of devices supplied in Australia.

Patients, consumers, clinical quality registries and health professionals can view and download device information at no cost.

|  | You can access the AusUDID here: TGA AusUDID. |
| --- | --- |

Sponsors and manufacturers can use any of the 4 methods available to supply data to the AusUDID. For more information on using the AusUDID, see Accessing and using the AusUDID | Therapeutic Goods Administration (TGA).

### Accessing the AusUDID

To access the AusUDID to submit UDI records, you must have a TGA Business Services (TBS) user account. Your user account must be under a sponsor, manufacturer, or agent organisation account.

|  | Third party data providers may submit UDI records on behalf of a sponsor or manufacturer using the machine to machine HL7 SPL submission method. However, they cannot create their own TBS account. To have a TBS account, an organisation must be registered as a sponsor, manufacturer, or agent. Third party data providers do not meet the eligibility for any of these roles. The AusUDID uses real data sources to validate data submissions, including test submissions in AusUDID Pre Production. As third party data providers do not possess their own data such as ARTG IDs, they cannot have separate test accounts as they would be unable to pass data validation. They must work with their clients to test AusUDID submissions. |
| --- | --- |

#### Getting a TBS account

If your organisation does not have a TBS account, contact the TBS Helpdesk at ebs@health.gov.au.

If you do not have a user account under your organisations TBS account, contact your Administrator.

If you are a third party data provider, you cannot have your own TBS account to submit UDI records using HL7 SPL. You must work with your client.

|  | As third party data providers cannot have their own TBS account, a member of the sponsor or manufacturer organisation with a TBS user account must access the AusUDID to review test data once submitted by a third party data provider. |
| --- | --- |

## Prerequisite knowledge

To successfully submit UDI records via the HL7 SPL API, you should be familiar with the following prerequisites.

### AusUDID data rules

UDI records submitted to the AusUDID using the HL7 SPL submission method must comply with data rules and permitted values.

|  | You can find the details on AusUDID data elements including permitted values and other useful metadata in the Australian UDI Data Dictionary. |
| --- | --- |

### Testing of HL7 SPL submission

If you choose HL7 SPL to submit UDI records to the AusUDID, you must first complete testing in the AusUDID Pre-Production environment.

Testing in the AusUDID Pre-Production environment helps to identify data issues early and prevent submission of inaccurate or low-quality data to the AusUDID Production environment.

Testing requirements are further described in Validating your HL7 SPL data submission.

### Access controls

Submission of UDI records through the HL7 SPL API requires you to have the following elements in place:

Access Token: The Access Token authorises the application to send requests to the AusUDID API

Client ID and Secret: The Client ID and Secret combination identifies the organisation submitting the UDI record to the API

Subscription Key: The Subscription Key identifies the sponsor or manufacturer organisation that the UDI record is submitted on behalf of. It is associated with the sponsor or manufacturer’s TGA Business Services (TBS) account and is generated by a user within the TBS account.

|  | The TBS user generating the Subscription Key must be assigned the TBS role of ‘Submitter’. |
| --- | --- |

### XML Request Header

UDI records that you submit through the HL7 SPL channel must have 2 key values in the Request Header:

| 1. Access Token | Must be provided in the ‘Authorization’ field |
| --- | --- |
| 2. Subscription Key | Must be provided in the ‘Ocp-Apim-Subscription-Key’ field. |

Figure 1 illustrates the message flows between the sponsor or manufacturer (data supplier) and the AusUDID. It provides context to the remaining sections of this document.

Figure 1: Illustration of the message flows between sponsor or manufacturer (data supplier) and the AusUDID

## Roles and responsibilities

### HL7 SPL submitters

UDI records can be submitted to the AusUDID using HL7 SPL by 4 types of submitters:

manufacturer submitters

organisations that are both sponsor and manufacturer are not considered manufacturer submitters

sponsor submitters

organisations that are both sponsor and manufacturer are considered sponsor submitters

third party data provider submitters

agent submitters.

|  | When a manufacturer plans to use the M2M HL7 SPL submission method, the manufacturer may act as a third party data provider for sponsors or subsidiaries. This approach allows the manufacturer to submit UDI records on behalf of those organisations. Acting as a third-party data provider enables inclusion of sponsor-specific data in the submission. This may reduce administrative burden on sponsors who are otherwise required to link the ARTG to the UDI records. We strongly encourage manufacturer submitters to consider this option. |
| --- | --- |

#### Manufacturer submitters

Manufacturer submitters are organisations that have the role of manufacturer in TBS.

|  | For the purposes of the HL7-SPL submission, an organisation who is both the ‘sponsor and manufacturer’ is considered a sponsor submitter. Only organisations that are manufacturer only are considered manufacturer submitters. |
| --- | --- |

It is important to note that manufacturer submitters cannot submit sponsor-owned data such as ARTG details via HL7 SPL. Each HL7 SPL message must contain the full UDI record, so if the sponsor also intends to submit their sponsor-specific data via HL7 SPL, it may be redundant for the manufacturer to submit separately. This is because the sponsor would need to submit the full message again, making the initial submission superfluous.

However, if the sponsor intends to add their sponsor-specific data manually or via the Australian UDI Bulk ARTG to UDI Template, it may be more efficient for the manufacturer to submit the UDI records via HL7 SPL.

The best approach depends on how the manufacturer and sponsor agree to coordinate their data submission responsibilities.

|  | For the definition of manufacturer, see Section 41BG in Part 4-1 Division 2 of the Therapeutic Goods Act 1989. |
| --- | --- |

#### Sponsor submitters

Sponsor submitters are organisations that have the role of sponsor in TBS.

Organisations that are both sponsor and manufacturer have the role of sponsor submitter.

|  | For the definition of sponsor, see Chapter 1 Section 3 of the Therapeutic Goods Act 1989. |
| --- | --- |

#### Third party data provider submitters

A third party data provider is a person or company that curates and submits data on behalf of a sponsor or manufacturer.

#### Agent submitters

An agent is a person duly authorised in writing to act on behalf of the sponsor or manufacturer of the goods.

### Sponsors or manufacturers acting on their own behalf

As a sponsor or manufacturer submitting UDI records to the AusUDID through the HL7 SPL channel directly from using your own IT system, you must:

- request a Client ID and Secret

generate a Subscription Key.

### Sponsors or manufacturers using a third party data provider

As a sponsor or manufacturer submitting UDI records to the AusUDID through a third party data provider, you must:

- generate a Subscription Key

give the Subscription Key to your third party data provider.

To support your third party data provider, you will also need to supply the following information:

- your organisation’s TBS ID

your organisation type, for example sponsor

your manufacturer’s TBS ID, if you are the sponsor.

As a sponsor or manufacturer, you are not required to have your own Client ID and Secret if you are using a third party data provider. Only your third party data provider must have a Client ID and Secret.

|  | If you give the Subscription Key to a third party data provider, this allows them to submit UDI records to the AusUDID on your behalf. It does not grant them access to your TBS account. If you wish to remove the third party data provider’s ability to submit UDI records on your behalf, you can regenerate the Subscription Key. This will invalidate the existing Subscription Key previously provided to the third party data provider. Sponsors and manufacturers are always responsible for the data supplied to the TGA, even if data is submitted via a third party data provider. |
| --- | --- |

### Third party data provider submitters

You must work with each organisation you are submitting UDI records on behalf of to obtain their Subscription Key. If supplying UDI records on behalf of multiple organisations, you will need to manage Subscription Keys for each.

If a sponsor or manufacturer regenerates the Subscription Key and does not provide you the new Subscription Key, you will be unable to submit UDI records to the AusUDID through the HL7 SPL channel on their behalf.

Your sponsor or manufacturer can also provide TBS Organisation ID(s) which are required as part of the submission.

## Getting started

### Register your intent to submit using M2M HL7 SPL

All parties involved in UDI record submission via HL7 SPL must complete the Intent to submit to the AusUDID using M2M HL7 SPL form.

This includes:

sponsors, manufacturers and agents submitting via HL7 SPL themselves

sponsors, manufacturers and agents submitting via HL7 SPL using a third party data provider

third party data providers acting on behalf of a sponsor, manufacturer or agent.

As a sponsor, manufacturer or agent completing the form, you must provide:

your TBS username

your organisation’s name and TBS ID

primary and secondary contacts

the name of your third party data provider, if applicable

acceptance of the M2M HL7 SPL Terms of Use.

As a third party data provider completing the form, you must provide:

your name

your organisation name

primary and secondary contacts

the organisations that you are intending to represent.

For information on completing the Intent to submit to the AusUDID using M2M HL7 SPL form, see Submitting UDI records using HL7 SPL | Therapeutic Goods Administration (TGA).

### Obtaining a Client ID and Secret

Once you have completed the Intent to Submit form and accepted the M2M HL7 SPL Terms of Use, we will automatically issue a Client ID and Secret to organisations that submit directly or act as a third party data provider.

Allow up to 10 business days to receive these credentials.

If you act as a third party data provider and require additional Client IDs and Secrets as part of your client management processes, contact the AusUDID Technical Support Team at AusUDIDTechnicalSupport@health.gov.au.

|  | The Client ID and Secret is used to generate the Access Token. The TGA does not generate the Access Token. |
| --- | --- |

### Generating a Subscription Key

The sponsor, manufacturer or agent must generate Subscription Keys for their organisation. The user generating the Subscription Key must have the TBS system role of ‘Submitter’.

For more information on TBS system roles, see: AusUDID roles and responsibilities | Therapeutic Goods Administration (TGA).

You can generate Subscription Keys in the UDI APIM Portal. You must have different Subscription Keys for each of the AusUDID environments:

AusUDID Pre-Production

AusUDID Production.

Table 2: URLs to each AusUDID environment

| AusUDID Pre-Production environment: | https://data-api-rc-portal.health.gov.au/ |
| --- | --- |
| AusUDID Production environment: | https://data-api-portal.health.gov.au/ |

As a sponsor, manufacturer or agent, you can share your Subscription Key with multiple third party data providers. However, we recommend that you create a new Subscription Key for each third party data provider. This allows you to revoke the access of one third party data provider without affecting other users of that Subscription Key.

|  | Third party data providers cannot generate Subscription Keys. As a third party data provider, you must work with your client and request that they generate a Subscription Key and provide this to you. |
| --- | --- |

#### Generating a Subscription Key in AusUDID Pre-Production

To generate a Subscription Key in AusUDID Pre-Production, follow the steps below.

Navigate to the relevant APIM Portal using the AusUDID Pre-Production environment URL: https://data-api-rc-portal.health.gov.au/ and select Sign In. This will take you to a second screen.

Figure 2: APIM Portal login screen

Select Sign In/Register.

Figure 3: API Catalogue login screen

A pop-up will appear on your screen. Select Sign in with TGA and enter your TBS credentials.

Figure 4: Sign in with TGA option

Figure 5: Username and password fields

- If the pop-up does not appear, review your system settings and ensure pop-ups are enabled.

Once logged into the APIM Portal, select the Products tab in the navigation bar at the top right of the screen.

Figure 6: APIM Portal - Products

In the Products page, select UDID PreProd. You will be redirected to a page to name your subscription to the AusUDID HL7 SPL API.

Figure 7: Products page

Enter a descriptive and meaningful name in the text box. We recommend you choose a name that relates to the use of the Subscription Key, for example, ‘Key for Acme Inc third party data provider’. Once you have entered a name, select Subscribe.

Figure 8: Subscription name field

You can now view your newly created subscription.

Figure 9: Viewing a subscription

- On this screen:

the Primary Key is the Subscription Key

the Secondary Key also functions as a Subscription Key. This alternative key allows you to provide different keys to different systems or users, if you choose to.

#### Generating a Subscription Key in AusUDID Production

To generate a Subscription Key in AusUDID Production, follow the steps below.

- Navigate to the relevant APIM Portal using the AusUDID Production environment URL: https://data-api-portal.health.gov.au/ and select Sign In. This will take you to a second screen.

Figure 10: APIM portal login screen

Select Sign In/Register.

Figure 11: API Catalogue login screen

A pop-up will appear on your screen. Select Sign in with TGA and enter your TBS credentials.

Figure 12: Sign in with TGA option

Figure 13: Username and password fields

- If the pop-up does not appear, review your system settings and ensure pop-ups are enabled.

Once logged into the APIM Portal, select the Products tab in the navigation bar at the top right of the screen.

Figure 14: APIM Portal - Products

In the Products page, select UDID Prod. You will be redirected to a page to name your subscription to the AusUDID HL7 SPL API.

Figure 15: Products page

Enter a descriptive and meaningful name in the text box. We recommend you choose a name that relates to the use of the Subscription Key, for example, ‘Key for Acme Inc third party data provider’. Once you have entered a name, select Subscribe.

Figure 16: Subscription name field

You can now view your newly created subscription.

Figure 17: Viewing a subscription

- On this screen:

the Primary Key is the Subscription Key

the Secondary Key also functions as a Subscription Key. This alternative key allows you to provide different keys to different systems or users, if you choose to.

|  | To view the history of previously generated Subscription Keys: - select Profile in the navigation bar - scroll to Subscriptions - select Show. |
| --- | --- |

#### Revoking access to a Subscription Key

To revoke access to a Subscription Key, including those used by a third party data provider, you can do so by:

cancelling the subscription, or

regenerating the Subscription Key.

### Generating an Access Token

You can generate an Access Token by completing an OAuth 2.0 Client Credentials flow. To do this, you must have the Client ID and Secret.

Third party data providers only need a single Client ID and Secret.

The Access Token can be used in conjunction with multiple Subscription Keys as the Subscription Key itself identifies the organisation which they are acting on behalf of.

Once you have the Client ID and Secret, you must send a POST request to the URL below to generate the Access Token.

URL to send a POST request for both AusUDID environments:

| AusUDID Pre-Production and Production environment: | https://login.microsoftonline.com/4a3cd791-0600-4b56-9f17-befb124fbe03/oauth2/v2.0/token |
| --- | --- |

Example POST request using curl:

curl -s --request POST \

--url 'https://login.microsoftonline.com/4a3cd791-0600-4b56-9f17-befb124fbe03/oauth2/v2.0/token' \

--header 'content-type: application/x-www-form-urlencoded' \

--data grant_type=client_credentials \

--data client_id=YOUR_CLIENT_ID \

--data client_secret=YOUR_CLIENT_SECRET \

--data scope=YOUR_CLIENT_ID/.default

If the POST request is successful, you will receive a response that contains the JWL Bearer Token.

Note that the token expiry time in seconds is included in the response message. 3599 seconds is 1 hour.

{

"token_type":"Bearer",

"expires_in":3599,

"ext_expires_in":3599,

"access_token":"THE_ACCESS_TOKEN"

}

If the Client ID is incorrect, you will receive an error message like the one shown below:

{

"error":"unauthorized_client",

"error_description":"AADSTS700016: Application with identifier‘YOUR-INCORRECT-  CLIENT-ID‘ was not found in the directory 'Department of Health'… ",

"error_codes":[700016],

"timestamp":"2023-11-09 02:57:06Z",

"trace_id":"…",

"correlation_id":"…",

"error_uri":"https://login.microsoftonline.com/error?code=700016"

}

If the Secret is incorrect, you will receive an error message like the one shown below:

{

"error":"invalid_client",

"error_description":"AADSTS7000215: Invalid client secret provided. Ensure the secret being sent in the request is the client secret value, not the client secret ID, for a secret added to app 'CLIENT-ID'…",

"error_codes":[7000215],

"timestamp":"2023-11-09 02:56:30Z",

"trace_id":"…",

"correlation_id":"…",

"error_uri":"https://login.microsoftonline.com/error?code=7000215"

}

|  | You add the generated Access Token to the Authorization Header of your HL7 SPL message, in the following format: Authorization Bearer YOUR_ACCESS_TOKEN |
| --- | --- |

#### Expired Access Token

If you receive a ‘Unauthorized. Access token is missing or invalid’ error message, this is because your Access Token has expired.

You must generate a new Access Token.

### Submitting a UDI record through the API

Once you have the Access Token and Subscription Key, you can submit UDI records through the API using a HL7 SPL message.

Each AusUDID environment has a unique url which should be used in the post request.

Table 3: URLs to each AusUDID environment

| AusUDID Pre-Production environment: | https://data-api-rc.health.gov.au/pp/udid/api/v1/hl7 |
| --- | --- |
| AusUDID Production environment: | https://data-api.health.gov.au/prod/udid/api/v1/hl7 |

You can use the HL7 SPL message to:

create the initial UDI record

update the UDI record

correct the UDI record.

The Australian UDI Data Dictionary describes the rules for updating or correcting UDI records inside or outside the Grace Period.

The M2M HL7 SPL - Implementation Specification contains some exceptions to these rules. For example, omitting a Package DI does not remove it once the UDI record has been published, even within Grace Period. You should refer to the instructions in the M2M HL7 SPL - Implementation Specification for these exceptions.

|  | The HL7 SPL channel does not support submission of draft UDI records. However, it does support submission of ‘unpublished’ UDI records when the record has a future publish date. |
| --- | --- |

|  | Each message request equates to a single UDI record. |
| --- | --- |

The Access Token can be reused for multiple messages until it expires. You do not need to generate Access Tokens for each individual UDI record or message.

You must include the Access Token in the Authorization header field and the Subscription Key in the Ocp-Apim-Subscription-Key header field.

The body of the request will be the HL7 SPL XML message.

Example post request using curl for AusUDID Pre-Production environment:

curl -v --location "https://data-api-rc.health.gov.au/pp/udid/api/v1/hl7" \

--header "Content-Type: application/xml" \

--header "Authorization: Bearer YOUR_ACCESS_TOKEN" \

--header "Ocp-Apim-Subscription-Key: YOUR_SUBSCRIPTION_KEY" \

--data-binary "@hl7_message.xml"

Example post request using curl for AusUDID Production environment:

curl -v --location "https://data-api.health.gov.au/prod/udid/api/v1/hl7" \

--header "Content-Type: application/xml" \

--header "Authorization: Bearer YOUR_ACCESS_TOKEN" \

--header "Ocp-Apim-Subscription-Key: YOUR_SUBSCRIPTION_KEY" \

--data-binary "@hl7_message.xml"

|  | The above curl command assumes that you have a file called hl7_message.xml in the directory you are running the command from. The contents of this XML file will be sent as the request body. |
| --- | --- |

The AusUDID response below is what you will receive when the submission is successful.

In this example, the Primary DI is TEST123456.

<AusUDIDSPLResponse xmlns:xsi="http://www.w3.org/2001/XMLSchema-instance" xmlns:xsd="http://www.w3.org/2001/XMLSchema">

<Success>true</Success>

<ProcessedAt>11/1/2023 3:50:00 AM</ProcessedAt>

<PrimaryDI>TEST123456</PrimaryDI>

<Errors />

</AusUDIDSPLResponse>

The response below shows a failed submission.

In this example, the error is because of the ‘Brand Name’ field is longer than 80 characters.

<?xml version="1.0" encoding="utf-16"?>

<AusUDIDSPLResponse>

<Success>false</Success>

<Errors>

<SPLError>

<Property>BrandName</Property>

<Message>Brand name must be between 1 and 80 characters</Message>

</SPLError>

</Errors>

</AusUDIDSPLResponse>

|  | Failed submissions are not retained in the AusUDID or kept as drafts. |
| --- | --- |

If the UDI record publish date in the HL7 document is today or in the past, the UDI record will be published immediately.

If the UDI record publish date is in the future, it will be created as an ‘unpublished UDI record’ which will automatically publish when the scheduled date is reached. Once the UDI record is published, the UDI record’s Grace Period will commence.

|  | The Grace Period is a set time frame that begins once you have published your initial version of the UDI record. During this time frame, you can make any needed changes to any data element. The purpose of the Grace Period is to allow you fix errors in the UDI record due to data entry errors or technical issues. The length of the Grace Period is subject to change as we introduce UDI and the AusUDID. You can find the current length of the Grace Period on the UDI Hub, or when updating or correcting a UDI record. |
| --- | --- |

UDI records that are in the Grace Period are visible to public users. Only UDI records that are unpublished or those submitted without an ARTG are not visible to public users.

Once the UDI record is out of the Grace Period, it will be subject to the UDI Trigger rules. This means that changes to those data fields defined as UDI Trigger data elements will require a new UDI record, per the rules defined in the Australian UDI Data Dictionary.

If you need to correct the UDI record due to an error, you can do so by sending a HL7 request using the correction message type code, or by prefiling a correction request through the AusUDID online portal which will treat the next update you submit via the HL7 channel as a correction.

When a device is associated with multiple sponsors, and the UDI record is out of Grace Period, a correction must be used to change any of the device data elements. However, a sponsor can change their own sponsor data without the use of a correction.

### Verifying UDI record submission

Once you have successfully published a UDI record, you can view your UDI record online in the AusUDID portal. To do so, you must log into the AusUDID using your TBS credentials.

Once logged in, select My UDI Records to see the UDI records created by your organisation.

If you are a third party data provider, your client can view their UDI records online in the AusUDID portal.

### Sample Postman Collection

We have included a sample Postman Collection as part of the HL7 SPL suite of documents. To import and customise the Postman Collection, follow the instructions below.

- Import the M2M HL7 SPL Postman API Collection for the relevant Production or Pre-Production environment.

Figure 18: Postman collection

- Select the collection name and then select the Variables tab. Enter your Client ID and Secret into the value column. The TenantID value will be 4a3cd791-0600-4b56-9f17-befb124fbe03

Figure 19: Variables tab

- Select the Authorization tab. Scroll down and select the Get New Access Token button. Select Proceed and Use Token. This Access Token will now be automatically included on all requests in the Authorization Header. A new Access Token will need to be requested when the current Access Token expires.

Figure 20: Configure new token

- Select the Submit UDI Record button and then select the Headers tab. Replace the Ocp-Apim-Subscription-Key value to the Subscription Key that was generated in the APIM. Select the Body tab and fill out the request payload with the UDI HL7 SPL XML message.

Figure 21: Submit UDI record button

## Validating your HL7 SPL data submission

### AusUDID Pre-Production testing

Before submitting data through the AusUDID Production API, you must complete testing in the AusUDID Pre-Production environment and advise the TGA of completed testing.

This testing is to confirm:

correct transmission of the HL7 SPL message

compatibility with the AusUDID messaging services and platform

integrity of the UDI record(s)

acceptable system performance and load management

correct detection and management of errors.

This testing must occur in the AusUDID Pre-Production environment. You must complete all 4 stages of testing before you can submit UDI records to the AusUDID Production environment.

### Stage 1 – Simple message validation

Stage 1 assesses your ability to successfully send transactions and manage any submission issues using a simple set of UDI records.

You must run a set of HL7 SPL transactions that verifies both successful and unsuccessful transactions and creation of UDI records.

Your initial dataset should be limited to 30 UDI records and should only be new UDI records.

During Stage 1, we recommend you create UDI records with today’s publish date.

### Stage 2 – Advanced message validation

Stage 2 increases the complexity and scale of testing. This stage focuses on more complex UDI records and includes Corrections to UDI records.

You must only commence Stage 2 once you have completed Stage 1 successfully.

Your dataset for Stage 2 should be limited to 100 UDI records and should include both new and corrected UDI records.

### Stage 3 – Data volume and integrity validation

Stage 3 increases the scale of testing. This stage focuses on larger volumes of UDI records that consider variations in device characteristics across your device range.

You should include UDI records that are representative of your device range. This supports early detection and resolution of issues.

Variations in device characteristics may include:

identifiers such as Unit of Use DI, Direct Marking DI

packaging configurations and levels

different types of devices such as software or medical device kits

reusable or single-use devices

natural rubber or latex attributes

sterilisation requirements

clinical characteristics such as size types and unit of measure.

If you intend to submit multiple UDI records in sequence, we recommend you test with a comparable volume.

You must only commence Stage 3 once you have completed Stages 1 and 2.

You are not limited to a set number of UDI records for Stage 3.

|  | The Sponsor or Manufacturer is obligated under the under Therapeutic Goods (Medical Devices) Regulations 2002 (Cth) (13C.4) to ensure the information included in AusUDID Production environment to be accurate and up to date. The AusUDID Pre-Production environment allows you to confirm the source data integrity and accuracy of transmitted data, prior to publishing to the AusUDID. Selecting test UDI records that are representative of your device range enables early detection and resolution of issues. This can help prevent inaccurate data being consumed by Healthcare, carers or patients. |
| --- | --- |

### Stage 4 – Complex data scenarios

Stage 4 includes specific testing scenarios.

| Test scenario | Test description | Record changes or updates | Success criteria |
| --- | --- | --- | --- |
| Scenario 1 | Submit a new UDI record with today’s publish date | None. | UDI record is submitted to AusUDID as a published UDI record. |
| Scenario 1a | Update the newly submitted UDI record during the Grace Period. | We suggest you update the following data element(s): Brand Name For Single Use MRI Safety Information. | UDI record is updated correctly. |
| Scenario 2 | Submit a new UDI record with a future publish date. | None. | UDI record is submitted to AusUDID as an unpublished UDI record. |
| Scenario 2a | Update the newly submitted UDI record. | Change the UDI record publish date to today’s date. | UDI record is updated correctly. UDI record displays as published. |
| Scenario 3 | Submit a new UDI record with today’s publish date. UDI record must include a package hierarchy. | None. | UDI record is submitted to AusUDID as a published UDI record. UDI record displays package hierarchy correctly. |
| Scenario 3a | Update the newly submitted UDI record after the Grace Period. | We suggest you update the following data element(s): Sponsor commercial distribution end date Storage and handling information Clinically relevant size information. | UDI record is updated correctly. |

### Viewing test UDI records

#### Viewing test UDI records as a sponsor, manufacturer or agent

Once a UDI record has been successfully published, you can view your UDI record in the AusUDID portal.

To view the UDI record, log into the AusUDID Pre-Production environment with your TBS sign in credentials. Once signed in, select My UDI Records, then search for and select the UDI record you wish to view.

#### Viewing test UDI records as a third party data provider

Third party data providers can access the AusUDID Pre-Production environment as an unauthenticated user. This means you can review test UDI records without signing into the system.

You can access the AusUDID Pre-Production environment as an unauthenticated user at: https://ausudid-pp.azurefd.net/.

As an unauthenticated user of AusUDID Pre-Production environment:

you can view published test UDI records from the Devices tab

you cannot view submitted data for the Manufacturer’s GMDN or Device Class. Only the GMDN and Device Class derived from the ARTG is visible on the UDI record.

To locate the UDI record you wish to review, search the Primary DI in the search bar.

Tip: Use double quotation marks to return accurate search results.

### Completing testing

Once all 4 testing stages are complete, the sponsor, manufacturer or agent must complete the Confirmation of M2M HL7 SPL testing form.

This form cannot be completed by the third party data provider, as they are not the data owner and therefore cannot confirm the test data was representative of their client’s device range.

To access the form, see Submitting UDI records using HL7 SPL | Therapeutic Goods Administration (TGA).

|  | If you are an organisation with a TBS account (i.e. sponsor, manufacturer or agent) that is submitting on behalf of multiple TBS accounts (i.e. the sponsor, manufacturers, or your subsidiaries), you only need to complete the Stage 4 testing for one organisation. The overall number of tested UDI records is required for all organisations included in your testing. The Confirmation of M2M HL7 SPL testing form provides different evidence tables in this situation. |
| --- | --- |

### Accessing AusUDID Production

Once the TGA has reviewed your Confirmation of M2M HL7 SPL testing form and confirmed all stages were completed, we will grant access to the AusUDID Production environment.

This process may take up to 5 business days to complete. You will receive a confirmation email once access has been granted.

Where we have any concerns regarding the form, the AusUDID Technical Support team will contact you directly.

If you have any questions or experience any issues with submitting your test confirmation, please contact AusUDIDTechnicalSupport@health.gov.au.

## Resources and support

### Resources

We have published a range of resources to support understanding and implementation of UDI in Australia. You can find these resources on the UDI Hub.

### Support

We have a dedicated AusUDID Technical Support Team. You can contact the AusUDID Technical Support Team at AusUDIDTechnicalSupport@health.gov.au.

Version history

| Version | Description of change | Author | Effective date |
| --- | --- | --- | --- |
| V1.0 | Original publication | Devices Reforms Taskforce |  |
| V1.1 | Revisions for multiple sponsor and other editorial changes | Devices Reforms Taskforce | March 2025 |
| V1.2 | Updates to test scenarios. Minor wording and formatting updates. | Devices Reforms Taskforce | May 2025 |
| V1.3 | Added section about IP whitelisting Minor wording and formatting updates. | Devices Reforms Taskforce | October 2025 |
| V1.4 | Removed IP whitelisting requirements and improved clarity. | Devices Reforms Taskforce | December 2025 |
| V1.5 | Revised the following sections of the guide along with other minor clarifications based on enquiries. Section 1.1 Machine to Machine HL7 SPL document suite was updated to include additional documents. Section 5.1 Requesting a Client ID and Secret was replaced to reflect process changes. Specifically, the introduction of registering intent to submit via M2M HL7 SPL and the AusUDID Terms of Use. Section 5.3 Generating a Subscription Key has updated graphics and minor improvements to instructions. Section 5.5 Submitting a UDI record through the API was updated to include an additional paragraph about variations in edit rules for the M2M HL7 SPL submission method. Section 6 Validating your HL7 SPL submission data has several edits relating to the AusUDID Pre-Production environment access for third party data providers and process changes to support the introduction of the Confirmation of M2M HL7 SPL Test Completion form. | Devices Reforms Taskforce | June 2026 |