## Slide 1
The Australian Unique Device Identification (UDI) system
HL7 SPL High Level Overview
Version 1.1, May 2026

## Slide 2
This overview supports sponsors and manufacturers who have chosen to use the machine to machine HL7 SPL submission method.
If you are still selecting a submission method, we recommend you review the information available on the UDI Hub:
Unique Device Identification (UDI) hub
Accessing and using the AusUDID
AusUDID submission methods.
About this slide deck

## Slide 3
M2M HL7 SPL high-level process
M2M HL7 SPL overview
AusUDID support

## Slide 4
AusUDID M2M HL7 SPL submission method
      Download and review support resources
      Obtain access credentials
      Get approval to submit to AusUDID Production
      Prepare and submit data to AusUDID Pre-Production
      Submit data to AusUDID Production
      Complete the Intent to Submit form and accept the M2M HL7 SPL Terms of Use
      To submit UDI records to the AusUDID using the M2M HL7 SPL submission method, you must complete all required steps, including submitting test data to the AusUDID Pre-Production environment.

## Slide 5
      There are 2 AusUDID environments. Both require valid ARTG IDs and TBS IDs for UDI records to pass validation.
About the AusUDID environments
      AusUDID Pre-Production
      Allows testing of data mapping and submission processes before submitting data to the AusUDID Production Environment.
      TGA verification of successful submission in Pre-Production is required before data can be submitted via HL7 SPL to the Production Environment.
      AusUDID Production
      Contains current medical device information that is accessible to patients, consumers, healthcare professionals and the general public.
      Notes:
      Client IDs, ARTG IDs and TBS accounts and identifiers are shared between both environments
      Release deployments to Pre-Production occur 1 week before Production.

## Slide 6
M2M HL7 SPL high-level process
M2M HL7 SPL overview
AusUDID support

## Slide 7
Download and review support resources
UDI Hub – HL7 SPL specific content, user roles, key concepts and important links
  Submitting UDI records using HL7 SPL | Therapeutic Goods Administration (TGA)
Australian UDI Data Dictionary – rules and validation for AusUDID data elements, UDI Triggers, device specific and sponsor specific data elements
  Australian UDI Data Dictionary | Therapeutic Goods Administration (TGA)
HL7 SPL document suite (available via Submitting UDI records using HL7 SPL)
  User Guide – key M2M concepts, overview of how it works, getting access, outline of testing process
  Implementation Specification – detailed M2M schema and data attribute details
  SPL Code List – reference list of codes and elements
  Postman API collections – template collection file for the API testing software
  Sample HL7 XML messages – annotated success and failure messages to explain data attributes and purpose

## Slide 8
Complete the Intent to Submit via M2M HL7 SPL form
Provide quality UDI data
Ensure all data is true, accurate and authorised for use.
Protect access and credentials
Ensure user accounts, passwords, Client IDs, Secrets and Subscription Keys are kept safe & secure
Take reasonable steps to prevent unauthorised access
Tell the TGA immediately if any are compromised.
Ensure cyber resilience of the interface
Ensure the interface:
Does not contain harmful code and will not transmit harmful code to the TGA
Complies with industry standard security requirements.
Undertake periodic security assessment and provide evidence to TGA when requested.
Manage actions of third party data providers (or similar software providers)
You will:
Ensure third party data providers meet the requirements and any future changes
Maintain a written agreement with third party data providers
Manage access for third party data providers
Does not pose security risk to the TGA or users of the data
If agreements are revoked, ensure third party data providers can no longer access AusUDID on your behalf. TGA may request evidence of this agreement at any time.
Complete this form so we can start the process to issue your M2M HL7 SPL access credentials. The form also requires your agreement to the M2M HL7 SPL Terms of Use, which outline your responsibilities to:
Notes: These requirements are in addition to common requirements such as intellectual property in the AusUDID remaining with the TGA, liabilities and indemnities

## Slide 9
User types
      Manufacturer – device labellers
      Sponsor – includes sponsors and organisations that are both manufacturer and sponsor’
      Agent – authorised in TBS to act on behalf of a sponsor or manufacturer
      Third party data provider – a person or company that curates and submits data on behalf of a sponsor or manufacturer
Obtain access credentials
Access controls
Client ID and Secret - identifies the data supplier
Subscription Key - identifies the organisation that the data is being submitted on behalf of (Organisation TBS credentials required )
Access Token - authorises the application to send requests
      The HL7 SPL submission method supports manufacturers, sponsors, agents and third party data providers.

## Slide 10
Prepare and submit data to Pre-Production
      The process for submitting data to the AusUDID Pre-Production environment varies based on who is submitting the data. There are 2 separate workflow slides.
      Submitting Directly
      Sponsor or manufacturer submitting their own data
      Submitting via third party data provider
      Sponsor or manufacturer using a third party data provider to submit

## Slide 11
External System
Auto process*
Request Client ID & Secret
APIM Portal
Receive Client ID & Secret
Generate Subscription Key
Log in using TBS ‘Submitter’ credentials
AusUDID
Store data
AusUDID API
Validate
Prepare data
POST request
Generate Access Token
Submitting directly (Pre-Production)
* Process is triggered when you register your intent to submit using HL7 SPL

## Slide 12
Third party data provider
Sponsor
APIM Portal
Generate Subscription Key
Log in using TBS ‘Submitter’ credentials
Submitting via third party data provider (Pre-Production)
External System
Auto process*
Request Client ID & Secret
Receive Client ID & Secret
AusUDID
(Pre-Production)
Store data
AusUDID API
Validate
Curate data
POST request
Generate Access Token
Manual process
Provide Subscription Key
Manual process
Receive Subscription Key
AusUDID
Check data
* Process is triggered when you register your intent to submit using HL7 SPL

## Slide 13
Identify test UDI records
In preparation for testing, we encourage you to identify a sample of test data that reflects the range and volume of devices you supply. A representative sample will allow early detection and remediation of any issues or challenges.
The content of test UDI records should aim to include, where applicable, data such as:
identifiers like Unit of Use DI or Direct Marking DI
packaging configurations and levels
different types of devices such as software or medical device kits
reusable or single-use devices
natural rubber or latex attributes
sterilisation requirements
clinical characteristics such as size types and unit of measure.

## Slide 14
  Complete the 4 stages of testing
  Stage 1 – Simple message validation (~30 new records)
    Successful transaction
    Unsuccessful transaction
    Representative of your device types
    Representative of your device characteristics and business practices
  Stage 2 – Advanced message validation (~100 records, new and corrected)
    Corrections to existing UDI records
  Stage 3 – Data volume validation (100+ UDI records)
  Stage 4 – Complex data scenarios
    Scenario 1 – New record with today as publish date
    Scenario 1a – Update during grace period
    Scenario 2 – New record with future publish date
    Scenario 2a – Update publish date to today’s date
    Scenario 3 – New record with package hierarchy
    Scenario 3a – Update after Grace Period
Get approval to submit to AusUDID Production

## Slide 15
  Complete and submit the ‘Confirmation of HL7 SPL test completion’ form to AusUDIDTechnicalSupport@health.gov.au
  The confirmation of testing must be completed by the Sponsor or Manufacturer, confirming:
  test data submitted to the AusUDID Pre-Production environment is representative of your device range.
  your responsibility for the quality of UDI records submitted to the AusUDID Production environment and understanding that the Therapeutic Goods Administration (TGA), part of the Department of Health, Disability and Ageing, will not assess the accuracy, completeness or quality of our data before its submission.
Get approval to submit to AusUDID Production
      Note: The M2M HL7 SPL User Guide includes a reference to the content of the ‘Confirmation of HL7 SPL test completion form. The form is accessible from the TGA website: Submitting UDI records using HL7 SPL.

## Slide 16
  TGA whitelists the Client ID
  Sponsor or manufacturer generates AusUDID Production environment Subscription Key
  Generate Access Token
  Prepare data
  Submit to AusUDID Production Environment
Submit data to AusUDID Production
* Sponsor or manufacturer provides their Subscription Key to the third party data providers.
TGA Whitelists Client ID
APIM Portal
Generate Subscription Key*
Log in using TBS ‘Submitter’ credentials
POST request
Generate Access Token
Pre Production approval
      A similar process is followed for the AusUDID Production environment after successful test submissions to Pre-Production.

## Slide 17
M2M HL7 SPL high-level process
M2M HL7 SPL overview
AusUDID support

## Slide 18
AusUDID support or technical issues
If you encounter any issues or require assistance, contact the AusUDID Technical Support Team at AusUDIDTechnicalSupport@health.gov.au.
Include the following details, if you are experiencing a technical issue:
  Technical issue
  Error message from UDI API, for example 'Access token is invalid'
  Date and time
  Sample or submitted payload.

## Slide 19
Version history
Version | Description of change | Author | Date
1.0 | Initial publication | UDI Team | 16 December 2026
1.1 | Updates include: Renamed the presentation Added high level process stages (slide 4) Updated resources (slide 7) Added ‘Intent to Submit’ and ‘Terms of Use’ details (slides 8 and 9) Updated information for testing and submission of test confirmation (slides 13 to 15) Added AusUDID Technical Support details (Slide 18) Minor formatting changes | UDI Team | 9 June 2026