## Version History
Version | Date | Changes
2.9.1 | 2026-05-13 | Minor change to correct a cell formatting error in ‘Sponsor Package Commercial End Date’ column. The file version has been updated from V2.9 to V2.9.1 to reflect this minor change; however, both versions remain valid for use at time of release.
2.9 | 2025-09-24 | Updated values for 'DeviceIsSoftware': 'Software as a Medical Device (SaMD)' replaces 'Software as a Medical Device' 'Medical device incorporating software' replaces 'Medical Device incorporating software' 'ManufacturerName' is no longer mandatory. Enabled use of column AutoFilter.
2.8 | 2025-07-11 | Improved instructions worksheet and removed mandatory requirement for devices labelled as 'Not made with natural rubber latex?'
2.7 | 2025-04-14 | Added IFU to supporting documents dropdown selector
2.6 | 2025-03-17 | Updated GMDN & ARTG description. Minor formatting changes.
2.5 | 2025-02-04 | Remove IFU from supporting documents dropdown selector
2.4 | 2025-01-14 | Minor formatting changes and bug fixes
2.3 | 2024-11-06 | Updated fields names (and titles) in row 1 to better align with the field labels in the AusUDID Portal.
2.2 | 2024-10-30 | Editorial Updates
2.1 | 21/10/2024 | Removed "DeviceClass" and "GMDNCode" from Sponsor sheet Made DeviceClass and GMDNCode as optional in AusUDID sheet
2 | 2024-06-24 | Move CatalogueNumber from AusUDID to Sponsor sheet Add GMDNCode to Sponsor sheet Add DeviceClass to Sponsor sheet Move ManufacturerCommercialDistributionEndDate from AusUDID to Sponsor sheet as SponsorCommercialDistributionEndDate
1.9 | 2024-02-19 | Minor spelling updates
1.8 | 2024-02-12 | ContainsDEHPLabel has been removed from AusUDID sheet
1.7 | 2023-11-17 | Ensure 'AIMD' is a valid device class ContainsDEHP column renamed as ContainsDEHPLabel RestrictedNumberOfUses column renamed as RestrictedNumberOfReuses Validation for RestrictedNumberOfReuses amended to be "Must be a number between 1 and 999999 if Single Use is No, else leave blank" CommercialDistributionEndDate column renamed as ManufacturerCommercialDistributionEndDate PackageCommercialEnddate renamed as ManufacturerPackageCommercialEnddate Allow up to 200 UDI records to be added at a time
1.6 | 2023-10-04 | Updated values for 'DeviceIsSoftware': 'Medical Device incorporating software' replaces 'Software in a medical device'
1.5 | 2023-09-21 | Added a new column in AusUDID sheet: DirectMarkingIssuingAgency
1.4 | 2023-09-18 | Updated the Edits for Restricted Number of Uses - must be a number if Single use is No
1.3 | 2023-09-15 | Updated the Edits for Device Count - must be a number Restricted Number of Uses - must be a number Package quantity - must be a number
1.2 | 2023-09-08 | Updated the values for Sterilisation methods Updated the 'Conditional requirements' on Storage and handling
1.1 | 2023-02-07 | Amended Data elements
1.01 | 2022-09-20 | Added this Version History page. Added the Instructions page. Added the Troubleshooting page

## Instructions
Description
About the worksheets | For this document: - medical devices refers to both medical devices and IVDs. The Australian UDI Bulk Upload Template is organised into several worksheets which are used to enter the following details: - AusUDID - Captures the main characteristics of the medical device - Sponsor - Used to enter Australian Register of Therapeutic Goods (ARTG) related information - Secondary Device Identifiers - Captures additional UDI-DIs issued by alternate Issuing Agencies - Previous Identifiers - Captures any previous UDI-DIs the medical device has had - Clinical Sizes - Captures the clinical size for the medical device - Storage and Handling - Captures the storage and handling requirements of the medical device - Package Identifiers - Captures the different levels of packaging used for the medical device - Sterilisation - Used when the medical device is not packaged as sterile and requires sterilisation prior to use to capture acceptable sterilisation methods - Supporting Documents - Used when including URL links to supporting documents such as Patient Information Leaflets (PILs) or Instructions for Use (IFU) Important note: Do not add or remove columns from any of the worksheets.
Access requirements | To upload the template, you must: 1. Have an active TGA Business Service (TBS) user account 2. Hold the TBS system role of Submitter.
Organisation specific requirements | Depending on your organisation type, please note the following: Manufacturer organisations Manufacturers cannot upload templates with the 'Sponsor' worksheet filled out. This is because the information captured in the 'Sponsor' worksheet relates specifically to a sponsor and cannot be submitted by any organisation other than the sponsor. Manufacturers can fill out all other worksheets in the template. Sponsor organisations Sponsor organisations must fill out the entire template. Sponsor and manufacturer organisations Organisations that are both sponsor and manufacturer can upload templates without the 'Sponsor' worksheet filled out. However, UDI records without the 'Sponsor' worksheet filled out will not be publicly available until the ARTG ID is added to the UDI record. If the template is uploaded without the 'Sponsor' worksheet filled out, these details can be added at a later date. Sponsors can either add the details by using the 'Australian UDI Bulk ARTG to UDI Link' template or by editing a UDI record in the AusUDID portal. Important note: Published UDI records that do not contain ARTG IDs on the 'Sponsor' worksheet will only be visible to sponsors and manufacturers. Published UDI records that do contain ARTG IDs on the 'Sponsor' worksheet will be visible to all users of the AusUDID, including members of the public.
Editing rules | Do not add or remove columns from any of the worksheets. Leave non-mandatory columns blank if they have no value. Do not use values such as NA or N/A. Dates must be entered in the format dd/mm/yyyy. Important note: If a Primary DI is updated in the AusUDID worksheet, then that Primary DI should be updated in all other worksheets as well. Primary DI records that only exist in subsequent worksheets and not the 'AusUDID' worksheet will be ignored. No error messages will be given when uploading the template to the AusUDID portal.
General upload instructions | You can upload the Australian UDI Bulk Upload Template to the AusUDID through the online portal. Upload instructions 1. Download and save the latest version of the Australian UDI Bulk Upload Template from the AusUDID portal. 2. Complete the template using the instructions on this worksheet. Refer to the Australian UDI Data Dictionary for detailed information on data elements. 3. Log in to the AusUDID portal. 4. Upload your template on the 'Bulk upload' page. If errors are flagged, correct the errors and reload the template. 5. View your successfully uploaded UDI records from your 'My UDI records' tab in the AusUDID. Important note The Australian UDI Bulk Upload Template is updated periodically. Using an outdated version may result in upload errors. Always download the most recent version from the AusUDID portal before submitting.
AusUDID worksheet Mandatory | You can add multiple medical devices. You can only enter one medical device per row. Each medical device must have a unique Primary DI. In subsequent worksheets, the related Primary DI must match an identifier in the AusUDID worksheet. Primary DI records that only exist in subsequent worksheets and not the 'AusUDID' worksheet will be ignored. No error messages will be given when uploading the template to the AusUDID portal.
Sponsor worksheet Mandatory | This worksheet can only be filled out by sponsor or sponsor and manufacturer organisations. Manufacturers must not fill out this worksheet. Add the ARTG ID for each medical device on a separate row and include the related Primary DI.
Secondary Identifiers worksheet Optional | To record several Secondary DIs for a medical device, enter each secondary identifier on a separate row and include the related Primary DI. If a medical device does not have any Secondary DIs, then you do not need to enter any data for that medical device. If there are no Secondary Device Identifiers for any medical devices, you can leave this worksheet empty.
Previous Identifiers worksheet Optional | To record a Previous DI for a medical device, enter each previous identifier on a separate row, and include the related Primary DI. Only one previous identifier can be recorded for each Primary DI. If a medical device does not have any previous identifiers, then you do not need to enter any data for that medical device. If there are no previous identifiers for any medical devices, you can leave this worksheet empty.
Clinical Sizes worksheet Optional | To record several clinical sizes for a medical device, enter each of the variations on a separate row, and include the related Primary DI. If a medical device does not have any variations of clinical sizes, then you do not need to enter any data for that medical device. If there are no variations of clinical sizes for any medical devices, you can leave this worksheet empty.
Storage and Handling worksheet Optional | To record several storage and handling requirements for a medical device, enter each requirement on a separate row, and include the related Primary DI If a medical device does not have any storage and handling requirements, then you do not need to enter any data for that medical device. If there are no storage and handling requirements for any medical devices, you can leave this worksheet empty.
Package Identifiers worksheet Optional | To record several Package DIs for a medical device, enter each identifier on a separate row and include the related Primary DI. If a medical device does not have any Package DIs, then you do not need to enter any data for that medical device. If there are no packaging identifiers for any medical devices, you can leave this worksheet empty.
Sterilisation worksheet Mandatory if you answered 'Yes' to the question 'Requires sterilisation prior to use?' on the AusUDID worksheet | Record a sterilisation method for a medical device if you answered 'Yes' to the question 'Requires sterilisation prior to use?' in the 'AusUDID' worksheet. To record several sterilisation methods for a medical device, enter each sterilisation method on a separate row and include the related Primary DI. If you entered 'No' to the question 'Requires sterilisation prior to use?', you can leave this worksheet empty.
Supporting Documents worksheet Optional | This worksheet can only be filled out by a sponsor or sponsor and manufacturer organisation. Add supporting documents such as Patient Information Leaflets (PILs) and Instructions for Use (IFU). Note that you can only add supporting documents in URL format when using this template. To add PDFs, you must use the AusUDID portal.

## Troubleshooting
Issue Description | Recommended Resolution
The cell does not preserve my leading zeros | The cell should be formatted as 'Text' or you can enter the number preceded by a single quote, for example '005888'
When I paste a value into a cell, data validation is not enforced | This is a limitation of Excel Enter the data for one row, and then use this as a template for subsequent rows

## AusUDID
Data Element Name | Primary DI | Primary DI Issuing Agency | Manufacturer ID | Manufacturer Name | Device Count | Unit of Use DI | Device Subject to Direct Marking (DM), but Exempt? | Direct Marking DI Different from Primary DI? | Direct Marked DI | Direct Marked DI Issuing Agency | Brand Name | Model or Version | Device Class (Manufacturer) | Is the medical device software or does it incorporate software? | Is the medical device a kit? | Device Description | Global Medical Device Nomenclature (GMDN) (Manufacturer) | MRI Safety Status | For Single Use? | Restricted Number Of Reuses | Device required to be labelled as containing natural rubber latex or dry natural rubber? | Device labelled as 'not made with natural rubber latex'? | Device Packaged as Sterile? | Requires Sterilisation Prior to Use? | Lot or Batch number on the label? | Manufactured Date on the label? | Serial Number on the label? | Expiration Date on the label? | Donation ID Number on the label?
Description | The Primary Device Identifier (DI) is the DI portion of the UDI placed on the lowest package level of a device that is required to meet UDI label requirements. If the device is not packaged, the UDI may be on the device itself, thereby satisfying both the UDI label and the direct mark (DM) requirement if the UDI is intended to be permanent. The Primary DI is the main (primary) lookup for a medical device and meets the requirements to uniquely identify a device through its distribution and use. | The Issuing Agency that provided the Primary Device Identifier. | The manufacturer client identifier that is used in the TGA Business Services (TBS) portal. | Company name of the Manufacturer. | Number of medical devices in the base package. | A virtual identifier assigned to an individual device when a UDI is not labelled on the individual device. Must use the same Issuing Agency as Primary DI. | If the device is to be reused, indicate whether the device is exempt from Direct Marking requirements. | If the device is to be reused, indicate if the Direct Marking DI Number is different than the Primary DI. | If the device is to be reused, enter the DI portion of the UDI that is permanently marked directly on the medical device itself. Must use the same Issuing Agency as the Primary DI. | The Issuing Agency that provided the direct marking identifier. | The trade/proprietary name assigned by the manufacturer, and under which the device is sold, distinguished from other similar devices, and recognised by the user or purchaser. | The version or model found on the device (not software) label or accompanying packaging used to identify a category or design of a device. The version or model identifies all devices that have specifications, performance, size, and composition within limits set by the Manufacturer. | Medical device or IVD medical device Class as per Australian regulatory framework. | To identify if this is a 'Software as a Medical Device (SaMD)' or a 'Medical device incorporating software' device. | Indicate if the device is a kit. Kits are a collection of products, including medical devices or IVDs, that are packaged together to achieve a common intended use and are being distributed as a medical device. | Additional information about the device that is not already captured as a distinct UDID data element. | Global Medical Device Nomenclature (GMDN) Preferred Term Code – the unique 5 digit code assigned to the device by the manufacturer. Note Collective Terms are not accepted, entering a GMDN Term Code is optional. | Indicates the Magnetic Resonance Imaging safety information, if any, that is present on the device labelling. See the ASTM F2503-13 standard for more information. | Indicates that the device is intended for one use or on a single patient during a single procedure. | Number of reuses if restricted. | Indicate if the device or packaging contains natural rubber that contacts humans. | Indicate if natural rubber latex was not used as materials in the manufacture of the medical product and container and the device labelling contains this information. | Indicates the medical device is free from viable microorganisms when it enters Commercial Distribution. See ISO/TS 11139. | Indicates that the device requires sterilisation prior to use before it can safely encounter a patient, regardless of whether the device is single use or reused after reprocessing. | Set to Yes if a lot or batch number is included on the label for device control purposes. | Set to Yes if the date on which a device is manufactured, is included on the label for device control purposes. If a lot number, serial number, software version or expiration date appears on the label, they should be part of the UDI-PI. If there also is a manufacturing date on the label, it does NOT need to be included in the UDI-PI. If there is only a manufacturing date on the label, this should be used as the UDI-PI. | Set to Yes if a number that allows for the identification of a device, indicating its position within a series, is included on the label for device control purposes. | Set to Yes if the date, by which the device must or should be used, is included on the label for device control purposes. | Set to Yes if a Donation Identification Number (DIN) is included on the label for device control purposes. The DIN is applicable to devices that are also regulated as Human Cells, Tissues, and Cellular and Tissue-Based Products and is a number that is assigned to each donation.
Mandatory / Optional / Conditional | Mandatory | Mandatory | Mandatory | Optional | Mandatory | Conditional - required if DeviceCount > 1 | Optional | Optional | Conditional - required if DMDifferentPrimaryDI = Yes | Conditional - required if DMDifferentPrimaryDI = Yes | Mandatory | Mandatory | Optional | Mandatory | Mandatory | Optional | Optional | Mandatory | Mandatory | Conditional - required if SingleUse = No | Mandatory | Optional | Mandatory | Mandatory | Mandatory | Mandatory | Mandatory | Mandatory | Mandatory
Example | ABC12345 | GS1 |  | ABC Corporation | 1 | 67890 | No | No | 34567 | GS1 | Example Brand | E1234XA | Class III | No | No | Infusion pumps for LASIK surgical machines | 47568 | MR Safe | No | 15 | No | No | No | Yes | No | Yes | Yes | No | No
Field Name | PrimaryDeviceIdentifier | PrimaryIdentifierIssuer | ManufacturerID | ManufacturerName | DeviceCount | UnitOfUseIdentifier | DirectMarkingExempt | DMDifferentPrimaryDI | DirectMarkingIdentifier | DirectMarkingIdentifierIssuer | BrandName | ModelVersion | DeviceClass | DeviceIsSoftware | IsKit | DeviceDescription | GMDNCode | MRISafetyStatus | SingleUse | RestrictedNumberOfReuses | RequiresLatexOrRubberLabel | NotNaturalRubberLatex | PackagedSterile | SteriliseBeforeUse | LotBatch | ManufacturedDate | SerialNumber | ExpirationDate | DonationIdNumber
Record 1

## Sponsor
Data Element Name | Primary DI | ARTG ID | Catalogue Number | Sponsor Commercial Distribution End Date
Description | The Primary Device Identifier (DI) is the DI portion of the UDI placed on the lowest package level of a device that is required to meet UDI label requirements. If the device is not packaged, the UDI may be on the device itself, thereby satisfying both the UDI label and the direct mark (DM) requirement if the UDI is intended to be permanent. The Primary DI is the main (primary) lookup for a medical device and meets the requirements to uniquely identify a device through its distribution and use. | The Australian Register of Therapeutic Goods (ARTG) ID (if the device is included on the ARTG). | The catalogue, reference, re-order, or product number used by the sponsor for business and clinical transactions to identify a particular product; this number may be found on the device label or labelling. | Indicates the date the device is no longer offered for commercial distribution by the sponsor. Note the device may or may not still be available for purchase in the marketplace. If this date is uploaded by a manufacturer it will be ignored.
Mandatory / Optional / Conditional | Conditional - Must be entered if you are providing an ARTG ID | Conditional, Must be provided if you are providing an ARTG, Sponsor Catalogue Number or Sponsor Commercial Distribution End Date | Optional | Optional - format 'dd/mm/yyyy'
Example | ABC12345 | 130445 | BAX34XE456 | 2015-05-25
Field Name | PrimaryDeviceIdentifier | ARTGId | CatalogueNumber | SponsorCommercialDistributionEndDate
Record 1

## Secondary Identifiers
Data Element Name | Primary DI | Secondary DI | Secondary DI Issuing Agency
Description | The Primary Device Identifier (DI) is the DI portion of the UDI placed on the lowest package level of a device that is required to meet UDI label requirements. If the device is not packaged, the UDI may be on the device itself, thereby satisfying both the UDI label and the direct mark (DM) requirement if the UDI is intended to be permanent. The Primary DI is the main (primary) lookup for a medical device and meets the requirements to uniquely identify a device through its distribution and use. | An identifier that is issued from a different Issuing Agency than that used for the Primary DI. The DI is an alternate (secondary) lookup for a medical device. | The Issuing Agency that provided the Secondary Device Identifier.
Mandatory / Optional / Conditional | Conditional - must be entered if you are providing a Secondary Device Identifier. | Conditional - must be entered if you are providing a Secondary Device Identifier. | Conditional - must be entered if you are providing a Secondary Device Identifier.
Example | ABC12345 | Z33B38743 | HIBCC
Field Name | PrimaryDeviceIdentifier | SecondaryIdentifier | SecondaryIdentifierIssuer
Record 1

## Previous Identifiers
Data Element Name | Primary DI | Previous DI | Previous DI Issuing Agency
Description | The Primary Device Identifier (DI) is the DI portion of the UDI placed on the lowest package level of a device that is required to meet UDI label requirements. If the device is not packaged, the UDI may be on the device itself, thereby satisfying both the UDI label and the direct mark (DM) requirement if the UDI is intended to be permanent. The Primary DI is the main (primary) lookup for a medical device and meets the requirements to uniquely identify a device through its distribution and use. | Where a new DI has been created for a device and the device has not changed from a clinical perspective this is the previous Primary DI for that device. | The Issuing Agency that provided the Previous Device Identifier
Mandatory / Optional / Conditional | Conditional - must be entered if you are providing a Previous Identifier | Conditional - must be entered if you are providing a Previous Identifier | Conditional - must be entered if you are providing a Previous Identifier
Example | ABC12345 | BBZ34567 | GS1
Field Name | PrimaryDeviceIdentifier | PreviousIdentifier | PreviousIdentifierIssuer
Record 1

## Clinical Sizes
Data Element Name | Primary DI | Group | Type | Unit of Measure | Numerical Value | Device Size Text
Description | The Primary Device Identifier (DI) is the DI portion of the UDI placed on the lowest package level of a device that is required to meet UDI label requirements. If the device is not packaged, the UDI may be on the device itself, thereby satisfying both the UDI label and the direct mark (DM) requirement if the UDI is intended to be permanent. The Primary DI is the main (primary) lookup for a medical device and meets the requirements to uniquely identify a device through its distribution and use. | Grouping of Dimension types. | Dimension type for the clinically relevant measurement of the medical device. | The unit of measure associated with each clinically relevant size. | Numeric value for the clinically relevant size measurement of the medical device. | Indicates device size description when Type is selected as 'Device Size Text, specify'.
Mandatory / Optional / Conditional | Conditional - must be entered if you are providing a Clinical Size | Conditional - must be entered if you are providing a Clinical Size | Conditional - must be entered if you are providing a Clinical Size | Conditional - required if Type is not "Device Size Text, specify" | Conditional - required if Type is not "Device Size Text, specify" | Conditional - required if Type is "Device Size Text, specify"
Example | ABC12345 | Area | Area/ Surface Area | Square Centimetres | 3.14
Field Name | PrimaryDeviceIdentifier | Group | Type | UnitOfMeasure | NumericalValue | DeviceSizeText
Record 1

## Storage and Handling
Data Element Name | Primary DI | Type | Unit of Measure | Low Value | High Value | Special Conditions
Description | The Primary Device Identifier (DI) is the DI portion of the UDI placed on the lowest package level of a device that is required to meet UDI label requirements. If the device is not packaged, the UDI may be on the device itself, thereby satisfying both the UDI label and the direct mark (DM) requirement if the UDI is intended to be permanent. The Primary DI is the main (primary) lookup for a medical device and meets the requirements to uniquely identify a device through its distribution and use. | Indicates storage and handling requirements that are required for the device including temperature, humidity, and atmospheric pressure. | The unit of measure associated with the storage and handling conditions. | Indicates the low value for storage and handling requirements. | Indicates the high value for storage and handling requirements. | Indicates any special storage requirements for the device, when Type is selected as 'Special Storage Condition'.
Mandatory / Optional / Conditional | Conditional - must be entered if you are providing a Storage and Handling requirements | Conditional - must be entered if you are providing a Storage and Handling requirements | Conditional - required if Type is not "Special Storage Condition" | Conditional - required if Type is not "Special Storage Condition" | Conditional - required if Type is not "Special Storage Condition" | Conditional - required if Type is "Special Storage Condition"
Example | ABC12345 | Handling Environment Atmospheric Pressure | Kilo Pascal | 1 | 2
Field Name | PrimaryDeviceIdentifier | Type | UnitOfMeasure | Low | High | SpecialConditions
Record 1

## Package Identifiers
Data Element Name | Primary DI | Package DI | Package Type | Quantity | Contained Item Identifier | Sponsor Package Commercial Distribution End Dates
Description | The Primary Device Identifier (DI) is the DI portion of the UDI placed on the lowest package level of a device that is required to meet UDI label requirements. If the device is not packaged, the UDI may be on the device itself, thereby satisfying both the UDI label and the direct mark (DM) requirement if the UDI is intended to be permanent. The Primary DI is the main (primary) lookup for a medical device and meets the requirements to uniquely identify a device through its distribution and use. | A device identifier for the package configuration that contains multiple units of the base package. | Text to describe the outer packaging of the product and enables users to understand higher level packaging configurations. | The number of packages with the same Primary DI or Package DI within a given packaging configuration. | The Primary DI for the base package or the Package DI for any lower-level package configuration contained within a given package configuration. | Indicates the date the package is no longer offered for commercial distribution by the sponsor. If this date is uploaded by a manufacturer it will be ignored. If this date is uploaded by the sponsor, it will be applied to each ARTG ID for the sponsor for this device.
Mandatory / Optional / Conditional | Conditional - must be entered if you are providing a Packaging details | Conditional - must be entered if you are providing a Packaging details | Conditional - must be entered if you are providing a Packaging details | Conditional - must be entered if you are providing a Packaging details | Conditional - must be entered if you are providing a Packaging details | Optional - format 'dd/mm/yyyy'
Example | ABC12345 | ABC1234567 | Box/ Bag/ Case/ Pallet | 26 | ABC123452 | 2015-05-25
Field Name | PrimaryDeviceIdentifier | PackageIdentifier | PackageType | Quantity | ContainedItemIdentifier | SponsorPackageCommercialEndDate
Record 1

## Sterilisation
Data Element Name | Primary DI | Sterilisation Methods
Description | The Primary Device Identifier (DI) is the DI portion of the UDI placed on the lowest package level of a device that is required to meet UDI label requirements. If the device is not packaged, the UDI may be on the device itself, thereby satisfying both the UDI label and the direct mark (DM) requirement if the UDI is intended to be permanent. The Primary DI is the main (primary) lookup for a medical device and meets the requirements to uniquely identify a device through its distribution and use. | Indicates the method(s) of sterilisation that can be used prior to device use on the patient. This data element is not designed to capture the sterilisation procedures executed by the manufacturer.
Mandatory / Optional / Conditional | Conditional - required if AusUDID worksheet:SteriliseBeforeUse value is "Yes" | Conditional - required if AusUDID worksheet:SteriliseBeforeUse value is "Yes"
Example | ABC12345 | CIO2 Sterilisation
Field Name | PrimaryDeviceIdentifier | SterilisationMethod
Record 1

## Supporting Documents
Data Element Name | Primary DI | Related ARTG ID | Document Type | Document URL
Description | The Primary Device Identifier (DI) is the DI portion of the UDI placed on the lowest package level of a device that is required to meet UDI label requirements. If the device is not packaged, the UDI may be on the device itself, thereby satisfying both the UDI label and the direct mark (DM) requirement if the UDI is intended to be permanent. The Primary DI is the main (primary) lookup for a medical device and meets the requirements to uniquely identify a device through its distribution and use. | The ARTG ID for which this document is provided. | The type of information being provided. | URL (Web Address) for supporting documents.
Mandatory / Optional / Conditional | Conditional - must be entered if you are providing a Supporting Document URL | Conditional - must be entered if you are providing a Supporting Document URL | Conditional - must be entered if you are providing a Supporting Document URL | Conditional - must be entered if you are providing a Supporting Document URL
Example | ABC12345 | 111111 | Patient Information Leaflet | https://example.com/mypil.pdf
Field Name | PrimaryDeviceIdentifier | ARTGId | DocumentType | DocumentURL
Record 1

## Lists (hidden)
Issuing Agency | Yes/No | MRI safety statuses | Sterilisation methods
GS1 | Yes | Labeling does not contain MRI Safety Information | Beta Radiation Sterilisation | Storage Types | Storage handling units
HIBCC | No | MR Conditional | ClO₂ Sterilisation | Handling Environment Atmospheric Pressure | Degrees Celsius
ICCBBA |  | MR Safe | Dry Heat Sterilisation | Handling Environment Humidity | Degrees Fahrenheit
|  | MR Unsafe | Electron Beam Irradiation Sterilisation | Handling Environment Temperature | Degrees Kelvin
|  |  | Ethanol Sterilisation | Special Storage Conditions | Kilo Pascal
|  |  | Ethylene Oxide Sterilisation | Storage Environment Atmospheric Pressure | Millibar
ICCBBA | Yes/No/NA |  | Formaldehyde Gas | Storage Environment Humidity | Percent (%) Relative Humidity
GS1 | Yes |  | Gamma Radiation Sterilisation | Storage Environment Temperature
HIBCC | No |  | Glutaraldehyde Sterilisation
| N/A |  | High Intensity Light or Pulse Light Sterilisation
|  | Device Class | High-Level Disinfectant Sterilisation
|  | AIMD | Hydrogen Peroxide (H₂O₂) Sterilisation |  | Special Storage Conditions
HIBCC |  | Class III | Liquid Chemical Sterilisation |  | Degrees Celsius
ICCBBA | Supporting Documents | Class IIb | Microwave Radiation Sterilisation |  | Degrees Fahrenheit
GS1 | Patient Information Leaflet | Class IIa | Moist Heat or Steam Sterilisation |  | Degrees Kelvin
| Instructions for Use | Class Im | Nitrogen Dioxide Sterilisation |  | Kilo Pascal
|  | Class Is | Ozone (O₃) Sterilisation |  | Millibar
|  | Class I | Peracetic Acid Sterilisation |  | Percent (%) Relative Humidity
GS1 |  | Class 4 IVD | Plasma Sterilisation
HIBCC |  | Class 3 IVD | Radiation Sterilisation
ICCBBA |  | Class 2 IVD | Sound Waves Sterilisation |  | Handling Environment Atmospheric Pressure | Storage Environment Atmospheric Pressure
|  | Class 1 IVD | Supercritical Carbon Dioxide Sterilisation |  | Kilo Pascal | Kilo Pascal
|  |  | Ultraviolet Light Sterilisation |  | Millibar | Millibar
[5 empty] | Handling Environment Humidity | Storage Environment Humidity
[5 empty] | Percent (%) Relative Humidity | Percent (%) Relative Humidity
Size Group | Gauge French | Angle_Unit | Software |  | Handling Environment Temperature | Storage Environment Temperature
Angle | Catheter Gauge | Degree | No |  | Degrees Celsius | Degrees Celsius
Area | Crossing Profile |  | Software as a Medical Device (SaMD) |  | Degrees Fahrenheit | Degrees Fahrenheit
Device Size Text | Guidewire Compatibility |  | Medical device incorporating software |  | Degrees Kelvin | Degrees Kelvin
Gauge - Needle | Introducer Sheath Compatibility
Gauge French |  | Area_Unit
Length Size |  | Square centimetre
Pressure Units of Measure |  | Square foot
Volume Units of Measure |  | Square inch
Weight Units of Measure |  | Square metre
| Length Size | Square millimetre
Atherectomy Cutter Diameter
Angle | Atherectomy Cutter Length
Angle | Atherectomy Device Tip Length | Gauge___Needle_Unit
| Atherectomy Rotating Component Diameter | Gauge
Area | Atherectomy Rotating Component Length
Area / Surface Area | Balloon Catheter Tip Length
Balloon Diameter
Device Size Text | Balloon Length | Gauge_French_Unit
Device Size Text, specify | Balloon Proximal Outer Diameter (OD) | French
Catheter Inner Diameter
Gauge - Needle | Catheter Length
Needle Gauge | Catheter Working Length
| Circumference | Length_Size_Unit
| Depth | Centimetre
| Guidewire Diameter | Decimetre
Pressure Units of Measure | Guidewire Length | Feet
Balloon Nominal (Inflation) Pressure | Height | Femtometre
Balloon Rated Burst Pressure | Length | Inch
Pressure | Lumen / Inner Diameter | Kilometre
| Maximum Stent Diameter | Metre
| Outer Diameter | Micrometre
| Pore Size | Millimetre
Volume Units of Measure | Shaft length | Nanometre
Total Volume | Stent Diameter | Picometre
| Stent Length | Yard
Tapered Stent Larger Diameter
Tapered Stent Length
Tapered Stent Smaller Diameter
Weight Units of Measure | Tip Bend Radius | Pressure_Units_of_Measure_Unit
Weight | Width | Atmosphere
Hertz
Kilopascal
Millibar
Pound per Square Inch
Weight_Units_of_Measure_Unit
Gram
Kilogram
| Metric Ton | Volume_Units_of_Measure_Unit
| Microgram | Centilitre
| Milligram | Cubic Inch
| Pound | Cup
| Ton | Decilitre
Femtolitre
Fluid Ounce
Gallon
Kilolitre
Litre
Microlitre
Millilitre
Nanolitre
Picolitre
Pint
Quart