# Manufacturer’s declaration of conformity for Class I or Class 1 IVD system or procedure packs

This is a declaration of conformity made under clause 7.5 of Schedule 3 of the Therapeutic Goods (Medical Devices) Regulations 2002 (the Regulations).

Important: This declaration of conformity (DoC) must be completed by the manufacturer of a Class I or a Class 1 in vitro diagnostic (IVD) medical device system or procedure pack. For more information on how to complete this DoC, refer to Guidance – manufacturer’s declaration of conformity for Class I  and Class 1 IVD medical devices, export-only Class I and Class 1 IVD medical devices, and Class I  and Class 1 IVD system or procedure packs.

This document can be:

used for single or multiple devices that are system or procedure packs;

filled out by hand, scanned and then submitted; or

filled out electronically with an electronic signature.

#### Manufacturer’s details

| Manufacturer’s name |  |
| --- | --- |
| Manufacturer’s business address |  |

#### Classification of the system or procedure pack

If a system or procedure pack contains an IVD medical device and a non-IVD medical device that both have the same level of classification, the overall classification of the system or procedure pack is determined according to the system or procedure pack’s primary intended purpose.

Specify that the overall classification of your system or procedure is:

Class I (non-sterile, non-measuring)

Class 1 IVD

#### GMDN code and term

Select the most appropriate Global Medical Device Nomenclature (GMDN) code for this system or procedure pack. GMDN codes and terms are a system of internationally agreed generic descriptors that are used to identify all medical device products.

Class 1 IVDs require the use of a level 1 collective term (CT).  Please refer to the following link for guidance regarding an appropriate CT for the kind of device: The use of GMDN codes for IVD medical devices in Australia.

GMDN codes are generated by the GMDN Agency.

The GMDN code tables are available on TGA Business Services (TBS).

| GMDN code and term |  |
| --- | --- |

#### Standards applied to the device(s)

List any standards used in the manufacturing of the device, including:

- International Standards (ISO)

- Australian Standards (AS)

- Conformity Assessment Standard Orders (CASO)

Medical Device Standard Orders (MDSO)

| Standards |  |
| --- | --- |

#### Identification of the Class I or Class 1 IVD system or procedure pack

State the name of the system or procedure pack and sufficient information to identify the system or procedure pack.

Where multiple configurations of system or procedure packs are to be included, please add a schedule at the end of this DoC in the field provided below your signature, and indicate that you are adding a schedule specifying the criteria in the box below (for example, see attached Schedule A – Identification of the system or procedure packs).

| Name/identification of the system or procedure pack |  |
| --- | --- |

#### Contents of the Class I or Class 1 IVD system or procedure pack

Include a list of all of the items (including medical devices, medicines or other therapeutic goods) contained in each system or procedure pack to which the declaration relates.

Where multiple items are to be included in different configurations of system or procedure packs, please add a schedule to this DoC in the field provided below your signature, and indicate that you are adding a schedule specifying the criteria in the box below (for example, see attached Schedule B – Items within the system or procedure packs).

| Specify each item in the system or procedure pack |  |
| --- | --- |
| ARTG number for each medical device, including any IVD medical device, in the system or procedure pack |  |
| Specify if there have been any modifications to the packaging of any medical device, including any IVD medical device, in the system or procedure pack | Not applicable – No modification Yes – There has been modification, and this has been done in accordance with the instructions for use for the medical device (including IVD medical device) as specified by its manufacturer Yes – There has been modification, but this has not been done in accordance with the instructions for use for the medical device (including IVD medical device) as specified by its manufacturer Note: You must ensure that any modification to the packaging of any medical device (including an IVD medical device) that is included in the system or procedure pack does not affect the quality, safety, or performance of that device. |
| Specify if there have been any modifications to any medical device, including any IVD medical device, in the system or procedure pack | Not applicable – No modification Yes – There has been modification, and this has been done in accordance with the instructions for use for the medical device (including IVD medical device) as specified by its manufacturer Yes – There has been modification, but this has not been done in accordance with the instructions for use for the medical device (including IVD medical device) as specified by its manufacturer Note: You must ensure that any modification of any medical device (including an IVD medical device)that is included in the system or procedure pack does not affect the quality, safety, or performance of the medical device including IVD medical device. |
| ARTG number for each medicine in the system or procedure pack |  |
| ARTG number for each biological in the system or procedure pack |  |
| ARTG number for each other therapeutic good (unless the other therapeutic goods are tampons, menstrual cups or disinfectants that are exempt from inclusion in the ARTG) |  |

ARTG numbers for medical devices: If any medical device, including an IVD medical device, in this system or procedure pack is supplied independently of this system or procedure pack in Australia, provide the ARTG number of each device.

Modification to the packaging of any medical device or to any medical device in this system or procedure pack refers to opening or removing the original packaging of any component medical device including IVD medical device and re-packaging the medical device either in accordance with the component manufacturer’s instructions or not in accordance with the with the component manufacturer’s instructions.

ARTG numbers for medicines: If there is a medicine included in the system or procedure pack state the ARTG number for each medicine. This is mandatory for all medicines supplied in a system or procedure pack.

ARTG numbers for biologicals: If there is a biological included in the system or procedure pack state the ARTG number for each biological in the system or procedure pack. This is mandatory for all biologicals supplied in a system or procedure pack.

ARTG numbers for other therapeutic goods: If any other therapeutic good in this system or procedure pack is supplied independently of this system or procedure pack in Australia, provide the ARTG number of each other therapeutic good, unless the other therapeutic good is exempt from inclusion in the ARTG.

This declaration is being made under clause 7.5 of Schedule 3 to the Regulations for a Class I medical device or Class 1 IVD medical device system or procedure pack.

By signing this form, you are agreeing that:

- You have reviewed the Declaration of Conformity procedures under Part 7 of Schedule 3 of the Regulations and the system or procedure pack complies with the applicable provisions of those procedures.

- This declaration is a declaration of conformity made under clause 7.5 of Schedule 3 to the Regulations.

- The manufacturer has evidence (i.e. a declaration of conformity under clause 6.6 or a statement under subclause 7.2(2)) that the relevant conformity assessment procedures have been applied to each medical device in the system or procedure pack.

- The manufacturer has evidence that each medical device in the system or procedure pack complies with the applicable provisions of the essential principles.

- Where the manufacturer has not modified the packaging of any medical device or modified any medical device included in the system or procedure pack, you have a declaration of conformity under clause 6.6 or a statement under subclause 7.2(2) for each medical device in the system or procedure pack for which such a declaration or statement is required.

- Each medical device in the system or procedure pack is intended to be used for its original intended purpose, and each medicine, biological or other therapeutic goods in the system or procedure pack is intended to be used within the approved indications of the medicine, biological or other therapeutic goods.

- The mutual compatibility of each medical device, medicine, biological or other therapeutic goods, and any other goods in the system or procedure pack has been verified in accordance with the instructions for use of each medical device included in the system or procedure pack, being the instructions for use provided by the manufacturer of the device and the approved indications of each medicine, biological and other therapeutic goods (if any) included in the system or procedure pack; and that you have manufactured the system or procedure pack in accordance with those instructions or  approved indications.

- The information supplied with the system or procedure pack for the use of the system or procedure pack includes instructions for use provided by the manufacturer for each item in the system or procedure pack.

- The process of manufacturing the system or procedure pack, and the verification and packaging (if any) of the system or procedure pack, has been subjected to a documented method of internal control and inspection that ensures the safety, quality, performance and effectiveness of each item in the system or procedure pack.

- You are authorised by the manufacturer of the system or procedure pack to sign this declaration.

- <Only include the below information if you have modified the packaging of any medical device included in the system or procedure pack or modified any medical device included in the system or procedure pack in accordance with the instructions for use of the medical device provided by the manufacturer of the device>

- You confirm that the modification was in accordance with the instructions for use of the medical device provided by the manufacturer of the device.

- Where you have modified the packaging of any medical device or modified any medical device included in the system or procedure pack, the modification does not affect the quality, safety, or performance of the medical device.

- <Only include the below information if you have modified the packaging of any medical device included in the system or procedure pack or modified any medical device included in the system or procedure pack, where the modification is not undertaken in accordance with the instructions for use of the medical device provided by the manufacturer of the device>

- Where you have modified the packaging of any medical device or modified any medical device included in the system or procedure pack, and the modification has not been done in accordance with the instructions for use of the medical device provided by the manufacturer of the device:

- You confirm that the modification was not done in accordance with the instructions for use of the medical device provided by the manufacturer of the device.

- The modification does not affect the quality, safety, or performance of the medical device.

- The manufacturer has a declaration of conformity under clause 6.6 or a statement under subclause 7.2(2) for the medical device, as affected by the modification (if such a declaration or statement is required for the medical device).

- The manufacturer has evidence that the medical device, as affected by the modification, complies with the applicable provisions of the essential principles.

|  | Important note Providing information that is false or misleading to a Commonwealth entity or in connection with a Commonwealth law is a serious offence subject to criminal penalties under the Criminal Code Act 1995. |
| --- | --- |

| Name |  |  |  |
| --- | --- | --- | --- |
| Title |  |  |  |
| Signature |  | Date |  |

To add a schedule to this declaration, please copy its entire contents and paste them into one of the fields below.

Schedule A – Identification of the system or procedure packs

Schedule B – Items within the system or procedure packs